# Pathology Services HANDBOOK 2025

Pathology Services HANDBOOK 2025	1

Introduction	3

Opening hours	4

Information for Healthcare Professionals	6

Pathology results	6

How to take blood samples	9

Cerebrospinal fluid (CSF) collection	10

Collection and delivery of semen samples	11

Labelling of samples	11

Completion of request forms	12

Criteria for accepting and rejecting samples	14

Transport of diagnostic specimens	15

Guide to laboratory tests	16

Blood Sciences Key Contacts	17

Haematology Tests	18

Paediatric samples	18

Routine blood tests	18

Coagulation Tests Available:	20

Blood Transfusion	20

Blood Transfusion - Sample Requirements:	21

Specimen Identification – Special Requirements for Transfusion	21

Group and Antibody Screen	21

Routine Cross match request	21

Urgent/Emergency Crossmatch requests	21

Unknown patients	22

MSBOS	22

Management of Blood Products outside the laboratory	22

Location of Blood Fridges	23

Investigation of Suspected Transfusion Reaction	23

Blood Products	24

Kleihauer Testing	26

Clinical Biochemistry and Point of Care testing	27

Routine Investigations	27

Sending Samples during normal laboratory hours:	28

Sending samples 'Out-of-hours'	28

Drug Screens	28

Endocrine Investigations	28

Turnaround time for Urgent Tests	28

Clinical chemistry tests performed in house	29

Urine tests:	35

Faeces Tests:	37

Arterial Blood gas ranges	37

Blood sciences tests referred to reference laboratories:	39

Point of Care Testing (POCT)	59

Immunology and Allergy Service	60

Principal Staff and contact details	60

General Specimen Requirements for Auto Immune Serology/Allergy testing	61

Immunology  Send Away Tests	64

Clinical advice on the use and interpretation of immunology laboratory tests:	65

Immunology  Minimum retesting intervals (MRI)	65

Time limits for requesting additional tests:	67

TESTING GUIDANCE:	67

Autoimmunity	67

Allergy	71

Suspected immunodeficiency	71

Special considerations affecting performance of the test and the interpretation of the results:	72

Microbiology and Infection Control	73

Histology, Cytopathology and Mortuary Services	74

Key Contacts:	74

Cellular Pathology Hours:	74

HISTOLOGY LABORATORY	75

Histopathology Laboratory - Routine Histology	75

Consent	76

High Risk Samples	76

Urgent Specimens	76

Frozen sections	76

Specimens that require bacteriological, in addition to histological examination.	76

Formaldehyde Safety	77

In the event of a spillage:	77

CYTOLOGY LABORATORY	77

Request forms	77

Consent	78

Turnaround time for non-gynae samples:	78

Non-Gynaecological Cytology	78

HIV Positive/High Risk Patients	78

Endometrial cytology	78

Sputum for malignant cells	78

Pleural / Ascitic / Pericardial fluids	79

Fine Needle Aspiration (FNA) Cytology	79

Bronchial washings/BAL	79

Bronchial brush biopsies	80

EBUS-TBNA samples	80

Synovial fluids	80

Cerebrospinal fluid (CSF) for malignant cells	80

Instructions for the storage, handling and transport of Cytospin © collection fluid	80

Seminal Fluid Analysis	81

Gynaecological Cytology	81

Contact numbers for cervical cytology services.	82

Mortuary Services:	82

Deaths to be Reported to HM Coroner	82

Hospital Autopsies	82

“High Risk” cases	Error! Bookmark not defined.

Feedback on our Pathology services and the Complaints procedure	84

# Introduction

This handbook is intended as a source of reference to all healthcare staff and patients using the Countess of Chester Hospital NHS Foundation Trust Pathology Services.

If the information you require cannot be found here, please contact the appropriate department. Calls from outside the hospital should be prefixed with 36.

The Pathology department (CN9061) is accredited by the United Kingdom Accreditation Service (UKAS) for ISO15189:2022- Medical Laboratories.

9061

For details of the UKAS accredited tests please visit www.ukas.com

"Accreditation provides you, the patient, with confidence that the hospital service you are visiting is providing you with the best possible care and is delivering a quality led service with patient safety and delivery at its core."

The Pathology Quality Manual and Quality Policy can be found via these links.

For any problems with access to links or queries regarding content, please contact the Pathology Quality Manager Glesni Clarke on 01244 365 644 or glesnijarman@nhs.net

Where to Find Us

Postal Address:

Pathology Laboratory

Countess of Chester NHS Foundation Trust

Liverpool Road

Chester

CH2 1UL

Click here for the Countess of Chester Hospital NHS Foundation Trust website.

Location of Laboratory Services

The Cellular Pathology, Blood Sciences (Chemical Pathology, Immunology,  Haematology and Blood Transfusion) Departments are all located at the rear of the main hospital on the first floor in the ORANGE ZONE F12. Follow the signs for F12 Pathology/Orange Zone and go to Pathology Reception which is just inside the main entrance door to the Pathology area opposite CCU.

The Microbiology Department is not located within the Countess of Chester Hospital.

Microbiology Services are provided by:

Cheshire and Wirral Microbiology Service,

11 Bassendale Road,

Bromborough,

CH62 3QL

Main Telephone Number: 01244 362500

There are regular transport runs between the Countess and the Cheshire and Wirral Microbiology Service Laboratory.

The Microbiology User Handbook can be accessed via this link or via the Trust Intranet.

## Opening Hours

BLOOD SCIENCES – Chemical Pathology/Haematology/Blood Transfusion

The Blood Sciences laboratories maintain a 24-hour 7 day a week continuous process pattern for hospital work.  The core working hours are 09:00 – 17:30 Monday to Friday.

Outside these core working hours, the laboratory will be served by 2 duty Biomedical Scientists (BMS), one covering Biochemistry and the other covering Haematology and Blood Transfusion.  During this period, it will not be necessary to contact the BMS regarding routine work sent to the laboratory.  Requests should be delivered to the laboratory and left at the Specimen Reception; those departments/wards with an air tube system can continue to send samples through this mechanism.

These samples will be dealt with routinely and authorised results can be accessed via EPR+. Only results that are grossly abnormal will be phoned.

If required the duty BMS must be contacted via bleep 2552 (for Biochemistry), bleep 2553 (for Haematology/Transfusion) or via switchboard for:

- ALL urgent requests, in order for that work to be prioritised.

- ALL requests for blood gases and cross-matching of blood after 17:30 hours.

Histopathology & Diagnostic Cytology:

| Monday - Friday: | 8.30am – 5.00 pm |
| --- | --- |

NB: No out of hour’s service is available for Histology / Diagnostic Cytology. Histology specimens must be received by the lab before 11am for processing that day. Diagnostic Cytology samples must be received by the lab before 4.00 pm to be processed that day.

Immunology:

| Monday – Friday | 9.00am – 5.30pm |
| --- | --- |

Outside of the core working hours, please contact the out-of-hours Biomedical Scientist via hospital switchboard, who will forward information or contact the Consultant Immunologist as required.

Phlebotomy Service Contacts:

| Lucy Kirkham | Blood Sciences Operational Managers | 01244 366065 |
| --- | --- | --- |
| Rose Edwards | Phlebotomy Manager | 01244 366537 Bleep 3388 |
|  | Deputy Phlebotomy Manager | 01244 363711 Bleep 2572 |

# Information for Healthcare Professionals

## Pathology Results

In-patient and out-patient results are available electronically on EPR+ Powerchart as soon as they are authorised. Hardcopies are also sent out in some cases.

GP results are transmitted electronically via Clinisys ICE to surgeries throughout the day. Paper copies of Blood Science results are also posted out daily to some practices. All Histology/Cytology results are currently sent out as hardcopies.

Measurement uncertainty is a consideration in all testing carried out by the Pathology Department. Information relating to measurement uncertainty is available to users upon request.

Communication of Critical and Unexpected Pathology Results

We apply the guidelines published by the Royal College of Pathologists which can be found here.

Biochemistry:

| Analyte | Units | Lower limit (≤) | Upper limit (≥) | Comments |
| --- | --- | --- | --- | --- |
| AKI stage |  | 2 | 3 | GPs only AKI stage 1 phoned when K > 6 |
| Albumin | g/L | 20 |  | GPs only |
| ALT | U/L |  | 675 |  |
| Ammonia | umol/L |  | 100 |  |
| Amylase | U/L |  | 610 | GPs only |
| Bicarbonate | mmol/L | 10 |  |  |
| Bile acids | umol/L | 1.0 | 10 |  |
| Bilirubin | umol/L |  | 250 | Paediatrics only |
| Calcium (Adjusted) | mmol/L | 1.8 | 3.0 |  |
| CK | U/L |  | ≥ 5000 |  |
| Cord bilirubin | umol/L |  | 50 | Paediatrics only |
| Cortisol | nmol/L | 100 |  | Unless part of dexamethasone suppression test or day profile |
| Creatinine | umol/L |  | 354 (≥ 200 if < 18yr) |  |
| CRP | mg/L |  | 300 (inpatients) 100 (GPs) |  |
| Digoxin | ug/L |  | 2.5 | Should be 6 hours post dose |
| Ethanol | mg/L |  | 4000 mg/L (100 mg/L if <18y) |  |
| Glucose | mmol/L | 2.5 | 25 (≥ 15 if < 16y) | If type 2 DM, then ≥ 30 |
| K | mmol/L | 2.5 | 6.5 | Exclude haemolysis, old sample. If EDTA contamination is suspected, telephone requesting a repeat - refer to DOC303 |
| Lithium | mg/L |  | 1.2 |  |
| Mg | mmol/L | 0.4 |  |  |
| Na | mmol/L | 120 | 150 | If < 16 years phone at ≤130mmol/l |
| Paracetamol | mg/L |  | Any detectable |  |
| Phenytoin | mg/L |  | 25 |  |
| Phosphate | mmol/L | ≤ 0.32 |  |  |
| Salicylate | mg/L |  | 300 |  |
| Theophylline | mg/L |  | 25 |  |
| TFT (new) | pmol/L | FT4 < 3.2 | TSH > 46 | Phone to ward, OP and GP only Do not phone to OOH |
|  | mU/L | FT4 > 30 | TSH < 0.02 |  |
| TnI | umol/L |  | Above reference range | To GPs and AED only |
| Urea | mmol/L |  | 30 (≥ 10 if < 16yr) |  |
| Urate | mmol/L |  | 0.34 | Antenatal only |
| Vancomycin | mg/L |  | 30 |  |
| Xanthochromia | XANC3, XANC4, XANC6, XANC7 results |  |  |  |

Haematology

| Parameter | Unit |  | Level |  | Comment |  |
| --- | --- | --- | --- | --- | --- | --- |
| Haemoglobin | g/L |  | < 80 |  | If no previous Note: if the Hb has significantly dropped within a short time frame which could indicate a substantial bleed then telephone, even if result >80 |  |
|  | g/L |  | > 190 |  | Or haematocrit above 0.60 |  |
| White cell count |  |  |  |  |  |  |
| Neutrophils | x109/L |  | < 1.5 |  | Check film before phoning – may need consultant comments |  |
|  | x109/L |  | > 50 |  |  |  |
| Lymphocytes | x109/L |  | > 50 |  |  |  |
| Platelets | x109/L |  | < 80 |  | Check sample for clots then check blood film to exclude clumping before phoning |  |
|  | x109/L |  | < 30 |  | Perform checks as above and refer urgently to Consultant Haematologist. |  |
|  | x109/L |  | > 1000 |  | Requires urgent but not immediate referral |  |
| Blood film - Some results (e.g. low platelets) must have a confirmatory blood film review before phoning. It is sometimes appropriate to ask a Consultant Haematologist to review the film and the results before phoning. On these occasions the Consultant will phone the requesting clinician. |  |  |  |  |  |  |
| Malaria parasites |  | Positive |  |  | Refer to Consultant Haematologist and Tropical School of Medicine. |  |
| HBA1C (Diagnostic) |  | mmol/mol |  | > 100 | It is recommended to phone any diagnostic or new paediatric results >100 for GP patients only. |  |
| Coagulation |  |  |  |  | - Abnormal coagulation screens unexpectedly / significantly prolonged for given clinical details - All coagulation results on patients who are actively bleeding - Coagulation screens on all paediatric patients - Coagulation screens on all ?meningitis /septicaemia patients - All urgent pre-op results - Even slightly abnormal results for obstetric patients - Obstetric abruptions/APH/PPH - Other cases of high risk DIC i.e. ?malaria/obstetric accidents/bleeding |  |
| INR |  |  | ≥ 5 |  |  | ## GP patient – telephone surgery Dawn managed GP – notify Dawn Office. If the Dawn BMS has left (after 17:30) the GP or out of hours service should be given the result. Inpatient – telephone to ward |  |
| DD |  | ng/ml | ≥ 500 |  |  | ## GP only |  |

Immunology

| Analyte | Units | Level | Comments |
| --- | --- | --- | --- |
| PR3 | IU/mL | >3 | New patients only |
| MPO | IU/mL | >5 | New patients only |
| GMB | IU/mL | >10 | New patients only |
| LKM/SMA/SLA/LC-1 new positive |  |  | (paediatric patients with high ALT only) |

For day-to-day problems e.g. non-receipt of electronic results at GP Practices, in the first instance please contact the PCSS helpdesk.

For un-resolved, ongoing problems or to discuss strategic issues, contact Joe Banwell, Pathology Services Manager on Tel 01244 365659 or e-mail at joe.banwell@nhs.net

Reference ranges for many Blood Sciences tests are given as part of the report (on EPR+ or on paper copy). Information about laboratory tests can be found at the following website: http://labtestsonline.org.uk/

## How to Take Blood Samples

Training in this subject can be arranged via the Education and Training Centre and all staff taking blood should be adequately trained and competency assessed.

Any queries regarding venepuncture can be directed to the Phlebotomy Manager (x6537) or the Transfusion Practitioner (x5126) as appropriate.

It is essential to gain consent from a patient prior to beginning venepuncture. Consent can be gained in two ways; verbal or implied. Implied refers to a patient being given the information, understanding and holding out their arm for blood collection to take place.

Blood Sample Containers:

These are colour coded as follows: -

|  | Samples to be collected in the following order |  |  |  |
| --- | --- | --- | --- | --- |
| 1 | Blue Cap | Sodium Citrate | (Plasma). Tube must be filled between the arrow | 6ml |
| 2 | Gold Cap | Contains Serum Gel separator | (Serum) | 5ml |
| 3 | Red Cap | No Anticoagulant | (Serum) | 6ml |
| 4 | Green Cap | Lithium Heparin | (Plasma) | 6ml |
| 5 | Lavender Cap | EDTA | (Plasma) | 4ml |
| 6 | Pink Cap | EDTA (6ml) | (for Blood Transfusion) | 6ml |
| 7 | Grey Cap | Fluoride Oxalate | (Plasma) | 2ml/5ml |

### Paediatric Samples

| Tube |  | Sample Volume |
| --- | --- | --- |
| Orange top (Lithium heparin) (Adult green top equivalent) | Plasma Note: unsuitable for lithium analysis | 1.3ml |
| Red top (EDTA) (Adult purple top equivalent) | Plasma | 1.3ml |
| Green top (Citrate) (Adult blue top equivalent) | Plasma | 1.3ml |
| Brown Top (gel separator) (Adult gold top equivalent) | Serum | 1.1ml |
| Yellow top (fluoride) (Adult grey top equivalent) | Plasma | 1.3ml |

The order of draw is important – advise can be sought from the Head Phlebotomist (on bleep 3388).

To order blood collection tubes please email: coch.pathologystores@nhs.net

## Cerebrospinal Fluid (CSF) Collection

Preferably, collect 4 specimens into plain sterile containers. One sample (the last collected) is to be used for xanthochromia analysis (when required) in the Blood Sciences Department. The remaining samples are either used for Biochemistry analysis (e.g. CSF glucose) and 2 samples are sent to Microbiology via the routine transport.

CSF samples for xanthochromia must be taken at least 12 hours post-event. The collection time of the CSF and the time of the event should be recorded on the request form/Cerner. They should be protected from light and transported to the laboratory by hand rather than using the pneumatic tube (pod) system.

Bacteriology and virus tissue culture are routinely performed on the 2 specimens.  Examination for TB must be requested if appropriate.  With cases of presumed bacterial meningitis, nose and throat swabs should also be collected.  With possible viral (aseptic) meningitis a throat swab and faeces sample for viral culture is essential in addition to the CSF specimen.

The Biomedical Scientist from Clinical Biochemistry and the Biomedical Scientist from Microbiology must be informed at all times.

In cases of suspected malignancy a separate sample should be submitted to Cytology within two hours of collection. Please contact the Cellular Pathology Laboratory ext. 5645 prior to delivery

## Collection/Delivery of Semen Samples

Semen analysis tests are carried out by appointment only by the embryologist in the Fertility Unit. Contact the Fertility Clinic for further information, request forms and to make appointments on Tel 01244 366401.

## Labelling of Samples

Laboratory staff are not allowed to amend details on the sample or request form.

Samples should be labelled by the person who took the sample and specimen containers should never be pre-labelled. We encourage that the date of collection is always checked and corrected on the specimen label and form. Where possible a correctly dated form and label should be re-printed.

Please sign the specimen label when a full check of all information on it has been made.

- All specimens must be labelled with the following information:

- NHS or hospital number

- Patients full name or unique coded identifier

- Date of birth

(*Use of the NHS or CHI Number on paper and electronic patient records is now a mandatory requirement included within the NHS Operating Framework 2008/9. Patient data should be used to identify the sample up to the point where a NHS or CHI Number is allocated whereupon this becomes the primary identifier.)

It is desirable to also include:

- Date and time

- Nature of sample, including qualifying details, e.g. left, distal etc. especially if more than one sample per request is submitted

- A single unique identifier may be used in exceptional circumstances for confidentiality (for example, in sexual health clinics).

- Tissue samples should also be labelled with the Hospital or NHS number as well as the forename, surname, date of birth and site of specimen. Microscope slides (e.g. FNAS) must have the patient’s forename, surname and date of birth written in pencil.

- Note that samples for the Blood Transfusion department require more stringent labelling – see Blood Transfusion Section.

- When labelling the tube or sample container, it is essential to cross check the identity of the patient. This is particularly important for babies and children and confused adults where the wristband or notes should be checked. Normally adults can be asked to give their full name and date of birth.

- Multiple samples taken at different times on a single patient must be labelled on the tube with the time (24-hour clock) when the specimen is taken. (For example, oral glucose tolerance tests). The request form should indicate that there are multiple samples with their times.

## Completion of Request Forms

ELECTRONIC REQUESTS – HOSPITAL ORDER ENTRY:

For hospital patients, electronic test requesting should be made via the EPR+ computer system. All fields on the request form must be completed.

GP ELECTRONIC TESTS REQUESTS – Clinisys ICE:

The Clinisys ICE system, if installed, can be used at GP Practices to order laboratory tests for Haematology, Clinical Biochemistry, Histology, Non-Cervical (Non Gynae) Cytology and Microbiology. The system can also be used to order cervical cytology (LBC) tests which are processed and screened at Wirral University Hospitals NHS Trust. All fields on the request form must be completed.

The system can also be used to view all results on patients, including those ordered during in-patient stays. ICE Request forms can be ordered from Pathology Stores. These forms incorporate peel-off labels which should be used to label the specimens at collection.

HARDCOPY REQUEST FORMS – if electronic requesting not available:

The request form must include the following details:

- Full name or coded identifier

- DOB

- NHS number or hospital number

- Consultant or requesting GP

- Location for report or practice stamp

- Investigations required

- Patients address (for GP requests)

- Date and time of collection

- Type of specimen (s)

- Relevant clinical information

- Signature of requesting clinician

Requests without essential information or a signature will be referred back to the requesting doctor and will cause a delay in specimen processing and reporting.

Use of the NHS or CHI Number on paper and electronic patient records is now a mandatory requirement included within the NHS Operating Framework 2008/9. Patient data should be used to identify the sample up to the point where an NHS or CHI Number is allocated whereupon this becomes the primary identifier.

Haematology/Chemical Pathology/Immunology: (Magenta)

Specimen bag and combined request form.

It is essential that demographics on every request are legible, and each request must include the NHS number or hospital number (as appropriate), together with the name of the GP/Consultant and the location.

Full clinical details including any treatment (e.g. chemotherapy) aids the efficient and appropriate processing of requests through the laboratory.

Blood Transfusion: (PINK)

Combined specimen bag and Request form one part.  ALL patient demographics are essential; inadequately labelled specimens will not be accepted.  Addressograph labels are NOT ACCEPTED on transfusion blood samples, the labels must be hand written. Note that all requests for the Blood Transfusion department can only be made using paper requests forms.

The Transfusion department has ZERO-TOLERANCE to samples that are inadequately labelled as they do not comply with the minimum criteria for sample identification according to the BCSH Guidelines (2012).

HOSPITAL REQUESTS FOR HISTOLOGY/NON-GYNAE CYTOLOGY: (BLACK AND WHITE)

Combined specimen bag and single request form. Separate specimen bags are available from the general stores for larger specimens. Order entry is available in Endoscopy.

GP REQUESTS FOR HISTOLOGY/NON-GYNAE CYTOLOGY: (MAGENTA)

These tests can be ordered via Clinisys ICE (Cellular Pathology) – place specimen in a double pouched clear plastic bag. Otherwise use a magenta specimen bag and combined request form.  It is essential that demographics on every request are legible, and each request must include at least 3 patient identifying details (full patient name, date of birth, NHS number, hospital number), specimen details, relevant clinical details, name and signature of the GP/Consultant together with the requestor’s location.

Cervical LBC Samples: (White)

Clinisys ICE form or Wirral form (Word template) for Wirral laboratory.

Microbiology: (Blue)

Please refer to separate Microbiology handbook.

ADD ON TESTS

To add on blood requests for samples already in the laboratory, the add on request form should be used. For Troponin, Lactate or Ketone add on requests, please contact the laboratory directly by telephone.

For requests ordered but not sent, hand-write extra tests on request and send in the sample bag or include additional labels in the lab for orders that require adding.

Once blood has been collected it may not be possible to add on a test if the correct tube for the additional test has not been collected. Some tests cannot be added on and tested due to time related performance criteria.

BLOOD SCIENCES ADD ON REQUEST FORM

| Please complete form and return to Specimen Reception. Please contact the lab directly for TROPONIN, LACTATE & KETONE add on requests |  |  |  |
| --- | --- | --- | --- |
| PATIENTS NAME |  |  |  |
| DATE OF BIRTH |  |  |  |
| CC/NHS # |  |  |  |
| TESTS REQUESTED |  |  |  |
| REQUESTING WARD |  | TIME OF REQUEST |  |
| REQUESTORS NAME & SIGNATURE |  |  |  |

## Criteria for Accepting and Rejecting samples

ACTION TAKEN IN THE EVENT OF NON-COMPLIANCE

  - If minimum specimen and request form criteria are not met, the specimen will not be processed.

  - If adequate identification cannot be established the specimen may not be processed and a rejected report issued.

  - The specimen will be retained in its transport bag with the request form for 24 hours. It is the responsibility of the requestor to contact the laboratory. However, analysis will only be carried out if the specimen identity can be established

  - For Histopathology specimens, those GP specimens that do not meet the minimum acceptance criteria will be returned with a written request for the minimum data required.

  - It may be practical to establish identity on certain types of specimens, such as CSF, multiple samples and tissues. Where possible the laboratory staff will initiate appropriate action.

  - For urgent specimens that do not meet the minimum data requirements, a member of the laboratory staff will contact the requesting clinician or source to request an urgent repeat sample.

  - For unrepeatable specimens, laboratory staff will contact the requesting clinician or source to request that the person taking the blood (or submitting the pathology sample) come to the laboratory to label the sample.

## Transport of Diagnostic Specimens

Please refer to Pathology Portering Services Logistics on Share Point

Specimens should be delivered to Pathology main reception (First floor, F12 wayfinder). Cellular Pathology specimens from theatres and clinics may also be delivered directly to the Cellular Pathology reception by porters/staff with security access.

Specimens from collections at GP surgeries and other external sources will be transported to the Pathology department via Trust transport vehicles at regular intervals.

Microbiology specimens delivered to Pathology Main Reception will be transported to the Cheshire and Wirral Microbiology Service at Bromborough by Trust transport vehicles at regular intervals.

Packaging of Diagnostic Specimens

IMPORTANT REMINDER TO ALL HEALTH CARE WORKERS INVOLVED IN THE COLLECTION, PACKING, STORAGE OR TRANSPORT OF CLINICAL SPECIMENS

All specimens should be regarded as being potentially infective. You have a personal and statutory duty of care to protect the Health and Safety both of yourself and of others who deal directly or indirectly with patient specimens and/or the associated clinical waste.
Failure to comply with the Trust infection prevention policies is notifiable under the Trust's Incident Reporting Scheme, whether or not an accident, injury or infection has resulted.

The following Infection Prevention Policy applies to any clinical material taken from a patient and sent to a diagnostic or a research laboratory:

The specimen must be placed in a suitable container and the lid or cap secured to prevent leakage.

The container must be enclosed in the sealable section of the combined request form which will contain any spillage accidentally occurring in transit.

Laboratory staff have a discretionary right to discard any sample that is received in a state which renders it hazardous for them to handle. Where there is a perceived to be a lack of duty of care, formal notification may be made to the Trust's Governance Manager.

Clinical samples must not be sent to outside agencies other than via the Trust's own transport systems or contracted services; if to be posted, the sender is directly responsible for complying with current postal regulations regarding biological samples.

Adverse Environmental Conditions

Every effort has been made to provide instruction for sample collection which prevents any environmental conditions which can adversely affect the validity of results. Please ensure that laboratory staff are made aware of any adverse environmental conditions, such as temperature, humidity or microbial contamination, that have affected a sample.

# Guide to laboratory tests

All testing is performed within the Trust unless otherwise stated.

Some specialised tests are sent to reference laboratories. We endeavour to select only those laboratories with proven quality standards, for example, those which are accredited by the United Kingdom Accreditation Service (UKAS).

Please Note: 
Some of the reference ranges may change from time to time due to changes in the methodology or equipment used. Between revisions of this handbook the laboratory will inform users of any significant changes in reference ranges.

When printed, this information is only valid on the day of printing.

An A-Z list of tests is given within the relevant handbook sections for Haematology, Clinical Biochemistry and Immunology/Allergy.

# Blood Sciences Key Contacts

| Consultant Chemical Pathologist, Director of Blood Sciences | Dr Shirley Bowles | 01244 365652 |
| --- | --- | --- |
| Secretary |  | 01244 365365 |
| Consultant Chemical Pathologist | Dr Andreas Tridimas | 01244 365642 |
| Consultant Clinical Biochemist | Alexandra Yates | 01244 366919 |
| Principal Clinical Biochemist | Dr Niamh Horton | 01244 365653 |
| Haematologist of the Week | Contact Haematology Secretaries | Via Switch Board |
| Consultant Haematologist, Deputy Director of Blood Sciences NEQAS Lead | Dr Salaheddin Tueger | 01244 365387 |
| Secretary |  | 01244 365378 |
| Consultant Haematologist Departmental Blood Transfusion Lead | Dr Arvind Pillai | 01244 365382 |
| Secretary |  | 01244 365377 |
| Consultant Haematologist Head of Service and Clinical Lead Haemostasis/Thrombosis Lead | Dr Sean McGoldrick | 01244 364714 |
| Secretary |  | 01244 365377 |
| Consultant Haematologist Clinical Lead for ANNB SCT Screening Programme | Dr Matthew Alley | 01244 365078 |
| Secretary |  | 01244 365377 |
| Consultant Haematologist | Dr David Quinn | 01244 365382 |
| Secretary |  | 01244 365390 |
| Haematology SpR and SHOs |  | 01244 365694 |
| Haematology Specialist Registrar | Bleep | 2845 |
| Haematology SHO | Bleep | 2640 / 2965 |
| Pathology Services Manager | Joseph Banwell | 01244 365659 |
| Blood Sciences Operational Managers | Lucy Kirkham Julie Pierce | 01244 366065 01244 362175 |
| Blood Sciences Main Laboratory |  | 01244 365649, 01244 365658 |
| Specimen Reception |  | 01244 365380 |
| Blood Bank Managers | Clare Barnard Emma Kirkham | 01244 365126 |
| Transfusion Laboratory |  | 01244 365385 |
| Transfusion Practitioners | Hayley Speirs Mariya Joseph | 01244 365383 |
| Transfusion Practitioner bleep |  | 3215 |
| Anticoagulant Office (DAWN) |  | 01244 365373 |
| Biochemistry Out of core hours’ bleep |  | 2552 |
| Haematology/Transfusion Out of core hours’ bleep |  | 2553 |

# Haematology Tests

The repertoire of tests is listed below; results are available daily unless stated.

The schedule of scope for the UKAS accredited tests can be viewed here.

Unless otherwise stated, reference intervals in the table below are for adults, and are a guide only. It is recommended that for any individual patient, the reference intervals and comments on the report are always viewed.

Note that age and sex specific reference ranges are available electronically on the patient report.

## Paediatric Samples

Paediatric specimen bottles are available on request from the main hospital stores.

Source of reference range key:

M = manufacturer suggested range for that test.

L = Locally derived

B = BCSH guidelines

N = Nationally accepted range

D = Dacie and Lewis, 12th edition

BB = Barbara Bain, Blood cells, A Practical Guide, 2nd edition

RL = Reference lab range

## Routine Blood Tests

| TEST | Reference Interval (Adults) | Container | Volume | Notes | Turnaround time after receipt – 90% within | Source of reference range |
| --- | --- | --- | --- | --- | --- | --- |
| Blood Film | See report | EDTA lavender | 1.5 - 4.0 ml | Lab will look at films on any abnormal FBC results and if requested. | 24 hrs | NA |
| Bone Marrow (sent to HODS) | See report | N/A | N/A | Contact Consultant Haematologist | 1 week | NA |
| Cell Surface Markers –Immunophenotyping (sent to HODS) | See report | EDTA lavender Bone marrow |  | Contact Consultant Haematologist | 1 week | NA |
| Cytogenetics (sent to HODS) | See report | Cytogenetics Media |  | Contact Consultant Haematologist | 2 weeks | NA |
| ESR | See chart below | EDTA lavender | 1.5 - 4.0 ml | Can use FBC sample. | 2 hrs | D |
| FBC | See chart below | EDTA lavender | 1.5 - 4.0 ml |  | 1 hr | See details below |
| Haemoglobinopathy investigations | See report for interpretation | EDTA lavender | 4.0 ml | Clinical data and family history are essential. Investigations for thalassaemia, HbS etc. | Full report 1 week. Urgent HbS 4 hrs |  |
| Haemosiderin | Semi-quantitative | Urine | 2.0 -10.0 ml | Contact Lab | 72 hrs | RL |
| Haemoglobin A1C | < 48 mmol/mol (non-diabetic level) | EDTA lavender |  | HbA1cM (monitoring) HbA1cD (diagnostic) available to GPs on ICE National range | 24 hrs | N |
| Malarial Parasites | See report | EDTA lavender | 1.5 - 4.0 ml | Supply Clinical detail as "Malaria Screen" with visit history/clinical findings | 8 hrs | NA |
| Reticulocytes | See chart below | EDTA lavender | 1.5 - 4.0 ml | Can use FBC sample. | 8 hrs | M |

FBC RANGES (ADULT) – source – Dacie & Lewis 12th edition / Barbara Bain, Blood Cells, A Practical Guide 2nd edition / locally validated

| TEST | MALE | FEMALE | UNITS | Source of reference range |
| --- | --- | --- | --- | --- |
| WBC | 4.0 – 11.0 | 4.0 – 11.0 | X10*9/L | D |
| PLTS | 120 – 400 | 120 – 400 | X 10*9\L | D/L |
| HB | 135 – 170 | 115 – 160 | g/L | D |
| RBC | 4.5 – 6.0 | 3.5 – 5.5 | X 10*12/L | D/L |
| PCV/HCT | 0.39 – 0.50 | 0.34 – 0.46 |  | D/L |
| MCV | 82.0 – 100.0 | 82.0 – 100.0 | FL | D/L |
| MCH | 26.0 – 32.6 | 26.0 – 32.6 | g/dL | D/L |
| MCHC | 32.0 – 36.0 | 32.0 – 36.0 | g/dL | D/L |
| NEUTS # | 2.0 – 7.5 | 2.0 – 6.0 | X 10*9/L | D/L |
| LYMPHS # | 1.0 – 3.5 | 1.0 – 3.5 | X 10*9/L | D/L |
| MONO # | 0.18 – 0.86 | 0.18 – 0.86 | X 10*9/L | D/L |
| EOS # | 0.0 – 0.46 | 0.0 – 0.4 | X10*9/L | D/L |
| BASO # | 0.0 – 0.1 | 0.0 – 0.1 | X 10*9/L | D/L |
| ESR | Male <50yrs: 1 – 15 Male >50yrs: 1 – 20 | Female <50yrs: 1 – 20 Female >50yrs: 1 - 30 | mm/hr | D/L |
| Retics # | 30 – 100 | 30 – 100 | X 10*9/L | M |
| Retics % | 0.2 – 2.0 | 0.2 – 2.0 | % | M |

## In-house Coagulation Tests Available:

| TEST | Reference Range (Adults) | Container | Volume | Notes | Turnaround time – 90% within: | Source of reference range |
| --- | --- | --- | --- | --- | --- | --- |
| Coagulation Screen: | PT 12.5 – 15 seconds APTT 26-35 seconds | Sodium Citrate -Blue | 2.7 ml | PT, APTT Clauss fibrinogen performed if required. | 1 hr | L/M |
| APTT ratio | 2.0 – 3.0 but may vary | Sodium Citrate -Blue | 2.7 ml | APTT ratio used for monitoring unfractionated IV heparin only | 1 hr | L |
| D-Dimer | 0 – 500 ng/Ml FEU | Sodium Citrate -Blue | 2.7 ml | Used as negative predictor for DVT – contact DVT nurse. Used in the diagnosis of DIC | 1hr (all specimens) | M |
| INR | Set on individual basis | Sodium Citrate -Blue | 2.7 ml | Use to monitor warfarin only | 1 hr | N |
| Heparin Anti-Xa levels | Refer to report | Sodium Citrate -Blue | 2.7 ml pre and post injection samples required | Contact DVT nurse for advice. Used only for monitoring LMW Heparin in specific clinical conditions. | 4 hrs | M |
| HIT test | Positive/ Negative | Serum (Red) |  | Contact laboratory for advice Samples to arrive at lab within 1hr | 4 hrs | M |

For all other coagulation investigations, please see referral tests section: BLOOD SCIENCES TESTS REFERRED TO REFERENCE LABORATORIES.

# Blood Transfusion

The Transfusion Laboratory offers a 24-Hour service providing Blood and Blood Products when required.

An Antenatal screening service is also available.  The Trust operates a protocol for Routine Antenatal Anti-D Prophylaxis (RAADP).

## Blood Transfusion - Sample Requirements:

The collection of blood samples is only permitted by staff who have been trained and competency assessed.  Contact Transfusion practitioner (ext. 5383) for advice or to arrange training.

Refer to appropriate instructions on transfusion protocols when collecting blood samples.

## Specimen Identification – Special Requirements for Transfusion:

Mistakes or omissions in the labelling of samples and request forms can lead to serious and life-threatening consequences, hence, the need to follow strict safety checks.

Incorrectly or incomplete labelling of samples/request forms will not be accepted by the Transfusion Laboratory.

Samples for blood group / antibody screens and cross matching MUST be legibly hand-written, and labelled with the following details:

- Surname

- Forename (Initials and abbreviations are not acceptable)

- Hospital Number (or NHS number)

- Date of Birth

- Ward / Location

- Date sample taken

- Signature of person responsible for taking the sample

DO NOT label specimens with ADDRESSOGRAPH or ORDER ENTRY labels.

## Group and Antibody Screen

All samples have a group and antibody screen and are available for 72 hours only.

## Routine Cross match request

A second sample will be requested by the Transfusion Laboratory for confirmation of the ABO group of a patient with no transfusion history on record. A routine cross match can take between 45 minutes to 2 hours, depending on the urgency of the request and availability of the blood units.

The validity of a sample for further cross match requests will be dependent on the patient’s transfusion history.

Blood is held for at least 24hrs from the time required.  Please notify the laboratory if the reservation period is to be extended.

Contact ext. 5385 or bleep 2553 out of hours for further advice.

## Urgent/Emergency Crossmatch Requests

Urgent requests should be telephoned to Ext 5385 between the hours of 9-5:30 or out of hour’s bleep 2553.

In extreme cases of emergency there is a small supply of group O Rh Negative and O Rh Positive blood available in the Main Hospital Issue Fridge.  Maternity fridge stocks paediatric emergency units and Obstetric emergency O Rh negative units.  Always inform the laboratory that this blood has been used, in order that it can be quickly replaced and documented on EPR+ as transfused to the patient.

Fully cross-matched blood takes 30- 45 minutes to prepare.

Under certain circumstances, the laboratory may be able to issue fully compatible blood in less time.

PLEASE CONTACT THE LABORATORY (Extn.5385) FOR CONFIRMATION.

Group-compatible (un-crossmatched) blood is available after about 15 minutes. (This is cross-matched and antibody screened retrospectively).

## Unknown patients

A system for the identification of unconscious or unknown patients is established in the Accident and Emergency Department, and a Hospital Number is assigned prior to being presented for urgent testing or cross matching. The Blood Transfusion Department cannot process specimens unless the patient is registered on EPR+.

Medical staff and laboratory staff must use discretion in such circumstances to positively identify the patient’s sample. Responsibility rests with the medical officer taking the transfusion sample.

# MSBOS

The Hospital operates a Maximum Surgical Blood Ordering Schedule (MSBOS) for all procedures. The MSBOS can be found in the pre-operative assessment guidelines on the trust document library.

## Management of Blood Products Outside the Laboratory

- The collection and administration of blood products is only permitted by staff who have been trained and competency assessed.  Contact Transfusion practitioner (ext. 5383) for advice or to arrange training.

- REFER TO APPROPRIATE INSTRUCTIONS ON BLOOD FRIDGES, AND HOSPITAL TRANSFUSION PROTOCOLS WHEN COLLECTING BLOOD.

- Blood must not spend longer than 30 minutes out of the fridge before being transfused, and if it is not used then it should be returned to the Blood Bank.

- If there is wastage of a blood product on the ward return it to the laboratory for it to be disposed of.

- NEVER store blood products in a ward fridge.

- If a patient in your care receives a blood product, you must ensure that the traceability documents are fully completed and returned to the laboratory. Laboratory staff will then update EPR+ to show that the unit has been transfused. This is a mandatory requirement.

- Blood products must never be transferred out of the hospital with a patient without prior arrangement with Blood Transfusion Dept.

- If blood warming is necessary, specific blood warming device must be used.

## Location of Blood Fridges

Each fridge is controlled by an electronic tracking system.  The system uses bar code technology to control the release of blood components.  To access the fridge individuals must have been competency assessed and received a bar code and pin number.

- Main Hospital Issue Fridge – ground floor pathology, outside Transfusion laboratory

- Theatre Recovery Fridge - only used to store blood for patients in theatre.

- Maternity Fridge – W&C’s Building, Blood Bank/Milk Bank room.

## Investigation of Suspected Transfusion Reaction

Follow the Trust policy on the intranet entitled, “Investigation and Management of Acute Transfusion Reactions” Click here to view the policy or access the document via the Transfusion page on the Trust intranet.

Investigations require:

- Completed Suspected Blood Transfusion Reaction Form

- The donor pack with giving set to be returned to the lab (only in moderate and severe transfusion reactions)

- One pink topped EDTA tube for transfusion investigations

- One red topped tube

- Set of blood cultures for microbiology

After a suspected transfusion reaction ward test urine for blood and if positive send the sample to the Blood Sciences laboratory for haemosiderin Identification.

Further blood samples required are Clotting Screen (blue), FBC (purple), UE & LFT (gold).

A new sample will be required for any further cross match requests, which will be processed once investigations are complete.

# Blood Products

The following Blood Products are available

| PRODUCT | PREPARATION | NOTES |
| --- | --- | --- |
| Red Blood Cells (RBC) | Dependant on clinical need | Use within 30 mins of removal from fridge |
| Fresh Frozen Plasma (FFP) | Thawing in Lab (30 minutes) | Use within 4 hours. |
| Solvent Detergent/Virally inactivated Plasma | Thawing in Lab (30 minutes) | Use within 4 hours. |
| Platelet concentrate | Please contact the laboratory. Order before 6am for 10:30am delivery, or before 12:00pm for 15:30pm delivery. | Ordered on a named patient basis, we do not carry routine stock. |
| Cryoprecipitate | Thawing in Lab (30 minutes) | Use within 4 hours. |
| Human Albumin Solution (HAS), 5% or 20% | Ready for use | Exposure to light minimised for 20% |
| Prophylactic Anti-D 500iu, 1500iu | Ready for use | All antenatal sensitizing events are now treated with 500iu Anti-D. 500iu for postnatal women. 1500iu for routine antenatal anti-D prophylaxis. For Rh Neg females only |
| Prothrombin Complex Concentrate (PCC) | Ready for use | MUST discuss with Consultant Haematologist. |
| Fibrinogen Concentrate | Ready for use | Issued to Obstetrics and Theatre for use in PPH only. MUST discuss with Consultant Haematologist for use outside of the PPH pathway. |

Other coagulation factors may be available after special consideration, and discussion with a Consultant Haematologist.

All products will be issued ONLY to NAMED PATIENTS.

Remember:  Right Blood – Right Patient – Right Time – Right Reason

| REQUEST | CONTAINER | VOLUME | INFORMATION | TURNAROUND TIME |
| --- | --- | --- | --- | --- |
| Group & Antibody Screen Antenatal Screen | EDTA (Pink) | 6ml | Samples must be handwritten. See Specimen labelling requirements below. | Routinely, these are performed within 24 hours, but can be available sooner, if clinically indicated Contact the lab |
| Cross-match | EDTA (Pink) | 6 ml | Samples must be handwritten. See Specimen labelling requirements below. | Routine within 2 hrs. For urgent crossmatches contact the lab. Patients with clinically significant antibodies may require up to 48 hours’ notice. |
| Cord blood | EDTA (lavender or Pink) | 4 ml or 6ml |  | 2 hours |
| DAT/DCT | EDTA (lavender or Pink) | 4 ml or 6ml |  | 2 hours |
| Kleihauer | EDTA (Pink or lavender ) | 4 ml | For identification of foetal cells in Rh NEGATIVE mothers with Rh POSITIVE babies. | 24 hours |
| Cold Agglutinins | EDTA (Pink) | 6ml | Samples must be handwritten. See Specimen labelling requirements below. Screening will take place on site and sent away if positive. | This test is referred to the NHSBT for testing. Approximately 7 days TAT. |
| REQUEST | CONTAINER | VOLUME | INFORMATION | TURNAROUND TIME |
| Platelet immunology | Number and type of samples required stated on the back of form “D” |  | Contact laboratory for H&I form D **Do not refrigerate samples | 10-14 days |
| HLA type and / or antibody | EDTA (Pink) and Clotted (Red). | 6ml | Contact laboratory for H&I form A **Do not refrigerate samples**. | 10-14 days |
| ffDNA | EDTA (Pink) | 6ml | IBGRL form 4674 **Do not refrigerate samples**. | 10- 14 days |

# Kleihauer Testing

- Kleihauer tests are to be sent to the Transfusion Laboratory.

- Use a Blood Transfusion Request form.

Kleihauer blood samples are required on:

- All RhD-negative women post-delivery and RhD-negative women following a potentially sensitizing event after 20 weeks gestation.

- Testing at less than 20 weeks will only be carried out in specifically requested cases of CVS and amniocentesis.

| TEST | Reference Range (Adults) | Container | Volume | Notes | Turnaround time after receipt: |
| --- | --- | --- | --- | --- | --- |
| Kleihauer | Bleed in mls and anti-D requirement reported | EDTA purple or pink | 1.5 -4.0 mls |  | 24 hrs |

For full guideline refer to BSH Guidelines “The Estimation of Fetomaternal Haemorrhage, (2009)” and trust policy on intranet entitled “Rhesus (RHD) Negative Management” found here

# Clinical Biochemistry and Point of Care testing

## Routine Investigations

Any combination of the following groups of tests can be performed on a single clotted blood specimen (gold topped bottle). Tests can also be requested individually.

PLEASE SPECIFY WHICH TESTS OR GROUP OF TESTS YOU REQUIRE

Renal profile (U&E’s): Sodium, Potassium, Urea, Creatinine

Specimens should reach the laboratory within four hours of collection.  Storage prior to separation will result in leakage of potassium out of cells and thus inappropriately high results. This effect is increased if specimens are refrigerated.  Potassium results will not be reported on specimens known to have been collected the day before analysis.

The GP Renal Profile includes e-GFR. eGFR is not calculated in children under 18. A comment is viewable in the results stating: ‘Patient too young for eGFR calculation’

Liver profile (LFT) consists of:

Total bilirubin, Albumin, ALT, Alkaline phosphatase and Total Protein. GGT will be reflexed automatically if LFT results are abnormal.

Bone profile consists of:

Calcium, Albumin, Corrected Calcium (calculated), Phosphate, Alkaline phosphatase

Proteins:

Total Protein, Albumin

Cardiac marker:

Troponin I

Fasting lipid profile consists of:

Total cholesterol, Triglyceride, HDL cholesterol, LDL cholesterol (calculated) HDL / Cholesterol Ratio

LDL is not calculated when the triglyceride is >9.0mmol/L as the Sampson Equation used to calculate this parameter, is not valid in these circumstances. A comment is viable in the results stating: ‘Triglyceride >9.0mmol/L: LDL-C equation invalid’

Lipid screen (non-fasting):

Total Cholesterol, Triglyceride, HDL-cholesterol, Total Cholesterol: HDL- C ratio, Non-HDL cholesterol ( ie Total – HDL-C)

Glucose (requires grey top bottle)

Please indicate whether fasting or random

Iron Studies

Serum Iron, Transferrin, UIBC, TIBC

For a patient with suspected myeloma, the appropriate biochemical investigations are:

Serum protein electrophoresis (gold-top serum sample)

Urine Bence Jones protein (early morning urine sample in plain bottle)

For a patient with suspected coeliac disease, the appropriate biochemical investigations are:

Serum tissue transglutaminase antibody (performed in-house by the Immunology department)

## Sending Samples During Normal Laboratory Hours

Specimens requiring immediate attention should be labelled 'URGENT'

Send specimens via the air tube system or hospital courier to the Blood Sciences Laboratory

Results will only be telephoned if they fall outside certain critical limits.

## Sending Samples 'Out-of-Hours'

Send to the Blood Science laboratory using the pneumatic air tube system.

After analysis, the results will be available on EPR+.

Results will only be telephoned if they fall outside certain critical limits.

## Drug Screens

Toxicology requests are sent to a referral laboratory. Contact the Blood Sciences Laboratory for advice on drug screening if required.

## Endocrine Investigations

Although basal investigations are often useful in the diagnosis or exclusion of many endocrine disorders, it is frequently necessary to perform dynamic function tests where deficient or excess hormone secretion is suspected. For such investigations to be performed safely, reliably and reproducibly, it is vital that they are carried out according to strict protocols and preferably by experienced personnel. It is therefore recommended that, wherever possible, such tests should be carried out on the Medical Day Unit by the staff working regularly on that Unit. Appointments for patients to attend the MDU can be made by contacting the staff directly. If this is not feasible, copies of the protocols used in the Countess of Chester Hospital can be obtained from the Biochemistry Department. The protocols for commonly used dynamic function tests are also available on Sharepoint (Trust intranet).

Prior to initiating complex endocrine tests, it is strongly recommended that cases of suspected endocrine dysfunction are discussed with either a Consultant Endocrinologist or the Chemical Pathologist with a view to ensuring the most effective programme of investigations.

# Turnaround time for Urgent Tests

The turnaround time for Emergency Medicine and Urgent requests for TNI and U&E is 90 mins. These are key Turnaround times, which are monitored through Key Performance Indicators.

Most other routine biochemistry tests can be performed within 1 hour if required.

Reference Ranges

Adult Reference ranges for most tests are included in the table. The appropriate reference intervals for each result will be available electronically on the laboratory report - these will, where indicated, relate to the age and sex of the individual patient. Reference ranges for some tests performed as send aways by external reference laboratories are only given on the report and not in this handbook.

It is important to appreciate the limitation of such reference ranges when interpreting results.

If advice is required on test requesting, please contact the Blood Sciences laboratory.

Biochemical Investigations

All the biochemical investigations available are listed in the tables below, including those sent away to other laboratories. The schedule of scope for the (UKAS) accredited tests can be viewed at ukas.com (reference number 9061).

The tests are grouped according to type of specimen (blood or urine etc.) and then alphabetically within each group.

Any special instructions regarding the collection of specimens are also included.

## Clinical Chemistry Tests Performed In-House

| ANALYTE | REFERENCE RANGES | UNITS | NOTES | Turn around Time |
| --- | --- | --- | --- | --- |
|  |  |  |  | (days) |
| CSF Tests: |  |  |  |  |
| CSF analysis (CSF protein, CSF glucose, xanthochromia) | Protein 0.15 - 0.45 | g/L | Bottle 2 (protected from light) + fluoride oxalate tube for Blood Sciences | 1 |
|  | Glucose 2.2 - 3.9 | mmol/L | Bottle 1 + 3 for microbiology |  |
|  | Glucose 3.3 – 4.5 (paediatrics only) |  | Send to lab immediately, not in air tube POD system. |  |
| Blood Tests: | Target turnaround is 90% within time stated: |  |  |  |  |
| Αlpha-1 antitrypsin | 0.9-2.0 | g/l | Gold-top serum tube | 1 |
| Angiotensin converting enzyme | 20 - 70 33 – 112 (paediatrics only) | IU/L | Gold-top serum tube | 7 |
| Albumin | 32 - 46 | g/L | Gold-top serum tube | 1 |
| Alkaline phosphatase | 46 – 148 (adult) | IU/L | Gold-top serum tube | 1 |
| Alpha fetoprotein (AFP) | <10 (adult) | IU/ml | Gold-top serum tube | 1 |
| Alanine aminotransferase (ALT) | 8 – 45 (Adult) | IU/L | Gold-top serum tube | 1 |
| Ammonia | 11 – 32(Adult) | mmol/L | Lithium heparin tube, send to lab immediately, on ice. | 1 |
| Amylase | 28-100 | IU/L | Gold-top serum tube | 1 |
| Anti-Mullerian Hormone | Female: 6.82 – 95.22 (18-25yrs) 1.22 – 52.66 (26-30yrs) 0.53 – 52.48 (31-35 yrs) 0.20 – 51.03 (36-40yrs) 0.00 – 23.35 (41-45yrs) 0.00 – 8.19 (≥ 46 yrs) Male: 5.20-114.60 (> 18 yrs) | pmol/L | Gold-top serum tube | 7 |
| Aspartate aminotransferase (AST) | F 10 – 32 | IU/L | Gold-top serum tube | 1 |
|  | M 10 - 38 |  |  |  |
| B12 | 150 – 750 normal 120 – 150 intermediate <120 deficient | ng/L | Gold-top serum tube | 1 |
| Bicarbonate (Serum) | 20 – 32 | mmol/L | Gold-top serum tube | 1 |
| Bile acids | <14 | mmol/L | Gold-top serum tube | 1 |
| Bilirubin (neonatal) | Refer to chart | mmol/L | Lithium heparin capillary | 1 |
| Bilirubin | 0-21 | umol/L | Gold-top serum tube | 1 |
| NT-proBNP (B-Type Natriuretic Peptide (BNP) Test) | See report |  | Gold-top serum tube | 1 samples tested Mon - Fri only (not over weekend) |
| CA19-9 | 0 - 31 | IU/mL | Gold-top serum tube | 1 |
| CA125 | < 35 | IU/mL | Gold-top serum tube | 1 |
| Calcium (adjusted) | 2.10 -2.70 | mmol/L | Gold-top serum tube | 1 |
| Calcium (ionised) | 1.15-1.33 | mmol/L | Lithium heparin tube | 1 |
| Carboxyhaemoglobin | <2 | % | Li heparin tube. | 1 |
| Carcinoembryonic antigen (CEA) | 0.5 - 14 | µg/L | Gold-top serum tube | 7 |
| Chloride | 101 - 111 | mmol/L | Gold-top serum tube | 1 |
| Cholesterol | See relevant guidelines | mmol/L | Gold-top serum tube | 1 |
| Complement C3 | 0.9 – 1.8 | g/L | Gold-top serum tube | 1 |
| C4 | 0.1 - 0.5 | g/L |  |  |
| Conjugated bilirubin | 0-3.4 | umol/L | Gold-top serum tube | 1 |
| Caeruloplasmin | 0.2 - 0.6 | g/L | Gold-top serum tube | 7 |
| Cortisol | 155 – 607 | nmol/L | Gold-top serum tube | 1 |
|  | (9am Collection) |  |  |  |
| Creatine kinase | Male: 38 - 174 | IU/L | Gold-top serum tube | 1 |
|  | Female: 26 - 140 |  |  |  |
| Creatinine | See report – age specific | mol/L | Gold-top serum tube | 1 |
| C-reactive protein | < 10 | mg/L | Gold-top serum tube | 1 |
| Ethanol | <100 mg/L | mg/L | Fluoride oxalate tube | 1 |
| Ferritin | 11 - 306.8 (Female) 23.9 - 336.2 (Male) | µg/L | Gold-top serum tube or EDTA plasma | 1 |
| Folate | 4 - 50 | µg/L | Gold-top serum tube |  |
| Follicle stimulating hormone (FSH) | Female: | IU/L | Gold-top serum tube | 2 |
|  | Follicular 2.5 – 10.2 |  | Date of LMP aids interpretation |  |
|  | Ovulatory 3.4 - 33.4 |  |  |  |
|  | Luteal 1.5 – 9.1 |  |  |  |
|  | Post-menopausal |  |  |  |
|  | 23.0 – 116.3 |  |  |  |
|  | Male: 1.4 - 18.1 |  |  |  |
| Free light chains | Kappa 3.30 – 19.40 Lambda 5.70 – 26.30 | mg/L | Gold-top serum tube | 1 |
| Free thyroxine (FT4) | 7.86 – 14.41 | pmol/L | Gold-top serum tube | 1 |
| Free tri-iodothyronine (FT3) | 3.7 - 6.0 | pmol/L | Gold-top serum tube | 2 |
| Gamma-GT | 4 – 53 | IU/l | Gold-top serum tube | 1 |
| Growth hormone (GH) | F < 3.61 | µg/L | Gold-top serum tube | 1 |
|  | M < 0.97 |  |  |  |
| Glucose | Fasting: 3.6 - 5.6 | mmol/L | Fluoride oxalate | 1 |
| High density lipoprotein cholesterol (HDL-chol) | F > 1.2 M >1.0 | mmol/L | Patient must fast for 12 hours. Gold-top serum tube. | 1 |
| HCG | 0 – 4.0 (post-menopausal range up to 10) | IU/L | Gold-top serum tube | 1 |
| Immunoglobulins (IgA, IgG, IgM) | IgA: 0.69 – 3.82 IgG: 7.2 - 16.9 | g/L | Gold-top serum tube. | 1 |
|  | IgM 0.63 -2.77 |  |  |  |
|  | (Adult Ranges) |  |  |  |
|  | See Report for Paediatric range |  |  |  |
| Iron Paediatrics | F: 10.7 – 32.2 | umol/L | Gold-top serum tube. | 1 |
|  | M: 12.5 – 32.2PT |  |  |  |
|  | 0-28 days: 17.9 – 44.8 |  |  |  |
|  | 29 days-year: 7.2 – 17.9 |  |  |  |
|  | 1-18 years: 9.0 – 21.5 |  |  |  |
| Ketones (serum) | Not detected | - | Li-heparin tube | 1 |
| Lactate | 0.63 - 2.44 | mmol/L | Grey-top fluoride oxalate. Send sample to lab immediately. | 1 |
| Lactate dehydrogenase (LDH) | 266 - 500 | IU/L | Gold-top serum tube. | 1 |
| Luteinising hormone (LH) | Female: | IU/L | Gold-top serum tube. | 2 |
|  | Follicular 1.9 – 12.5 |  | Date of LMP aids interpretation |  |
|  | Ovulatory 8.7– 76.3 |  |  |  |
|  | Luteal 0.5 – 16.9 |  |  |  |
|  | Post-Menopausal: |  |  |  |
|  | 30 – 72.5 |  |  |  |
|  | Male: 1.5 – 9.3 |  |  |  |
| Magnesium | 0.7 - 1.0 0.6 – 1.0 (paediatrics only) | mmol/L | Gold-top serum tube. | 1 |
| Methaemalbumin | POS/NEG | - | Gold-top serum tube. | 1 |
| Methaemoglobin | 0.4 - 1.5 | % | Li heparin tube. | 1 |
| Oestradiol | Females over 19years: Follicular 83-422 Ovulatory 118-1897 Luteal 134-902 Post-menopausal <92 Females 12-18years: 134-719 Males over 19 years <115 | pmol/L | Gold-top serum tube. | 2 |
|  |  |  | Date of LMP aids interpretation. |  |
| Osmolality | 288 - 298 | mmol/L /Kg | Gold-top serum tube. | 1 |
| Parathyroid hormone (PTH) | 1.3 – 9.3 | pmol/L | Gold-top serum tube. Send sample to lab immediately. | 1 |
| Phosphate | Adult: 0.8 - 1.4 Neonate: 1.3 – 2.6 Infant: 1.3 – 2.4 1 - 16 yrs: 0.9 – 1.8 | mmol/L | Gold-top serum tube. | 1 |
| Placental growth factor (PLGF) | See report | pg/ml | Purple topped tube | 1 |
| Potassium | 3.5 – 5.0 | mmol/L | Gold-top serum tube | 1 |
| Procalcitonin | See report | ng/mL | Gold-top serum tube | 1 |
| Progesterone | Female: | nmol/L | Gold-top serum tube. | 2 |
|  | Pre-ovulatory |  | Date of LMP aids interpretation. |  |
|  | 0.6 - 6.7 |  |  |  |
|  | Ovulatory cut-off |  |  |  |
|  | 30 |  |  |  |
|  | Post-menopausal |  |  |  |
|  | 0.5 - 1.5 |  |  |  |
|  | M < 6.5 |  |  |  |
| Prolactin | Male: 82 - 442 | mU/L | Gold-top serum tube. | 2 |
|  | Female: 82 - 524 |  |  |  |
| Prostate specific antigen (PSA) | Age-related ranges | g/L | Collect sample prior to any rectal examination. | 1 |
|  | on report |  | Gold-top serum tube. |  |
| Protein Electrophoresis /immunofixation | See Report | - | Gold-top serum tube | 7 |
| RA Latex | 0-10 IU/L | Gold-top serum tube | 5 ml | 24 hrs |
| Sex hormone binding globulin (SHBG) | Male: 13.2 – 89.5 | nmol/L | Gold-top serum tube. | 2 |
|  | Female :13.2–135.7 |  |  |  |
| Sodium | 133 - 144 | mmol/L | Gold-top serum tube. | 1 |
| Testosterone | Male: 6.7-27 | nmol/L | Gold-top serum tube | 2 |
|  | Female: 0.5 – 3.5 |  |  |  |
| Thyroid Function Tests | FT4 7.86 – 14.41 | pmol/L | Gold-top serum tube. | 2 |
|  | TSH 0.35 – 5.50 | mIU/L |  |  |
| Thyroid Stimulating Hormone (TSH) | 0.35 – 5.50 | mIU/L | Gold-top serum tube. | 2 |
| Total Iron Binding Capacity (TIBC) | 45 – 70 | mol/L | Gold-top serum tube. | 2 |
| Total Protein | 60 - 80 | g/L | Gold-top serum tube. | 1 |
| TPO (thyroperoxidase) | 0 - 9 | IU/mL | Gold-top serum tube. | 1 |
| Transferrin | 2.2 - 4.0 | g/L | Gold-top serum tube. | 7 |
| Triglycerides | Fasting 0.6 – 1.7 | mmol/L | Gold-top serum tube. | 1 |
| Troponin I | Females <11.6 | ng/L | Gold-top serum tube. | 1 |
|  | Males <19.8 |  | Baseline on admission. Repeat after 3hs |  |
| Urea | See report – age and sex specific | mmol/L | Gold-top serum tube. | 1 |
| Also U&E |  |  |  |  |
| Uric Acid | 0.23 - 0.42 (male) 0.12-0.42 (female) | mmol/L | Gold-top serum tube. | 1 |
| Vitamin D |  | nmol/l | Gold-top serum tube. | 1 |
|  | >50 |  |  |  |
| Carbamazepine | 3 - 10 | mg/L | Gold-top serum tube. | 1 |
|  |  |  | Pre-dose sample. |  |
| Digoxin | 0.8 - 2.0 | µg/L | Gold-top serum tube. | 1 |
|  |  |  | At least 6 h post dose sampling. |  |
| Gentamicin | See report |  | Gold-top serum tube. | 1 |
| Lithium | 0.4 – 1.0 those > 65 yrs old should aim for lower levels | mmol/L | Gold-top serum tube. | 1 |
|  |  |  | Collect at least 12 hours post dose. |  |
| Paracetamol | See treatment normogram | mg/L | Gold-top serum tube. Collect sample at least 4 hours post ingestion | 1 |
| Phenytoin | 10 - 20 | mg/L | Gold-top serum tube. | 1 |
|  |  |  | Pre-dose. |  |
| Salicylate | N/A | mg/L | Gold-top serum tube. | 1 |
| Teicoplanin | Dosed by Pharmacist, dependent on therapeutic use | mg/L | Gold-top serum tube | x2/week |
| Theophylline | 10 - 20 | mg/L | Gold-top serum tube Pre-dose. | 1 |
| Tobramycin | See report | mg/L | Gold-top serum tube. | 1 |
| Valproate | 50 - 100 | mg/L | Gold-top serum tube. | 1 |
| Vancomycin | See report | mg/L | Gold-top serum tube. | 1 |

## Urine Tests:

| Amylase | See report | IU/24h | 24h urine collection without preservative. | 1 |
| --- | --- | --- | --- | --- |
| Bence Jones Protein | POS/NEG | - | Early morning urine | 7 |
| Calcium | See report | mmol/ | 24h urine collection | 1 |
|  |  | 24h |  |  |
| Chloride | 110 - 250 | mmol/ | 24h urine collection without preservative | 1 |
|  |  | 24h |  |  |
| Creatinine Clearance | See report | mL/min | 24h urine collection without preservative. | 1 |
|  |  |  | Gold-top serum tube also required within 24 hr of urine collection |  |
|  |  |  | specimen (as part of GTT). |  |
| Microalbumin | See report |  |  |  |
| Osmolality | 50 - 1400 | mmol/kg | Random urine. (White top container only) Fluid intake dependent. | 1 |
| Phosphate | 13-42 | mmol/ 24h | 24h urine collection without preservative. | 1 |
| Potassium | See report | mmol/24h | 24h collection without preservative. | 1 |
| Pregnancy Test | POS/NEG | - | Early morning urine sample. | 1 |
| Protein | 0.01 - 0.12 | g/L/24hr | 24h collection without preservative | 1 |
| Urea | Varies with dietary intake | mmol/24hr | 24h collection without preservative | 1 |
| Urea and electrolytes | See individual tests | mmol/24hr | 24h collection without preservative. | 1 |
| Uric acid | See report | mmol/ 24h | 24h collection without preservative. | 1 |
| ## Faeces Tests: |  |  |  |  |
| Faecal Immunochemical Test (FIT) | 0-10 | µg/g | OC-Auto sampling bottles (provided by lab) | 7 |
| pH | 7 – 7.5 | - | Fresh Specimen, liquid only. | 7 |
| Miscellaneous: |  |  |  |  |
| Body fluid protein, glucose, Albumin, amylase, urea, creatinine, LDH, electrolytes, pH | See report |  | Sterile, universal container | 1 |
| Sweat Test | Conductivity < 60 Sweat chloride Age <6 months <30 mmol/L Age >6 months <40 mmol/L | mmol/L | Phone lab for appointment. | 2 |

## Arterial Blood Gas Reference Ranges

Samples should be collected in a green lithium heparin gas syringe. Where possible, avoid sending samples to the laboratory via the air tube system. Samples must be immediately delivered following collection.

| ANALYTE | REFERENCE RANGES | UNITS | NOTES | Turnaround Time (hours) |
| --- | --- | --- | --- | --- |

| pH | 7.35-7.45 |  |  | 1 |
| --- | --- | --- | --- | --- |
| pCO2 | 4.5-6.1 | KPa |  | 1 |
| pO2 | 12-14 | KPa |  | 1 |
| sO2 | 75-99 | % |  | 1 |
| Hct | 35-50 | % |  | 1 |
| tHB | 115-174 | g/L |  | 1 |
| Na | 133-144 | mmol/l |  | 1 |
| K | 3.5-5.0 | mmol/l |  | 1 |
| Cl | 95-108 | mmol/l |  | 1 |
| Ionised calcium | 1.2-1.3 | mmol/l |  | 1 |
| O2Hb | 95-99 | % |  | 1 |
| COHb | 0.5-2.5 | % |  | 1 |
| MetHB | 0.4-1.5 | % |  | 1 |
| HHb | 0.4-1.5 | % |  | 1 |
| Base excess (BE) | -3 to +3 | mmol/l |  | 1 |
| HCO3 | 20-32 | mmol/l |  | 1 |

# Blood sciences tests referred to reference laboratories:

For Reference ranges and units see report.

| Test | Sample | Minimum Volume | Reference Lab Turnaround Time | Procedure Notes | Site Code |
| --- | --- | --- | --- | --- | --- |
| 1,25 diOH vitamin D | Gold top serum tube | 10mL | 28 days |  | NORFOLK |
| 11-deoxycortisol | Gold top serum tube | 250µL | 1 week |  | KINGSBIO |
| 17-hydroxyprogesterone | Gold top serum tube | 4mL | 14 days | Neonates should be >48hrs old | RLHCP |
| 17-hydroxyprogesterone (blood spot) | Blood spot card | bloodspot samples should be collected at 3 different times throughout one day (6 bloodspots in total) | 1 month | Collect free flowing blood from a finger prick | MRIBIO |
| 7-dehydro-cholesterol | Green top Lithium Heparin | 1mL | 3-6 weeks |  | SHFCH |
| A1AT Phenotype | Gold top serum tube | 2mL | 10 days | Only sent if A1AT is low – test added by lab | PRU |
| A1AT Genotype | Lavender top EDTA tube | 2mL | 28 days |  | PRU |
| A1AT (Faecal) | Faeces | 1g stool | 7 days |  | STGEORGES |
| Acetylcholine Receptor Abs | Gold top serum tube | 20µL | 7 days |  | BUXT |
| ACTH | Lavender top EDTA tube | 4mL | 7 days | Send to lab on ice | RLHCP |
| Acylcarnitine profile | Green top Lithium Heparin (can use Gold top serum tube /Grey top fluoride oxalate tube) | 0.5mL | 14 days |  | SHFCH |
| Adalimumab | Gold top serum tube | 5mL | 10 days |  | EXETER |
| ADAMS13 | Blue top Sodium Citrate | 3.5mL | 3 weeks | Requires haematology consultant authorisation | RLHCOAG |
| Adrenal antibodies | Gold top serum tube | 2mL | 5 days |  | PRU |
| Aldosterone | Lavender top EDTA tube | 4mL | 14 days |  | RLHCP |
| ALP, isoenzymes | Gold top serum tube | 5mL | 3 weeks |  | AP |
| Alpha Amino Adipic Semialderhyde | Random Urine | 1mL | 4 weeks |  | UCLICH |
| Aluminium | Trace element free tubes plasma or Gold top serum tube | 500µL | 7 days | Avoid contamination from gloves | LEEDS |
| Amikacin | Gold top serum tube | 5mL (For neonatal 0.5mL Lith Hep) | 3 days | Requires pre dose level | RLHCP |
| Amino acids | Urine/ Green top Lithium Heparin | 1mL | 10 days | fasting sample preferred | AHEY |
| Amiodarone | Lavender top EDTA tube | 0.5mL | 7 days |  | CARDIFF |
| AMPA 1 receptor and AMPA2 receptor | Gold top serum tube | 0.2ml | 10 days |  | BUXT |
| Amylase isoenzymes | Gold top serum tube / Green top Lithium Heparin | 0.5mL | 5 weeks |  | GOS |
| Amyloid A | Gold top serum tube | 2mL | 7 days |  | PRU |
| Androstenedione | Gold top serum tube | 5mL | 7 days |  | RLHCP |
| Anti-Caspr2 | Gold top serum tube | 15µL | 10 days | Replaced voltage fated K channels | BUXT |
| Anti-Lgi1 | Gold top serum tube | 15µL | 10 days | Replaced voltage fated K channels | BUXT |
| Anti Ganglioside Abs | Gold top serum tube | 10µL | 10 days |  | BUXT |
| Anti-ovarian antibodies | Gold top serum tube | 2mL | 5 days |  | PRU |
| Anti-interferon beta abs | Gold top serum tube | 0.5ml | 21 days | Only for patients on anti-interferons | NEUROIMM |
| Antithrombin antigen | Blue top Sodium Citrate | 9mL | 3 weeks |  | RLHCOAG |

| Apixaban Levels | Blue top Sodium Citrate | 1 mL | 1 day |  | RLHCOAG |
| --- | --- | --- | --- | --- | --- |
| Apo E genotype | Lavender top EDTA tube | 4mL | 1 month |  | STGEORGE |
| Apolipoprotein (a) | Lavender top EDTA tube / Green top Lithium Heparin | 1mL | 7 days |  | BIRMHEART |
| Arsenic | Lavender top EDTA tube | Blood - 2mL Urine – 20mL | 5 days |  | SURTEL |
| B2-transferrin | Nasal Fluid and Gold top serum tube | 5µL | 2 days |  | BUXT |
| Basal-ganglia abs | Gold top serum tube | 1ml | 28 days |  | OXRAD |
| B-CTX (Beta C- telopeptide) | Lavender top EDTA tube | 0.5mL | 3 days |  | RLHCP |
| B-hydoxy butyrate | red top serum tube | 0.5mL | 2 weeks |  | AHEY |
| B-2 microglobulin | Gold top serum tube or Urine | 2mL Serum or 20mL Urine | 2 days |  | PRU |
| Biotin/biotinidase | Green top Lithium Heparin | 2mL - adult, 250µL-paediatrics | 4 weeks |  | RVI |
| C1 esterase inhibitor | Gold top serum tube | 3mL | 16 days | Only if C4 low | RLHIM |
| CA15-3 | Gold top serum tube / Green top Lithium Heparin | 2mL | 2 days |  | WUTH/AP |
| Cadmium | Lavender top EDTA tube or urine | blood 2mL urine 10mL | 5-10 days |  | SURTEL |
| Caffeine | Gold top serum tube / Green top Lithium Heparin | 2mL | 2 days |  | BIRMCITY |
| Calcitonin | Gold top serum tube | 2mL | 7 days | Send to lab on ice | CHRIST |
| Cardiac muscle antibodies | Gold top serum tube | 2mL | 5 days |  | PRU |
| Carnitine | Green top Lithium Heparin (can use Gold top serum tube / Grey top fluoride oxalate) | 0.5mL | 14 days |  | SHFCH |
| Chloramphenicol | Gold top serum tube | 100uL | 3 days | Chloramphenicol is degraded by light; ensure the samples are protected from direct sunlight | BRISTOL |
| Cholinesterase/pseudocholinesterase | Gold top serum tube / Lavender top EDTA tube | 1mL | 4 weeks |  | BRISTOL |
| Chromium | Whole blood EDTA trace element tube/ Lavender top EDTA tube | 2mL | 5 days | Use plastic cannula or collect blood for Chromium after blood has been drawn for other test, otherwise discard first 5mL | SURTEL |
| Chromogranin A+B | Lavender top EDTA tube | 3mL | 21 days | Fasting sample (6-8 hrs). Send to lab on ice immediately | ICSMEU |
| Chromosome studies | Green top Lithium Heparin | 3mL | 6 weeks |  | LWH |
| Clobazam | Lavender top EDTA tube | 300µL | 7 days |  | CARDIFF |
| Clonazepam | Gold top serum tube | 200µL | 3 days |  | NEURO |
| Clozapine | Lavender top EDTA tube | 2mL | 2 days |  | KINGSBIO |
| Cobalt | Whole blood EDTA trace element tube/ Lavender top EDTA tube | 2mL | 5 days |  | SURTEL |
| Colistin | Gold top serum tube | 2mL | 3 days | only pre-dose required now (May 2015) | BRISTOL |
| Complement C1Q | Gold top serum tube | 2mL | 20 days |  | PRU |
| Copeptin (CTproAVP) | Gold top serum tube / Lavender top EDTA tube / Green top Lithium Heparin | 1mL | 4 weeks |  | RVI |
| Copper | Gold top serum tube | 1mL | 7 days |  | Cardiff |
| CSF Igs/Oligo bands | CSF and Gold top serum tube | 5µL | 5 days |  | BUXT |
| Cyclosporin | Lavender top EDTA tube | 4mL | RLHCP -3 days AHEY –10 days | Pre dose | RLHCP AHEY if under 16 years |
| Cystatin-C | Gold top serum tube | 1 mL | 7 days |  | HOPEBIO |
| Cystine | Urine | 1mL | 10 days | Request urine amino acid profile | AHEY |
| Dabigatran Levels | Blue top Sodium Citrate | 1mL | 7 days |  | RLHCOAG |
| DHEA | Gold top serum tube | 5mL | 7 days |  | RLHCP |
| Dihydrotestosterone | Gold top serum tube | 5mL | 35 days |  | LEEDS |
| DPD/Creatinine ratio | Urine | 20mL | 6 weeks | Protect from light | NORFOLK |
| Edoxaban Levels | Blue top Sodium Citrate | 1mL | 1 day |  | RLHCOAG |
| Elastase, faecal | Faeces | >200ug/g stool | 3 weeks |  | WYTH |
| ELF Score | Gold top serum tube | 5mL | 2 days |  | WARRINGTON |
| Erythropoietin | Gold top serum tube | 1mL | 7 days |  | LGI |
| Ethosuximide | Gold top serum tube / Green top Lithium Heparin | 200µL | 3 days | Pre dose | TDM unit |
| Ethylene Glycol | Grey top fluoride oxalate or Lavender top EDTA tube | 2mL | 1 day | Before sending sample the following tests must be complete; U&E, bone profile, ethanol level, lactate and osmolality | BIRMCITY |
| Fabrys disease | Lavender top EDTA tube | 2mL | 4 weeks |  | WIL |
| Factor V Leiden mutation | Blue top Sodium Citrate | 1.3mL - Neonate, 2.9mL - adult | 14 days |  | RLHCOAG |
| Factor VIII and VIII inhibitor | Blue top Sodium Citrate | 1mL | 3 weeks for routine, on the day if urgent on a treatment plan. |  | RLHCOAG |
| Factor IX, X,XI,XII, XIII, II,V or VII – adult | Blue top Sodium Citrate | 1mL | 3 weeks for routine, on the day if urgent on a treatment plan. |  | RLHCOAG |
| Factor IX, X,XI,XII, XIII, II,V or VII – child | Blue top Sodium Citrate | 1.3mL | 2 weeks |  | AHEY |
| FDH(Familial dysalbuminaemic hyperthyroxaemia) | Gold top serum tube | 1mL | 28 days |  | REFTFT |
| Familial Hypercholesterolaemia | Lavender top EDTA tube | 2 mL | 28 days |  | LWH |
| FGF-23 | Lavender top EDTA tube | 1mL | 2-3 weeks |  | NORFOLK |
| First trimester/QUAD screening | Gold top serum tube | 5mL | 2 days |  | BOLTON |
| Flecainide | Green top Lithium Heparin | 0.5mL | 5 days |  | AHEY |
| Free fatty acids | Gold top serum tube | 0.5mL | 2 weeks |  | AHEY |
| Free protein S/protein S activity | Blue top Sodium Citrate | 1mL | 28 days |  | RLHCOAG |
| Fructosamine | Gold top serum tube | 2mL | 1 day |  | BIRMCITY |
| G6PD | Lavender top EDTA tube | 4mL | 4 days |  | RLHHAEM |
| GABA-B receptor | Gold top serum tube | 0.2 mL | 10 days |  | BUXT |
| Gabapentin | Urine | 20mL | 5 days |  | BIRMCITY |
| GAD65 abs (diabetic cause) | Gold top serum tube | 2mL | 5 days |  | PRU |
| GAD67 abs (neurological cause) | Gold top serum tube | 2mL | 10 days |  | BUXT |
| Gal-1-P Uridyl Transferase | Green top Lithium Heparin | 0.5mL | 5 days | Patient must not have been transfused in last 3 months Can only be sent Mon-Thurs. | AHEY |
| Ganciclovir | Gold top serum tube | 1mL | 3 days |  | BRISTOL |
| Gastrin | Lavender top EDTA tube | 3mL | 21 days | Fasting sample (6-8 hrs). Send on ice to laboratory immediately | ICSMEU |
| Gilberts gene analysis | Lavender top EDTA tube | >4mL (1-2mL -Paed) | 42 days |  | LWH |
| Gliadin antibodies | Gold top serum tube | 2mL | 5 days |  | PRU |
| Glucagon | EDTA plasma | 3mL | 21 days | Fasting sample (6-8 hrs). Send on ice to laboratory immediately | ICSMEU |
| Gluten immunogenic peptide | Urine | 10mL | 5 days |  | PRU |
| Glycine receptor antibodies | Gold top serum tube | 1mL | 14 days |  | OXRAD |
| Glycolipid Abs | Gold top serum tube | 0.2 mL | 10 days | Also MAGAB's, requested with Paraneoplastic Abs | BUXT |
| Gut hormone profile | 2x Lavender top EDTA tube | 6mL | 21 days | Fasting sample (6-8 hrs). Send on ice to laboratory immediately | ICSMEU |
| HFE gene C282Y | Lavender top EDTA tube | >4mL (1-2mL -Paed) | 42 days |  | LWH |
| Haemochromatosis gene H63D | Lavender top EDTA tube | >4mL (1-2mL -Paed) | 42 days |  | LWH |
| Haptoglobin | Gold top serum tube | 5mL | 3 days |  | RLHCP |
| Haemoglobinopathy Studies (HBOP) Away | Lavender top EDTA tube | 4mL | 10 days |  | RLHHAEM |
| Hereditary Spherocytosis (EMA Binding) | Lavender top EDTA tube | 5mL | 4 days |  | MRIIMM |
| HLA | Lavender top EDTA tube | 4mL | 10 days |  | RLHIM |
| HLA + HLA B27 | Lavender top EDTA tube | 4mL | 10 days |  | RLHIM |
| HLA DQ2 AND DQ8 | Lavender top EDTA tube | 4mL | 10 days |  | RLHIM |
| HMG-CoA receptor abs | Gold top serum tube | 1 mL | 10 days |  | OXRAD |
| Homocysteine | Gold top serum tube / Lavender top EDTA tube / Green top Lithium Heparin | 2mL | 14 days | Send to lab on ice | AHEY |
| IA2 antibodies | Gold top serum tube | 2mL | 10 days |  | PRU |
| IgA check | Gold top serum tube | 1 mL | 5 days |  | NBSSHEF |
| IGF-1 | Gold top serum tube | 250µL | 5 days |  | UHBIRM |
| IGF-2 (IGF-1/IGF-2 ratio) | Gold top serum tube | 0.3mL | 14 days |  | ROYSUR |
| IgG subclasses | Gold top serum tube | 7mL | 3 days |  | MRIIMM |
| IgLON5 abs | Gold top serum tube | 0.2 mL | 10 days |  | BUXT |
| Infliximab | Gold top serum tube | 5mL | 10 days | orders drug and antibody levels | EXETER |
| Inhibin B | Gold top serum tube / Green top Lithium Heparin | 2mL | 2 weeks |  | PRU |
| Insulin (Insulin with C-peptide) | Gold top serum tube | 5mL | 7 days | Only if glucose <2.5 | RLHCP |
| Insulin antibodies | Gold top serum tube | 2mL | 5 days |  | PRU |
| Insulin C-peptide | Gold top serum tube | 5mL | 7 days | Only if glucose <2.5 | RLHCP |
| Insulin C-peptide (Paed) | Orange top Lithium Heparin | 0.5mL | 4 days | Send to lab on ice immediately | AHEY |
| Islet cell Abs | Gold top serum tube | 2mL | 5 days |  | PRU |
| Isoniazid | Grey top fluoride oxalate | 1-2mL | 3 days | Post dose sample, taken 2 hours after the end of administration (and/or 6 hours if monitoring absorption) | BRISTOL |
| Itraconazole | Red top serum tube | Adult - 1mL/Neonate - 0.5mL | 2 days |  | WYTH |
| Karyotype | Green top Lithium Heparin | 1mL | 42 days |  | LWH |
| Keppra/levetiracetam | Lavender top EDTA tube | 200µL | 7 days |  | BUXT |
| Lamotrigine | Gold top serum tube | 20µL | 2 days |  | BUXT |
| Laxative + diuretic screen | Urine | 25 mL | 3 days | Ideally 3 consecutive days; 25 mL each | BIRMCITY |
| Lead | Lavender top EDTA tube | 2mL | 3 days |  | RPS |
| Lipase | Gold top serum tube | 250uL | 1 week |  | HUDD |
| Lipoprotein (a) | Gold top serum tube / Lavender top EDTA tube / Green top Lithium Heparin | 1mL | 7 days |  | BIRMHEART |
| Lupus Anticoagulant | Blue top Sodium Citrate | 2 x 2.7 mL | 3 weeks | Collect x2 citrate tubes | RLHCOAG |
| Lymphocyte subsets or T&B, CD4, CD20 etc. | Lavender top EDTA tube | 3mL | 3 days |  | RLHIM |
| Malaria Screen Away | Lavender top EDTA tube, thin film and thick film | 4mL | 2 days | Contact Lab before sending | LSTM |
| Manganese | Red top serum tube | 2mL | 5 days | Use plastic cannula, or collect blood for Mn after blood has been drawn for other tests, otherwise discard first 5mL. | SURTEL |
| Mercury | Lavender top EDTA tube | 2mL | 5 days |  | SURTEL |
| Methanol | Grey top fluoride oxalate | 2mL | 1 day |  | BIRMCITY |
| Methotrexate | Red top serum tube or Green top Lithium Heparin | 0.5mL | 24 hours |  | AHEY |
| Methyl histamine | Urine | 5mL | 2 weeks |  | PRU |
| Methylmalonic acid | Gold top serum tube / Lavender top EDTA tube | 0.5mL | 7 days |  | NEUROIMM |
| Mucopolysaccharides | Urine | 10mL | 28 days | Also GAG's | AHEY |
| MuSK antibodies | Gold top serum tube | 20µL | 21 days |  | BUXT |
| Mycophenalate | Gold top serum tube | 2mL | 7 days |  | WYTH |
| Myelin associated glycoprotein Abs | Gold top serum tube | 2µL | 21 days |  | BUXT |
| Myelin oligodendrocyte glycoprotein (MOG) abs | Gold top serum tube | 1mL | 14 days |  | OXRAD |
| Neuronal Abs (antineuronal antibodies) | Gold top serum tube or CSF | 15µL | 14 days |  | BUXT |
| NSE (Neurone Specific Enolase) | Gold top serum tube | 2mL | 7 days (on the day if urgent) |  | PRU |
| N-methyl D-aspirate (NMDA) receptor abs | Gold top serum tube | 0.2mL | 10 days |  | BUXT |
| NMO antibodies (or aquaporin-4 antibodies) | Gold top serum tube | 1mL | 14 days | Special Patient Info form must be filled in. Speak to Duty Biochemist | OXRAD |
| Olanzapine | Lavender top EDTA tube | 250µL | 7 days | protected from light | CARDIFF |
| Oligoclonal bands | CSF and Gold top serum tube | 5µL | 5 days | Paired blood and CSF required for this test | BUXT |
| Organic acids | Urine | 10mL | 7 days |  | AHEY |
| Orosomucoid (α1-acid glycoprotein) | Gold top serum tube | 2mL | 7 days |  | PRU |
| Oxalate (plasma) | Lavender top EDTA tube | 4mL | 7 days |  | TDL |
| Oxcarbazepine | Gold top serum tube | 200µL | 3 days |  | NEURO |
| PBG/creatinine ratio | Urine | 3mL | 10 days | Protect from light, send to lab without delay | UHWBIO |
| Phenobarbitone | Gold top serum tube | 0.1mL | 2 days |  | BUXT |
| Phytanic acid | Green top Lithium Heparin, Grey top fluoride oxalate or Lavender top EDTA tube | 1mL | 15 days |  | BIRMCHIL |
| Plasma 5HIAA | Green top Lithium Heparin | 1mL | 20 days | Overnight Fast | LEEDS |
| Plasma metanephrines | Lavender top EDTA tube | 2mL | 10 days |  | HOPEBIO |
| PNH screen | 5ml EDTA PB | 4mL | 24 hours |  | HODS Lab RLHHAEM |
| POMPE Disease/ White Cell Acid Maltose | Lavender top EDTA tube | 2mL | 4 weeks |  | WIL |
| Porphyrin screening | Lavender top EDTA tube - /Random Urine/Faeces | 5-10mL blood/3mL urine | 10 days | Protect from light | UHWBIO |
| Posaconazole | Red top serum tube | Adult - 5mL/Neonate - 0.5mL | 2 days | Do not use gel tube, order as 'Biochem Misc. Sendaway' | WYTH |
| Pre-albumin | Gold top serum tube | 2mL | 7 days |  | PRU |
| Prednisolone | Gold top serum tube | 2mL | 8 days |  | WYTH |
| Procollagen aminopeptide Type III | Gold top serum tube / Green top Lithium Heparin / Lavender top EDTA tube | 2mL | 5 days |  | PRU |
| Procollagen type 1 N propeptide (P1NP) | Gold top serum tube / Green top Lithium Heparin or Lavender top EDTA tube | 0.5mL | 7 days |  | RLHCP |
| Protein C antigen | Blue top Sodium Citrate | 1mL | 1 month - call for tat |  | RLHCOAG |
| Protein S antigen | Blue top Sodium Citrate | 1mL | 1 month - call for tat |  | RLHCOAG |
| Protein Selectivity | Gold top serum tube + 24 hr urine | 2mL serum + 20mL urine | 5 days |  | PRU |
| Prothrombin Gene Variant | Blue top Sodium Citrate | 1.3mL - Neonate, 2.9mL - adult | 14 days |  | MRI |
| Purine/pyrimidine screen | Random urine | 5mL | 14 days |  | STTHOM |
| Pyruvate | Green top Lithium Heparin | 100µl | 1-2 weeks | Contact lab first, special collection tube required | GOS |
| Pyruvate Kinase | Lavender top EDTA tube | 1mL | 10 days | Contact lab before taking – needs time matched control | KINGSBIO |
| Quantiferon TB | Quantiferon tubes – purple, grey, green and yellow | 1mL | 7 days | Mon-Thurs blood collection only - For queries contact TB nurse specialist x3628 | MRIIMM |
| Quetiapine | Gold top serum tube | 2mL | 5 days |  | BIRMCITY |
| Reducing substances | Urine or faeces in plain container | 5ml | 7 days |  | AHEY |
| Renin (supine/upright) | Lavender top EDTA tube | 4mL | 14 days |  | RLHCP |
| Rifampicin | Gold top serum tube | 100µl | 3 days | Timing of sample(s) 2 hours post dose. Repeat at 6 hours if suspect delayed. | BRISTOL |
| Risperidone | Lavender top EDTA tube | 2mL | 7 days |  | CARDIFF |
| Ristocetin cofactor | Blue top Sodium Citrate | 3.5mL | 1 month - call for tat |  | RLHCOAG |
| RNA polymerase | Gold top serum tube | 2mL | 5 days |  | PRU |
| Rohypnol | Gold top serum tube | 4mL | 5 days |  | BIRMCITY |
| Selenium | Red top serum tube | 2mL | 5 days |  | SURTEL |
| Sialotransferrin (Transferrin Isoforms) | Gold top serum tube | 1mL | 9 days |  | NEUROIMM |
| Sirolimus | Lavender top EDTA tube | 1mL | 2 days |  | RLHCP |
| stone analysis | Stone | NA | 5 days |  | BIRMCITY |
| Striated muscle test (Skeletal muscle antibody) | Gold top serum tube | 2mL | 5 days |  | PRU |
| Sugar chromatography | Urine, faeces | Urine - 0.5mL | 3 days | Positive reducing substances only – test added by lab | AHEY |
| Sulphonylureas | Gold top serum tube or urine | 0.6mL - Serum/10mL Urine | 1 week |  | ROYSUR |
| Tacrolimus (FK506) | Lavender top EDTA tube | 4mL | 3 days | Any patient under 16 years, sent to AHEY | RLHCP |
| Testicular abs | Gold top serum tube | 2mL | 5 days |  | PRU |
| TGN (thioguanine nucelotide) | Lavender top EDTA tube | 4mL | 10 days | Patients on Azathiorpine only | MRIBIO |
| Thiamine (Vitamin B1, red cell transketolase) | Lavender top EDTA tube | 4mL | 14 days |  | RLHCP |
| Thrombophilia | Blue top Sodium Citrate | 4 x 2.7 mL | 3 weeks | Collect x3 citrate tubes | RLHCOAG |
| THSD7A abs (thrombospondin type-1 domain containing 7A) | Gold top serum tube | 2mL | 14 days |  | PRU |
| Thyroglobulin | Gold top serum tube | 1mL | 28 days |  | UHBIRM |
| Thyroglobulin Abs | Gold top serum tube | 5mL | 10 days |  | UHWBIO |
| Toxicology screen | Urine | 20mL | 2 days |  | BIRMCITY |
| TPMT (thiopurine methyl transferase) | Lavender top EDTA tube | 4mL | 10 day |  | MRIBIO |
| Trimethylamine | Urine | 10mL | 6-8 weeks |  | SHFCH |
| Tryptase/mast cell tryptase | Gold top serum tube | 5mL | 7 days |  | RLHIM |
| Urine 5HIAA | 24 hr urine with acid | full collection | 10 days | Special container with acid | RLHCP |
| Urine barium | Urine | 20mL | 5 days |  | BIRMCITY |
| Urine cadmium | Urine | 20mL | 5 days |  | SURTEL |
| Urine citrate | 24 hour urine | 24 hr urine Acidified | 10 days |  | WYTH |
| Urine copper | 24 hour urine | 20ml | 7 days |  | UHWBIO |
| Urine cortisol | 24 hour urine | full collection | 14 days |  | RLHCP |
| Urine c-peptide | Spot urine (boric acid) | 20mL | 7 days |  | EXETER |
| Urine glycosaminoglycans (GAGs) | Urine | 10ml (fresh sample) | 28 days |  | WIL |
| Urine homocystine | Random urine | 1mL | 10 days | Part of urine amino acid screen | AHEY |
| Urine iron | 24 hour urine or random urine | 20mL | 5 days |  | SURTEL |
| Urine mercury | 24 hour urine or random urine | 20mL | 5 days |  | SURTEL |
| Urine metadrenaline | 24 hr urine | 24 hour urine | 14 days |  | STHELIER |
| Urine methylmalonic acid | Urine | 3-5mL | 20 days |  | UHWBIO |
| Urine mucopolysaccharides | Urine | 10mL | 1 month |  | AHEY |
| Urine nickel | 24 hour urine or random urine | 20mL | 5 days |  | SURTEL |
| Urine oligosaccharides | Urine | 20mL | 28 days |  | WIL |
| Urine oxalate | 24 hour urine/random | 24 hr urine Acidified | 10 days |  | WYTH |
| Urine pipecolic acid | Urine | 1mL | 42 days |  | SHFCH |
| Urine steroids | 24 hour urine | 20mL | 21 days | Pt off steroids for at least 2 weeks. | KINGSBIO |
| Urine VLCFA | Urine | 2mL | 15 days |  | MRICHILD |
| Vitamin A + E | Green top Lithium Heparin or Gold top serum tube | 0.5mL | 21 days | Protect from light. | AHEY |
| Vitamin B6 | Lavender top EDTA tube | 200µL | 14 days | Protect from light | ROTHERHAM |
| Vitamin C | Green top Lithium Heparin | 2mL | 28 days | Request preservative tube containing metaphosphoric acid (MPS) prior to taking the sample. | ROTHERHAM |
| Vitamin K | Gold top serum tube | 5mL | 10 days | Protect from light. | STTHOMHAEM |
| VLCFA | Green top Lithium Heparin/, Grey top fluoride oxalate or Lavender top EDTA tube | 2mL | 14 days |  | BIRMCHIL |
| Voltage gated calcium channels | Gold top serum tube | 20µL | 21 days |  | BUXT |
| VMA (HMMA) | Urine | 20mL | 14 days | Send random urine to lab without delay | STHELIER |
| Voltage gated K channel Abs |
| vonWillebrand Screen – Adult | Blue top Sodium Citrate | 3.5mL | 28 days - call for tat |  | RLHCOAG |
| vonWillebrand Screen – Child | Green top paediatric Sodium Citrate | 1.3mL | 2 weeks |  | AHEY |
| Von willebrand factor antigen | Blue top Sodium Citrate | 3.5mL | 28 days - call for tat |  | RLHCOAG |
| Voriconazole | Red top serum tube | Adult - 5mL/Neonate - 0.5mL | 2 days |  | WYTH |
| White cell enzymes | Lavender top EDTA tube | 5mL | 3 weeks |  | WIL |
| Zinc | NAVY (trace element) top serum tube | 5mL | 7 days |  | UHWBIO |
| Zinc protoporphyrins | Lavender top EDTA tube | 1mL | 3 days |  | RPS |
| ZnT8 | Gold top serum tube | 2mL | 10 days |  | PRU |

# Point of Care Testing (POCT)

Diagnostic testing has traditionally been performed in the central laboratory in batches, however new smaller robust technology now available has allowed for some testing to be performed at or near the patient.

Point of care testing may be defined as:

All diagnostic testing performed outside the central laboratory by non-laboratory personnel

To achieve the best possible results from POCT devices it is essential that all POCT is implemented in partnership with the Pathology Department and follows the same quality procedures to ensure the results produced are reliable and comparable to those produced by the central laboratory.

A POCT Team has been appointed within pathology to oversee this service.

A POCT policy is available on the Intranet which acts as a blueprint for all staff considering implementing POCT.

The POCT Team will advise on:

- testing methods available

- limitations of testing

- training

- support

- quality assurance

- risk

Point of Care Testing within the Trust currently supported by the POCT Team includes:

- Blood Glucose

- Blood Gas

- Cardiac Markers

- Pregnancy Testing

- Urinalysis

- Creatinine Testing

- INR’s

- Haemoglobin

- Foetal fibronectin

- ROTEM

These POCT tests are excluded in the scope for the UKAS accreditation.

For further information, or if considering implementing POCT, please contact the POCT Co-ordinator.

Contact details:

| Biochemistry Laboratory | Blood Sciences | 01244 365025 |
| --- | --- | --- |

# Immunology and Allergy Service

The Immunology laboratory service is located within the Countess of Chester Hospital Pathology department, providing a clinical diagnostic service in Allergy & Auto-immune Serology (Immunology).

## Principal Staff and Contact Details

Sessional consultant cover is provided by Consultant Immunologist at Royal Liverpool and Broadgreen University Hospitals Trust.

| Dr Hana Alachkar | 0151 706 4349 (secretary) | hana.alachkar@nhs.net |
| --- | --- | --- |
| Dr Shirley Bowles | 01244 365652 | shirleybowles@nhs.net |
| Dr Niamh Horton | 01244 365653 | n.horton1@nhs.net |
| Lucy Kirkham | 01244 365659 | lucy.kirkham@nhs.net |
| Immunology laboratory | 01244 365030 | coch.immunology@nhs.net |

For any technical enquires:

Kevin Clooney/David Sheard

Tel: 01244 365030

## General Specimen Requirements for Auto Immune Serology/Allergy testing

The schedule of scope for the Immunology UKAS accredited tests can be viewed at ukas.com (reference number 9061).

Please note that all turnaround times (TAT) given are in working days.

If urgent analysis of a sample is required, please contact the Immunology laboratory on the contact details given above. They will inform you if urgent analysis is available, and detail when to expect a result.

Blood Samples should be collected in a red topped tube, faecal samples in a blue topped faeces container.

| Request |  |  | Reference range |  | Information | TAT |
| --- | --- | --- | --- | --- | --- | --- |
| Coeliac screen – tissue transglutaminase (tTG) |  |  | Negative: <7 U/ml Positive: >10 U/ml |  | Samples are screened for IgA-specific anti-tissue transglutaminase (tTG). Positive tests are confirmed by immunofluorescence. If IgA deficiency is present, then IgG-specific TTG is performed. Note: TTG testing is only useful if the person is on a gluten-containing diet. (At least one portion gluten e.g. slice bread, bowl of pasta, most days for 6 weeks before the test. | 3 days |
| Autoantibody screen |  |  | Negative |  | Anti-Nuclear Antibodies (ANA), Anti Smooth Muscle Antibodies (SMA), Anti Mitochondrial Antibodies (AMA), Anti Gastric Parietal Cell (GPC) antibodies. Please note that Liver / Kidney Microsomal (LKM) antibodies are also included in this screen. | Routine: 7 days Urgent: by request (24 hours if possible) |
| Anti dsDNA screen |  |  | Negative |  | Antibodies to native, or double stranded DNA | 12 days |
| Anti dsDNA quantification |  |  | Negative: <10 IU/ml Positive: >15 IU/ml |  |  | 12 days |
| ENA screen |  |  | Negative |  | This includes Ro, La, Sm, RNP, Scl-70, Jo-1 & centromere. | 7 days |
| Anti-neutrophil cytoplasmic antibodies (ANCA) screen |  | MPO | NEG | <3.5 IU/ml | Primary screen is by immunoassay. If MPO/PR3 positive this will be confirmed on immunofluorescence (IIF) | MPO/PR3: Routine: 3 days. Urgent: by request (24 hours if possible) |
|  |  |  | POS | >5 IU/ml |  |  |
|  |  | PR3 | NEG | <2 IU/ml |  |  |
|  |  |  | POS | >3IU/ml |  |  |
| Glomerular basement membrane (GBM) antibodies |  |  | Negative: <7 U/ml Positive: >10 U/ml |  |  | Routine: 3 days. Urgent: by request (24 hours if possible) |
| Anti-CCP antibodies |  |  | Negative: <7 U/ml Positive: >10 U/ml |  |  | 9 days |
| Intrinsic factor (IF) antibodies |  |  | Negative |  | Requests for autoantibodies should be selective and relevant to the clinical circumstances. There is rarely any merit in requesting a particular autoantibody if there is no clinical evidence of the disease(s) with which it is associated. | 7 days |
| Skin antibodies |  |  | Negative |  | Investigation of bullous skin disease should include direct immunofluorescence (biopsy material) and indirect immunofluorescence (exogenous substrate) for skin basement membrane and epidermal intercellular desmosome antibodies. | 10 days |
| Auto immune liver profile (immunoblot) |  |  | Negative |  | Please note that these antibodies are also detected in the Auto Antibody screen. This investigation is usually performed when indicated by the Auto Antibody screen. | 10 days |
| Myositis antigen profile (immunoblot) |  |  | Negative |  | Please note that these antibodies are also detected in the Auto Antibody screen. | 10 days |
| Autoimmune Hep 2 cytoplasmic profile (immunoblot) |  |  | Negative |  | A complete investigation of cytoplasmic fluorescence of Hep 2 cells should include Anti AMA – M2, Ribosomal-P, Jo-1, SRP, PL-7, PL-12, EJ, OJ and Ro-52. Please note that these antibodies are also detected in the Auto Antibody screen. This investigation is usually performed if indicate by the Auto Antibody screen. | 10 days |
| Thyroid stimulating hormone receptor (TRAB) antibodies |  |  | Negative: <2.9 IU/l Positive: 3.3 IU/l |  |  | 10 days |
| Total IgE |  |  | Adult negative: <100 KUA/l |  |  | 16 days |
| Allergen specific IgE |  |  | Negative: <0.35 KUA/l |  | Indicate specific allergen required. Results should always be interpreted in the context of the clinical history. Requests will be vetted to ensure testing is clinically appropriate. Adequate clinical details should be provided with all sIgE requests. | 16 days (this may be longer for referred tests) |
| Aspergillus IgG ('precipitins') |  |  | Negative: <40 mg/L |  | Technically, these antibodies are not measured by precipitation but are a substitute for the older test of this name. | 16 days |
| Avian protein IgG ('precipitins') |  |  | Pigeon mix: < 40 mg/l Parrot mix: <10 mg/l Budgerigar mix: <10 mg/l |  | Technically, these antibodies are not measured by precipitation but are a substitute for the older test of this name. | 16 days |
| Micropolyspora IgG (Farmer’s Lung) |  |  | <40 mg/l |  |  | 16 days |
| Anti-cardiolipin antibodies | IgG |  | Negative: <10 Uml Positive: >40 U/ml |  |  | 3 weeks |
|  | IgM |  | Negative: <10 U/ml Positive: >40 U/ml |  |  |  |
| Beta 2 glycoprotein antibodies | IgG |  | Negative: <7 U/ml Positive: >10 U/ml |  |  | 3 weeks |
|  | IgM |  | Negative: <7 U/ml Positive: >10 U/ml |  |  |  |
| Faecal Calprotectin |  |  | <200 ug/g |  | Testing should not be used in the following situations: - Patients >50 years - Rectal spillg without diarrhoea - As a tool for identifying colonic polyps or colorectal cancer | 7 days |

Cryoglobulins

Due to the pre-analytical requirements, sample collection for cryoglobulins should only occur during the routine working hours of the Immunology laboratory i.e. Monday – Friday 09:00 – 16:00. Samples should NOT be collected later than 15:30pm.

Sample requirements: EDTA (Pink) and Clotted (Red).  6ml

Before sample collection, contact Specimen Reception by telephone for the required container to keep the samples at 37oC.

- Prepare hand-written sample labels using indelible pen; include all patient identifiers (Full Name, MRN, D.O.B) and date/time of collection or use a Cerner generated barcode.

- Pre-warm labelled specimen tubes by placing in a sealed plastic bag into the water and re-sealing the flask for 5 mins prior to blood collection.

- Once collected, immediately return specimens to the warm water in the flask and seal. Place the sample in a sample bag prior to placing in the flask.

Bring the specimens and any unused barcode request labels to the lab immediately.

Last time for laboratory receipt of cryoglobulin sample collection is 4pm Mon - Fri (not accepted at weekends or on Bank Holidays)

7 days: A primary investigation is performed in house by the immunology department.

Positive samples are confirmed by the Immunology department, Liverpool Clinical Laboratories.

## Immunology  Send Away Tests

See table above, in Blood sciences Section.

## Clinical Advice on the Use and Interpretation of Immunology Laboratory Tests:

Clinical advice can be given by Dr H Alachkar, Consultant Immunologist, RLBUHT, 0151 706 4349 or hana.alachkar@liverpool.nhs.uk.

The following is advice on the use of immunology in certain clinical settings.

## Immunology Minimum Retesting Intervals (MRI)

The RCPath document: “National minimum retesting intervals in pathology” provides guidance of minimum retesting intervals (MRI) for Pathology.

Minimal retesting intervals (MRI) are defined as the minimum time before a test should be repeated, based on the properties of the test and the clinical situation in which it is used. Each MRI is proposed for a specific clinical scenario and therefore the population to which the guideline refers to is specific to that population described. This may be all patients being investigated, those in the general practice population, those in hospital population or a combination. If not stated specifically in the guideline, then it applies to all patients being managed.

MRI for tests performed in-house:

- Repeat testing not routinely required for the tests listed below, as repeat testing of limited value:

Test

Anti-nuclear antibody (HEP2)

β-2 glycoprotein I ab

Cardiolipin antibody

CCP

Endomysial antibody (IgA)

Endomysial antibody (IgG)

ENA RNP, Sm, Ro, La, Scl, Jo1 and centromere

Intrinsic factor antibody

Liver autoantibodies

Myositis antibody profile

Specific IgE

tIgE

‘Aeroallergen’ allergy panel

| Cryoglobulin screen | After initial confirmation of cryoglobulin, repeat testing of limited value. Cryoglobulin typing repeat also of limited value. |
| --- | --- |

- MRI for tests where repeat measurement may be of clinical value:

| Test | Minimum re-testing interval |
| --- | --- |
| Coeliac (IgA/IgG TTG) | 6 months |
| dsDNA Ab ELISA | 3 months |
| GBM antibody | 3 months |
| MPO ANCA | 6 months |
| Neutrophil cytoplasmic antibody | 6 months |
| PR3 ANCA | 6 months |
| tTg IgA antibody | 6 months |
| tTg IgG antibody | 6 months |

Further guidance provided by RCPath

| Test | Details | Reference(s) |
| --- | --- | --- |
| Coeliac disease screen | Known adults on follow up: IgA tTG can be used to monitor response to a gluten-free diet. Retesting at six to twelve months depending on pre-treatment value. | Wolters Kluwer, 2019.49 |
|  | Known paediatrics on follow up: Testing at six months in children | Murch S et al. Arch Dis Child 2013;98:806–811 |
| aPL antibody | Once diagnosis is confirmed using BCSH guidelines, repeat testing is of limited value. |  |
| Anti-nuclear antibody (HEP2) | Once diagnosis is established, repeat testing is of limited value. |  |
| β-2 glycoprotein I ab | Once diagnosis is confirmed using BCSH guidelines, repeat testing is of limited value. |  |
| Cardiolipin antibody | Once diagnosis is confirmed using BCSH guidelines, repeat testing is of limited value. |  |
| CCP | Repeat testing once diagnosis is confirmed is of limited value. |  |
| Cryoglobulin screen | After initial confirmation of cryoglobulin, which may require testing more than once, repeat testing of limited value. |  |
| Cryoglobulin typing | Repeat testing of limited value. |  |
| dsDNA Ab ELISA | Every three to six months while on treatment. |  |
| Endomysial antibody (IgA) | Not routinely required. Only for confirmation of tTg positives. |  |
| Endomysial antibody (IgG) | Only for patients with complete IgA deficiency and confirmation of positive tTG IgG. |  |
| ENA RNP, Sm, Ro, La, Scl, Jo1 and centromere | Repeat testing of limited value. |  |
| GBM antibody | Every three to six months while on treatment or more frequent if receiving plasma exchange therapy. |  |
| Intrinsic factor antibody | Not routinely required. |  |
| Liver autoantibodies | Repeat testing of limited value. |  |
| MPO ANCA | On treatment: six months or more frequent if receiving plasma exchange therapy Off treatment: annually. |  |
| Myositis antibody profile | Repeat testing of limited value. Frequency to be determined by clinical context |  |
| Neutrophil cytoplasmic antibody | On treatment: six months or more frequent if receiving plasma exchange therapy Off treatment: annually. |  |
| PR3 ANCA | On treatment: six months or more frequent if receiving plasma exchange therapy Off treatment: annually. |  |
| Specific IgE | Not routinely required. |  |
| tIgE | Repeat testing of limited value. |  |
| tTg IgA antibody | IgA tTG can be used to monitor response to a gluten-free diet. Retesting at six to twelve months depending on pre-treatment value. |  |
| tTg IgG antibody | Retesting at six to twelve months only in IgA-deficient patients |  |

## Time Limits for Requesting Additional Tests:

Further tests can be requested up to two weeks from the date of the initial collection of the specimen by contacting the department and completing the relevant request form.

It should be noted that the immunology laboratory automatically carries out further investigations if an autoantibody test indicates the need for a further specialised test.

# TESTING GUIDANCE:

# Autoimmunity

Abbreviations:

ANA – antinuclear antibodies

dsDNA – double-stranded DNA

ENA – extractable nuclear antigen(s)

MCTD – mixed connective tissue disease

SLE – systemic lupus erythematosus

General comments

Broadly, autoantibodies are of relevance to the diagnosis of multisystem connective tissue disease and organ-specific autoimmune disease.

1. Connective tissue disease

Although autoantibody testing is a useful adjunct to the diagnosis of autoimmune connective tissue disease, the tests have limited specificity. Also, these diseases affect only a small proportion of the community. As a result, the tests will have a low positive predictive value if they are used indiscriminately — that is to say, if the tests are performed on patients who have little or no real clinical evidence of relevant disease, most of the positive results will be found in patients without disease.

Therefore, the sensible advice is: if you don’t think there are real clinical grounds for suspecting the patient to have an autoimmune connective tissue disease — don’t ask for autoantibodies; the result is unlikely to tell you anything useful.

Similarly, if you receive a positive autoantibody result on a patient, think: are the clinical findings in keeping with this result? Not - the result is positive, so the patient must have disease.

Consider the following common examples of situations in which autoantibody tests can mislead:

Patients whose only clinical feature is non-specific joint discomfort unaccompanied by any signs of an inflammatory process. This is a very common clinical scenario and does not usually indicate an autoimmune process. Therefore, autoantibody testing is unlikely to contribute usefully to the management of such patients – even if the result is positive, it is unlikely to alter the management. (On the other hand, patients who do have clinical signs of inflammatory joint disease should be considered for a rheumatology opinion regardless of antibody test results.)

Frequently, a positive speckled pattern ANA is reported, with negative ds-DNA antibodies and negative ENA antibodies. This combination of results occurs with increasing frequency in the ageing female population and is most often of no diagnostic significance.

Interpretation

Problems of interpretation are most frequently encountered with antinuclear antibodies (ANA) and antibodies to extractable nuclear antigens (ENA), so these are discussed further below.

There are two main features of the ANA report — the pattern and the titre.

Five patterns are routinely reported:

- Homogeneous — due to autoantibodies binding to DNA, or proteins which are closely associated with it.

When we detect a homogeneous ANA, we automatically perform further testing for dsDNA antibodies, which are classically associated with SLE. However, even when these aren’t found, SLE is still the main disease association of a homogeneous ANA.

- Speckled — due to autoantibodies binding to antigens which are less widely distributed through the nucleus.

When we detect a speckled ANA, we automatically perform further testing for antibodies to extractable nuclear antigens (ENAs).

The ENA antibodies routinely tested for are:

Ro (SS-A) — found in SLE (increased risk of vasculitis, nephritis, lymphadenopathy, leucopoenia), and primary Sjögren’s syndrome. Ro is also associated with subacute cutaneous lupus (when it is usually the only autoantibody present) and neonatal lupus (sometimes complicated by heart block).

La (SS-B) — usually found in association with Ro.

Sm (an abbreviation of “Smith”, not smooth muscle) — found in SLE (increased risk of renal involvement).

RNP (or u1-RNP) — found in SLE, mixed connective tissue disease (when it is usually the only autoantibody present), sometimes in rheumatoid arthritis.

RNP-70 — Antibodies to the 70 kD RNP polypeptide show a higher specificity for MCTD than antibodies to the complex.

Scl-70 — found in the disseminated form of scleroderma (increased risk of visceral involvement).

Jo-1 — found in polymyositis/dermatomyositis.

When ENA antibodies aren’t found, the significance of a speckled ANA is unclear and often of no obvious clinical significance (see ‘general comments’ above).

- Nucleolar — due to autoantibodies binding to antigens only present in the nucleolus. Nucleolar antibodies are associated with scleroderma and scleroderma-polymyositis overlap syndromes.

- Centromere — found in limited cutaneous scleroderma (also known as CREST syndrome); likely to be relevant if the patient has Raynaud’s phenomenon.

- Nuclear dots (Sp100) — not often seen but associated with primary biliary cirrhosis.

The titre of the ANA is simply the highest dilution of the serum which still gives a positive result on immunofluorescence – thus, a titre of 1:1280 represents a ‘stronger’ antibody than a titre of 1:160.

Is there a titre at which an antibody automatically becomes clinically significant? – No, but common sense applies: an antibody present at 1:1280 is more likely to be significant than an antibody present at 1:160. However, once again, it cannot be overemphasised that meaningful interpretation is only possible in the context of the clinical findings.

Other autoantibodies

Three other antibodies need specific mention because of their importance and / or ability to confuse:

- Mitochondrial antibodies (specifically M2 type) — this autoantibody is associated with primary biliary cirrhosis.

If detected in a patient with raised liver enzymes, a gastroenterology / hepatology opinion should be sought.

M2-positive patients with normal liver enzymes should have long-term monitoring of their liver function.

- Liver / kidney microsomal antibodies (LKM) — the major association of LKM antibodies is autoimmune hepatitis, but they have been found in viral and drug-induced hepatitis and cryptogenic cirrhosis.

- Anti-neutrophil cytoplasmic antibodies (ANCA) — there are two diagnostically significant ANCAs:

Antibodies to neutrophil myeloperoxidase (anti-MPO), which typically give a perinuclear pattern on immunofluorescence (pANCA). They are predominantly associated with microscopic polyangiitis and necrotising crescentic glomerulonephritis (or rapidly progressing glomerulonephritis – RPGN) but are also present in about 60 % of cases of eosinophilic granulomatosis with polyangiitis (EGPA) previously known as Churg-Strauss vasculitis.

Antibodies to proteinase 3 (anti-PR3), which typically give a cytoplasmic pattern on immunofluorescence (cANCA). They are predominantly associated with Granulomatosis with polyangiitis (GPA) previously known as Wegener’s granulomatosis but also found in some patients with EGPA.

Sometimes a cANCA pattern will be reported with negative antibodies (to PR3 and MPO) — this is of uncertain significance. However, a pANCA with negative antibodies can occur in inflammatory bowel disease (especially ulcerative colitis) or primary sclerosing cholangitis, though ANCA testing is not indicated in these conditions.

Propylthiouracil, used in the treatment of hyperthyroidism, has been reported to cause a drug-induced ANCA, with associated vasculitis.

It should be remembered that a negative ANCA does not exclude a diagnosis of vasculitis — some well-characterised vasculitides are typically ANCA-negative, e.g. polyarteritis nodosa and rheumatoid vasculitis.

2. Organ-specific autoimmunity

These tend to cause fewer interpretive problems for the user and are less likely to be requested when there is no evidence of relevant disease. However, it is important to bear in mind that even organ-specific antibody results (e.g. thyroid autoantibodies) should be interpreted in the context of a clinical or biochemical assessment of organ function.

Thyroid Stimulating Hormone receptor (TSH-r) antibodies (TRAB) – Thyroid receptor is an integral membrane glycoprotein which forms a binding site for TSH on the surface of thyroid follicular cells. Thyroid receptor antibodies (TRAb) are measured in patients with the various forms of thyroid disease to identify those with Graves’ disease. The treatment differs from other forms of hyperthyroidism, as a considerable proportion of these patients undergo long term remission after anti-thyroid drug treatment, and can therefore be spared ablative forms of therapy. As TRAb levels decrease during anti-thyroid drug treatment a rise may indicate an early relapse of hyperthyroidism.

Pregnant women with Graves’ disease, or that have previously been treated for Graves’ disease are at risk of having a child with neonatal hypothyroidism. TRAb determination provides a method of assessing the risk of the onset of hyperthyroidism in the foetus. Raised levels at differing stages of pregnancy have been linked to an increased risk of having a child with neonatal hypothyroidism, depending on the clinical status of the patient. Guidelines from the European Thyroid Association have made recommendations for when to test for TRAb in different clinical presentations.

## Allergy

Total serum IgE and a variety of antigen-specific IgE tests are available. These tests were previously done by the method of radio-allergosorbent testing (RAST). Although this is no longer used, the term RAST has persisted and is understood as a reference to IgE tests.

Think critically when requesting IgE tests

Allergy tests are NOT screening tests and should NOT be requested randomly with no clear history.

NOTE: allergy requests will be vetted to ensure testing is clinically appropriate. Adequate clinical details should be provided with all sIgE requests.

Food allergy symptoms present within 30 minutes, and maximum up to one hour after ingestion of the food. There is usually a consistent pattern between eating and having symptoms.

Do NOT request allergy testing in cases of random hives, urticaria or eczema.

- Using allergy tests in this way is expensive and rarely helpful.

- If there is a suspected antigen, request a specific IgE test to that antigen, not to other irrelevant ones.

- Open-ended requests for “RAST” tests, without specifying the allergen, are not acceptable. Requests should be made for specific allergens as indicated by history.

- If requesting allergen-specific IgE tests, always request a total IgE, as it will aid interpretation. As the total IgE increases, the positive predictive value of a high specific IgE reading will decrease and the negative predictive value of a low reading will increase.

A case in point is markedly atopic patients (usually with eczema) with very high total IgE levels and moderately elevated specific IgE tests to multiple allergens that they are not clinically sensitive to.

- An isolated total IgE is not very informative. It is associated with atopy but is not a good predictor of specific allergies. It is not correct to conclude that a patient with a high total IgE ‘must be allergic to something’.

IgE tests are only useful in cases of suspected type I (immediate) hypersensitivity and are essentially useless for the investigation of delayed hypersensitivity (such as contact eczema) and, of course, of no value in the investigation of non-specific symptoms with a low probability of being due to any allergic process.

Finally, interpret IgE test results with caution. The history is by far the most important component of an allergy assessment. Just as a positive specific IgE does not always mean that the patient is clinically allergic to the antigen (see example of atopic eczema above), a negative specific IgE, in the context of a convincing clinical history, does not guarantee that the patient is not allergic.

## Suspected immunodeficiency

It is important to discuss with the Consultant Immunologist any patient who is suspected to have an immunodeficiency disorder:

- Patients with unexplained low immunoglobulin levels – after excluding haematological malignancy (e.g. paraproteinaemia or CLL), or significant protein loss (e.g. nephrotic syndrome).

As a guide, a total IgG of less than 3 g/l is likely to be significant, levels between 3 and 4 g/l of possible significance, and levels between 4 and 5 g/l of variable significance and levels above 5 g/l unlikely to be significant.

Any combination of low IgA and IgM, with normal IgG, is of doubtful significance but any patient with dysgammaglobulinaemia should have a paraproteinaemia excluded.

- Patients with a history of unusually severe or recurrent infection (e.g. pneumonia, severe sinusitis, meningitis, septicaemia, deep-seated / visceral abscesses, invasive fungal infection).

- Any patient who is suspected to have angioedema due to C1-inhibitor deficiency.

Patients with chronic lung disease (COPD or bronchiectasis), which is frequently associated with recurrent infection in the absence of any specific immunodeficiency; do not need to be referred routinely because of infections.

## Special Considerations Affecting Performance of the Test and the Interpretation of the Results:

No special considerations.

# Microbiology and Infection Control

The Microbiology department (CN9595) is accredited by the United Kingdom Accreditation Service (UKAS) for ISO15189:2012- Medical Laboratories

9595

For details of the UKAS accredited tests please refer to the Cheshire and Wirral Microbiology User Guide available separately on Trust intranet. The Cheshire and Wirral Microbiology User Guide can also be accessed by clicking on this link to the http://intranet/clinical-services/diagnostics/pathology.aspx

| Consultant Medical Microbiologist and Clinical Lead | Dr Ildiko Kustos | 01244 366788 |
| --- | --- | --- |
| Secretary |  | 01244 366773 |
| Consultant Medical Microbiologist | Dr Jeremy Gardner | 01244 366785 |
| Secretary |  | 01244 366773 |
| Departmental Manager | Ms Nadia Duggan | 01244 362499 |
| Acting Chief Biomedical Scientist | Mr Dave Bond | 01244 363352 |
| Quality Manager | Ms Joanne Evans | joanneevans1@nhs.net |

Out of hours contact On-call Biomedical Scientist/Consultant Microbiologist/ICN via switchboard

# Histology, Cytopathology and Mortuary Services

## Key Contacts:

| Consultant Histopathologist | Dr Natalie Meara | 01244 364519 |
| --- | --- | --- |
| Consultant Histopathologist | Dr Amy Gilbert | 01244 365381 |
| Secretary | Nelly Claeijs | 01244 365374 |
| Consultant Histopathologist | Dr Michael Wall | 01244 365375 |
| Secretary | Elizabeth Wrench | 01244 365389 |
| Specialist Registrars |  | 01244 363552 |
| Departmental Manager | Abigail Armstrong | 01244 365646 |
| HTA Designated Individual | Joseph Banwell | 01244 365659 |
| Quality Manager | Glesni Clarke | 01244 365644 |
| Main Laboratory |  | 01244 365645 |

Mortuary:

| Jamie Cunningham | Mortuary Manager | 01244 365360 | Bleep 2738 |
| --- | --- | --- | --- |
| Tracey Nally | Senior APT | 01244 365360 | Bleep 2738 |
| Jessica Ellis | Trainee APT | 01244 365360 | Bleep 2738 |

## Cellular Pathology Hours:

| Monday – Friday: | 8.30 am – 5 pm |
| --- | --- |
| Bank Holidays | Closed |

NB: No out of hours service is available in this department. Histology specimens must be received by the lab before 11am for processing that day. Cytology samples must be received by the lab before 4.00 pm to be processed that day.

## HISTOLOGY LABORATORY

Hospital requests must be submitted on the black text on plain white request form with attached bag or via electronic ordering on the EPR system. GP requests must be submitted on the combined magenta text request form or Clinisys ICE.

Every effort must be made to confirm the correct patient identity before sample collection and steps must be taken to minimise risk of sample interchange.

Request forms/specimen pots for any histology or cytology specimens must be filled in with all necessary details before acceptance into the laboratory.

If electronic ordering is not available handwritten request forms must contain:

- At least 3 patient identifying details (this can include full patient name, NHS number, hospital number or patient date of birth). Ideally all details should be submitted.

- Relevant specimen details.

- Relevant clinical information.

- The name and signature of the requesting clinician.

Requests submitted without essential information (as listed above) will not be accepted into the laboratory until a requesting clinician has attended the laboratory to complete the necessary details.

Inadequate GP requests will be returned to origin for attention.

Please note that processing of a sample will be delayed where patient and/or specimen details have not been correctly given.

Adequate patient details must also be completed on the specimen pot.

The schedule of scope for the Cellular Pathology and Non-Gynae Cytology UKAS accredited tests can be viewed at ukas.com (reference number 9061).

## Histopathology Laboratory - Routine Histology

Specimens for routine Histology should be submitted to the laboratory in an appropriate container containing histological fixative (10% buffered formalin). These specimen containers (along with request forms) are available from the Supplies department in several sizes. To allow for adequate fixation, specimens should be placed in a container with at least three times their volume of fixative, so an appropriately sized container should be chosen.

Please label the container and NOT the lids, making sure that the lid is securely fitted, and place the container in a sealed clear plastic bag accompanied by Histology request form, with the requested data correctly and legibly filled in. Specimen containers that are small enough should be placed into the specimen bag that is attached to the request form, following the instructions given on the form.  Specimen containers that are larger should be placed into a larger clear plastic bag and then sealed with a bag tie. These larger bags and bag ties are available from the general hospital stores. The request form should then be firmly attached to the OUTSIDE of the specimen bag, NOT placed inside.

Please note that incorrectly or inadequately filled in forms and labels will cause a delay in the processing of a specimen as a requesting clinician will be requested to attend the lab to rectify any issues (in the case of GP requests, specimens will be returned to origin for attention).

Specimens received before 11 am will be added to the tissue processor on the day of receipt, space permitting. All adequately fixed specimens are dissected within 24 hours of receipt (except at weekends).

Relevant clinical information on the request form is essential. If possible, please also indicate the date by which the results should be available (i.e. the date of the patient’s next appointment). This will enable the laboratory staff to manage the workload and prioritise specimens according to urgency.

## Consent

Please indicate in the clinical details section if the patient would like to ‘opt out’ of consenting to his/her anonymised sample being used for purposes other than diagnosis e.g. audit, teaching, training, public health monitoring or simple research. This will enable laboratory staff to know if the patient has any objection to using his/her anonymised sample for the purposes described above.

## High Risk Samples

To protect laboratory staff, any high-risk histology/cytology samples must be clearly labelled with “Risk of Infection” (using hazard stickers where possible) and sealed in a plastic specimen bag, if the patient is a known or suspected carrier of HIV, Hepatitis B/C or TB. Any paper request form should also clearly state the reason for the risk of infection.

## Urgent Specimens

Urgent specimens should be clearly marked “URGENT” and delivered to the laboratory as soon as possible for inclusion on that day’s tissue processor run.  Please state on the form when the report is required and give a contact name and telephone number.

## Frozen Sections

Requests for frozen sections should be booked and discussed with a Consultant Pathologist no later than one day prior to surgery.  This is to ensure that a Pathologist is available for reporting, and the cryostat is not being serviced. Please contact the Pathology Secretaries on ext. no. 5389/5376/5374 and they will direct the call to the appropriate Consultant.

Specimens should be submitted fresh in a clean DRY container WITHOUT fixative and a contact name and telephone number written on a fully completed request form.

Unbooked frozen sections will only be performed under exceptional circumstances (e.g. unexpected intraoperative finding) and only after discussion with a pathologist by a member of the medical staff.

Frozen sections will not be performed on specimens carrying high risk of infection e.g. TB or HIV.

## Specimens that Require Bacteriological, in Addition to Histological Examination.

Should a specimen require bacteriological as well as histological examination then it should be submitted in a sterile bacteriology container to the Microbiology department, with both the bacteriology and histology request forms. The Microbiology department should be requested to pass the specimen on to the Histology laboratory, as soon as they have selected their material.  However, in most cases it is preferable to send a separate specimen to the Microbiology dept.

## Formaldehyde Safety

The 10% buffered formalin solution used by the Cellular Pathology department should be stored in an appropriate area and at a temperature above 20oC (to prevent crystallisation). Formalin containers should be kept closed and protected from direct sunlight and moisture and (where possible) containers should not be stacked - to avoid spillage incidents.

Formalin is toxic by inhalation, ingestion and with skin contact, so appropriate PPE i.e. gloves should be worn when dealing with it.

If splashed in eyes irrigate thoroughly with water for 10 minutes and obtain medical attention. If inhaled, remove from exposure, rest and keep warm. In severe cases, or if exposure has been great obtain medical attention. If in contact with the skin, drench thoroughly with water, remove contaminated clothing and wash before re-use. Unless exposure has been slight, obtain medical attention. If ingested, wash out mouth thoroughly with water and give plenty of water to drink. Obtain medical attention.

## In the Event of a Spillage:

For small spillages:

If staff feel able to deal with a small spillage of formalin solution, appropriate protective clothing (gloves etc.) should be worn, the area should be well ventilated (if possible) and the immediate area around the spill should be closed off to other staff.

If local regulations permit, mop up with plenty of water and run to waste, diluting greatly with running water. Otherwise, absorb the spilt formalin using an inert absorbent material and double bag all the waste created in orange clinical waste bags for disposal. The affected area should be ventilated to dispel residual vapour.

For large spillages:

For larger spillages of formalin (approx. >1L of liquid) the affected area should be sealed off, and the Cellular Pathology laboratory should be contacted on ext. 5645/5646.

NB: Formalin spillages should be recorded as potential Health & Safety incidents on Datix.

## CYTOLOGY LABORATORY

## Request forms

A separate request form should be filled out for histology and cytology specimens sent from the same patient.

Hospital requests must be submitted on the black text on plain white request form with attached bag or via electronic ordering on the EPR system. GP requests must be submitted on the combined magenta text request form or Clinisys ICE.

Every effort must be made to confirm the correct patient identity before sample collection and steps must be taken to minimise risk of sample interchange.

If electronic ordering is not available handwritten request forms must contain:

- At least 3 patient identifying details (this can include full patient name, NHS number, hospital number or patient date of birth). Ideally all details should be submitted.

- Relevant specimen details.

- Relevant clinical information.

- The name and signature of the requesting clinician.

Requests submitted without essential information (as listed above) will not be accepted into the laboratory until a requesting clinician has attended the laboratory to complete the necessary details.

Please note that processing of a sample may be delayed where patient and/or specimen details have not been correctly given.

Adequate patient details must also be completed on the specimen pot. Any slides sent for cytological staining must possess the patient’s name, date of birth and hospital number written on the frosted section at the top of each slide.

## Consent

Please complete the consent section on the request form to indicate if the patient would like to ‘opt out’ of consenting to his/her anonymised sample being used for purposes other than diagnosis e.g. audit, teaching, training, and public health monitoring or simple research. If a hospital consent form has been signed by the patient, prior to removing the sample, please complete the consent section on the histology request form. This will enable laboratory staff to know if the patient has or has no objection to using his/her anonymised sample for the purposes described above.

## Turnaround Time for Non-Gynae Samples:

Most non-gynae results are available within 72 hours of receipt in the laboratory (except weekends and bank holidays). Some non-gynae results may be delayed if further immunohistochemical staining is undertaken in the Histology laboratory.

# Non-Gynaecological Cytology

## HIV Positive/High Risk Patients

High risk cytology samples must be clearly labelled with “Risk of Infection” hazard stickers if the patient is a known or suspected carrier of HIV, Hepatitis B/C, TB or SARS-CoV-2. The request form must also state the reason for the risk of infection.

## Endometrial Cytology

Material from endometrial sampling should be placed in formalin.

Sputum for Malignant Cells

Sputum samples should be collected into clean, dry, sterile containers and submitted to the laboratory as soon as possible after collection. If microbiological examination is also required a separate sample should be sent to the Microbiology department. Sputum sample should only be submitted if the patient has suspected lung cancer and is unfit for bronchoscopy. Sputum cytology should not be requested routinely in patients presenting with respiratory infections. Sputum screening is not an effective investigation for occult malignancy. If the patient has produced saliva, or there are visible food particles, it is better to begin again straight away. Better samples may be forthcoming early in the morning (but before breakfast!), or with the assistance of a physiotherapist. As sputum quality deteriorates rapidly and day-old specimens rarely produce any useful results any induced sputum specimens should reach the laboratory in a timely fashion. The accompanying request form should give precise details of the patient clinical background. 

Urine for Malignant Cells

Samples should be taken for the investigation of haematuria. Early morning or mid-stream urine samples are not appropriate for cytological examination. The whole of a voided sample should be collected and a maximum 25 ml sample of the fluid submitted to the laboratory in a clean, dry 30 ml sterile universal container. The sensitivity of urine for low grade transitional cell carcinoma is low, thus urine cytology should never be used to exclude urothelial neoplasia. The appearance of urine cytology is significantly altered by instrumentation or catheterisation which should thus be recorded in the clinical information accompanying the specimen. The presence of calculi should also be recorded. If microbiological examination is also required a separate sample should be sent to the Microbiology department.

## Pleural / Ascitic / Pericardial Fluids

Samples should be collected into clean, dry, sterile universal containers and sent to the laboratory as soon as possible after collection. 25-50 ml of sample is desirable. If microbiological examination is also required a separate sample should be sent to the Microbiology department. If transport is delayed, then refrigerate sample. Delays of over 48 hours are undesirable

## Fine Needle Aspiration (FNA) Cytology

Green cytology transport medium (Cytospin fluid) should be used for these specimens –See SharePoint for FNA technique

The transport medium (collecting fluid) should then be aspirated into the syringe through the needle and squirted with the aspirated material back into the specimen container.  The specimen should then be sent to the laboratory without delay.

If an adequacy assessment of an FNA sample is required, these should be pre-booked via the Histopathology secretaries (ext. 5389/5376/5374) to ensure Consultant staff are available to perform the assessment.

Dr Meara and Dr Wall provide a clinic based ad hoc fine needle aspiration service to hospital users on request. Please contact them via their secretaries to arrange this.

Samples collected in this way into cytology transport medium are not suitable for microbiological culture.  If microbiological examination is also required a separate sample should be sent to the Microbiology department.

## Bronchial washings/BAL

These specimens are collected during bronchoscopy to investigate focal or diffuse lung abnormalities. The nature of the abnormality being investigated should be clear from the clinical information included with the specimen so that the laboratory can perform the appropriate preparations. Please send a maximum of 25 ml of washings in a clean, dry, sterile 30 ml universal container. If transport is delayed, then refrigerate sample. Delays of over 48 hours are undesirable.

## Bronchial Brush Biopsies

Bronchial brushings are taken at bronchoscopy for the investigation of suspected tumours. The highest diagnostic yield is found when a visible abnormality is sampled. Bleeding induced by biopsy of the lesion may obscure the cellular material and thus the brushing should be performed before a biopsy is taken. The brush should be broken off, unsheathed and immersed in blue / green cytology transport medium (Cytospin fluid).  Please note that this method of collection is preferable to the preparation of smears taken from the brush.  If smears are to be made, they must be fixed immediately in 95 % alcohol and the necessary patient identifying details must be clearly labelled in pencil on the frosted end of the slide.

## EBUS-TBNA Samples

EBUS-TBNA may be performed under local anaesthesia with sedation, or under general anaesthesia. A flexible bronchoscope containing an ultrasound probe is inserted via the trachea and guided through the bronchial tree towards the appropriate area of the mediastinum. The targeted lymph nodes or masses are identified using bronchoscopic visualisation and real-time ultrasound imaging. A needle extended from the bronchoscope through the bronchial wall is used to puncture the mass and to aspirate tissue. A mass can be punctured several times to gain an adequate sample, and several masses can be punctured during the same session. These samples should be submitted in a container filled with buffered formalin fixative.

## Synovial Fluids

Please note that any synovial fluids requiring analysis for crystals (polarised light microscopy) should be sent directly to Microbiology on a Microbiology request form – this service is no longer provided by the cytology department.

Any samples requiring other cytological examination should be collected into a clean, dry, sterile 30 ml universal container and sent to the Cytology laboratory as soon as possible.

## Cerebrospinal Fluid (CSF) for Malignant Cells

The sample should be collected into a clean, dry, sterile 30 ml universal container.  CSF will deteriorate within 2 hours of collection and must reach the laboratory within this period.

If possible, inform the laboratory that an urgent CSF sample is being taken. Please submit separate samples to clinical chemistry or the Microbiology department if protein analysis, cell counts or culture are required.  Specimens collected at the weekend are unsuitable for malignant cell analysis.

Please note: The Cytology department is not staffed after 5pm or at weekends.

## Instructions for the Storage, Handling and Transport of Cytospin © Collection Fluid

Cytospin © collection fluid is a mildly alcoholic liquid which may:

- Cause irritation to the eyes, skin and respiratory tract

- Nausea, vomiting and stomach pain if ingested, unconsciousness in severe cases

- Cause dermatitis on repeated skin exposure

Cytospin collection fluid should be stored in a cool dry well-ventilated area and is stable at normal temperatures. Keep container lids tightly closed. Avoid high temperatures, sources of ignition and direct sunlight.

Wear gloves when handling Cytospin © collection fluid. If ingested do not induce vomiting and give plenty of water to drink.  Beware of aspiration if vomiting occurs. Obtain medical attention.

In the event of a spillage:

Ventilate area to dispel residual vapour and eliminate all sources of ignition

Absorb on an inert absorbent, transfer to a plastic container, spill is classed as special waste

Samples should be submitted to the laboratory in individual plastic bags along with their matching request forms.

Cytology - Out of Hours

Guidance for submitting a Serous fluid to Cytology (Out of Hours)

Serous fluid samples including peritoneal washings (ascitic, pleural, peritoneal pericardial and peritoneal washings)

- Ideally 25-50mls fluid should be sent in a clean, dry, labelled container with screw cap (Note: no formalin or alcohol should be added to the sample as both of these can cause interference with adherence to slide and quality of staining)

- The fluid should be submitted as soon as possible to minimise cell deterioration, so that cell preservation is not compromised

- If there is a delay in delivering the sample to the laboratory between 8:30 and 4:30pm, the sample should be brought directly to the Pathology reception and the reception staff notified that the sample needs to be kept refrigerated at 40C.

## Seminal Fluid Analysis

This analysis is no longer carried out by the Cytology laboratory. Contact the Fertility Clinic for an appointment on Tel 01244 366401

# Gynaecological Cytology

Cervical cytology

Cervical cytology screening for Cheshire, Wirral and Merseyside has been reconfigured to comply with new national guidelines over laboratory workload and the 14 day turn round time targets.

LBC samples will continue to be picked up from Western Cheshire GP practices and CASH clinics and are sent to the Manchester Royal Infirmary Cytology Centre (MRICC)

All kits are supplied by MRICC

MRICC offers HPV primary Screening - all samples are tested for High-risk HPV infection. Only those preparations that are Hr-HPV positive then go on to have cytology performed. Management rules associated with test of cure continue to exist, but everything is now governed by the woman's HPV status.

GMC / NMC codes are an absolute requirement for the NHSCSP acceptance policy and for sample taker database.

From 1st January 2011 all English laboratories will follow the NHSCSP guidelines relating to the achievement of the 14-day TRT target.

## Contact Numbers for Cervical Cytology Services.

All enquiries: MRICC 0161 276 5111

Colposcopy enquiries: Countess of Chester Hospital Colposcopy department: 01244 366268

For Instructions for taking cervical / vaginal samples please refer to the MRICC website.

https://mft.nhs.uk/the-trust/other-departments/laboratory-medicine/cytology/gynaecological-cytology/

Instructions for the storage, handling and transport of LBC vials

LBC vials and Cervex brushes should be stored at room temperature on open shelves.  We do not recommend sample takers hold vast quantities of stock, and it should be rotated to ensure it does not exceed the use by date.

Wear gloves when handling LBC vials. If ingested do not induce vomiting and give plenty of water to drink.  Beware of aspiration if vomiting occurs. Obtain medical attention.

In the event of a spillage:

Ventilate area to dispel residual vapour and eliminate all sources of ignition. Absorb liquid using an inert absorbent material and transfer to a plastic container. A spillage such as this is classed as special waste.

Specimen vials should be submitted to the laboratory in individual orange plastic bags (supplied by Manchester) or brown transport envelopes along with their matching request forms.

# Mortuary Services:

Mortuary Contact Numbers:

| Jamie Cunningham | Mortuary Manager | 01244 365360 | Bleep 2738 |
| --- | --- | --- | --- |
| Tracey Nally | Senior APT | 01244 365360 | Bleep 2738 |
| Jessica Ellis | Trainee APT | 01244 365360 | Bleep 2738 |

## Deaths to be reported to HM Coroner

Guidance on referral to HM Coroner can be found in the Trust document library and via contact with the Bereavement Office (5110 / 5450) or Medical examiner’s office (6440 / 4593)

## Hospital Autopsies

In cases where a patient is not referred to the HM Coroner and a MCCD has been issued, consideration can be given to requesting a hospital post-mortem with appropriate consent.

A hospital autopsy should be requested to:

- Verify the cause of death based on a clinical diagnosis and/or to determine the extent of known or assumed lesions in problematic cases.

- Investigate cases that are important for training, education and research.

- Monitor the effects of therapy, especially newly introduced drugs, and the reliability of new diagnostic procedures.

Trust staff should take the opportunity, when seeking consent for a hospital PM examination process, to explain the significance of the qualifying relationship under the HT Act to the next of kin. They should then ask the next of kin if they are the person in the highest ranking qualifying relationship. If they are not, information should be requested about who is the highest ranking person and reasonable efforts made to contact the person prior to the PM examination taking place. This information should be documented on the consent form.

There may be situations where it may not be possible to seek consent from the person in the highest ranking qualifying relationship. The HT Act allows for this person to be omitted from the hierarchy if they cannot be located, declines to deal with the matter or is unable to give valid consent; for example, because they are a child or lack capacity to consent. In such cases, the next person in the hierarchy would become the appropriate person to give consent. This process should be documented on the consent form.

Where consent from a person in a qualifying relationship cannot be obtained, the PM examination cannot proceed.

To support staff taking consent for hospital PM examinations, the DI should ensure that:

- The consent form used during the consent process includes a question to prompt the consent seeker to ask the consent giver about their suitability in relation to a qualifying relationship (the HTA model consent form, which includes this question, can be obtained from the HTA website).

- Those who take consent for hospital PM examinations are trained in aspects of the HT Act relating to seeking consent for hospital PM examinations, including the hierarchy of qualifying relationships under the HT Act, the role of the Nominated Representative (NR) and the role of the consent seeker in asking the consent giver about their suitability in relation to a qualifying relationship.

- There is a documented standard operating procedure for staff that requires the consent seeker to record that they have explained the hierarchy of qualifying relationships under the HT Act and the role of the Nominated Representative (NR) and that this is recorded on the consent form.

Three copies of the consent form should be signed, one given to the relatives, one kept in the notes, and one sent with the notes and the post-mortem request form to the histopathology secretaries.

A post-mortem request form should be completed, giving a brief clinical summary and points of special interest.  This will then be sent with the case-notes to the Pathology Department prior to commencement of the autopsy.

Medical staff should note that a doctor who has been in attendance during the last illness of a patient has a statutory duty to issue a death certificate. If the cause of death is unknown or uncertain, the case should be reported to the coroner.

A death certificate must be issued before a hospital autopsy is requested.

## Deceased patient viewings

Viewings are available on a strict appointment basis only.  The appointment must be at pre-arranged date and time; this can be made by contacting the APT staff on 01244365360.  There may occasions when due to the patient condition or the manner of their passing a viewing is not able to be performed.  This will be assessed on an individual basis after speaking with the APT staff.

There are no routine viewings performed out of hours.  In special extenuating circumstances a viewing maybe performed out of hours, but this is a decision to be made by the on call APT.  The APT is contactable through switchboard out of hours.

# Feedback on our Pathology services and the Complaints procedure

For any problems with access to handbook links or queries regarding content, please contact the Pathology Quality Manager, Glesni Clarke, on 01244 365644 or email glesnijarman@nhs.net

The Countess of Chester Hospital NHS Foundation Trust welcomes feedback, both positive and negative, from its patients, staff and visitors. Visit Trust website to see how to contact us or to take part in our user surveys.

The Pathology department also surveys its clinical users in primary and secondary care on a regular basis. Our most recent survey was distributed in January 2022 and the results are available from the Pathology Quality Manager (glesnijarman@nhs.net) or via the following links GP user survey 2022 Hospital user survey 2022

We welcome feedback from our users over the services we provide. Any queries, comments or complaints can be sent to the Quality Manager glesnijarman@nhs.net or directly to the clinical or technical head of the service concerned.  Contact details for all key personnel are given in the relevant sub-sections of this handbook.