PATHOLOGY QUALITY MANUAL

## About the Countess of Chester Hospital NHS Foundation Trust Pathology service

The Countess of Chester Hospital NHS Foundation Trust consists of a 600 bedded large district General Hospital, which provides its services on the Countess of Chester Health Park, and a 64 bedded Intermediate Care Service at Ellesmere Port Hospital. The Trust has almost 4,000 staff and provides a range of medical services to more than 445,000 patients per year from an area covering Western Cheshire, Ellesmere Port, Neston and North Wales.

The Pathology Directorate is part of the Division of Diagnostics and Clinical Support Services (DCSS) and is located in the general wing of the main Countess of Chester Hospital site.

There are three departments within the Pathology directorate: Blood Sciences, Cellular Pathology, and Microbiology. Blood Sciences comprises the disciplines of Clinical Chemistry, Haematology, Blood Transfusion and Immunology. Point of Care Testing (POCT) within the Trust is overseen by the Clinical Consultant Biochemist, Blood Sciences Operational Manager and Senior Biomedical Scientist. Cellular Pathology comprises the disciplines of Histopathology, Diagnostic Cytology and Mortuary Services.

The postal address is:

Directorate of Pathology

Countess of Chester Health Park

Liverpool Road

Chester

Cheshire

CH2 1UL

Tel 01244 365000

The Chester and Wirral Microbiology Service (CWMS) is part of the collaboration between the Countess of Chester Hospital NHS Foundation Trust and Wirral University Teaching Hospital NHS Foundation Trust (WUTHNFT). The laboratory and staff are managed by WUTHNFT. A team of Medical Microbiology consultants are employed and managed by the Countess of Chester Hospital NHS Foundation Trust.

Contents

About the Countess of Chester Hospital NHS Foundation Trust Pathology service	1

About this document	5

Quality Policy	6

4 General requirements	7

4.1 Impartiality	7

4.2 Confidentiality	8

4.3 Requirements regarding patients	8

5 Structural and governance requirements	8

5.1 Legal entity	9

5.2 Laboratory Director	9

5.3 Laboratory activities	12

5.3.1 General	12

5.3.2 Conformance with requirements	13

5.3.3 Advisory activities	13

5.4 Structure and authority	13

5.4.1 General	13

5.4.2 Quality Management	14

5.5 Objectives and policies	14

5.6 Risk Management	14

6 Resource Requirements	15

6.1 General	15

6.2 Personnel	15

6.2.1 General	16

6.2.2 Competence requirements	16

6.2.3 Authorisation	16

6.2.4 Continuing education and professional development	16

6.2.5 Personnel records	17

6.3 Facilities and environmental conditions	17

6.3.1 General	17

6.3.2 Facility controls	18

6.3.3 Storage facilities	18

6.3.4 Personnel facilities	19

6.3.5 Sample collection facilities	19

6.4 Equipment	19

6.4.1 General	19

6.4.2 Equipment requirements	20

6.4.3 Equipment acceptance procedure	20

6.4.4 Equipment instructions for use	20

6.4.5 Equipment maintenance and repair	21

6.4.6 Equipment adverse incident reporting	21

6.4.7 Equipment records	21

6.5 Equipment calibration and metrological traceability	22

6.6 Reagents and consumables	22

6.6.1 General	22

6.6.2 Reagents and consumables – receipt and storage	22

6.6.3 Reagents and consumables – Acceptance testing	23

6.6.4 Reagents and consumables – Inventory Management	23

6.6.5 Reagents and consumables – Instructions for use	23

6.6.6 Reagents and consumables – Adverse incident reporting	23

6.6.7 Reagents and consumables – Records	24

6.7 Service agreements	24

6.7.1 Agreements with laboratory users	24

6.7.2 Agreements with POCT operators	24

6.8 Externally provided products and services	24

6.8.1 General	24

6.8.2 Referral laboratories and consultants	24

6.8.3 Review and approval of externally provided products and services	25

7.1 General	25

7.2 Pre-examination processes	25

7.2.1 General	25

7.2.2 Laboratory information for patients and users	25

7.2.3 Requests for providing laboratory examinations	26

7.2.4 Primary sample collection and handling	26

7.2.5 Sample transportation	27

7.2.6 Sample receipt	28

7.2.7 Pre-examination handling, preparation and storage	28

7.3 Examination processes	28

7.3.1 General	28

7.3.2 Verification of examination methods	29

7.3.3 Validation of examination methods	29

7.3.4 Evaluation of measurement uncertainty (MU)	29

7.3.5 Biological reference intervals and clinical decision limits	29

7.3.6 Documentation of examination procedures	30

7.3.7 Ensuring the validity of examination results	30

7.4 Post-examination processes	31

7.4.1 Reporting of results	31

7.4.2 Post examination handling of samples	32

7.5 Nonconforming work	32

7.6 Control of data and information management	32

7.6.1 General	32

7.6.2 Authorities and responsibilities for information management	33

7.6.3 Information systems management	33

7.6.4 Downtime plans	33

7.6.5 Off site management	33

7.7 Complaints	33

7.8 Continuity and emergency preparedness planning	34

8.1 General requirements/8.2 Management System Requirements	34

8.3 Control of management system documents	35

8.3.1 General	35

8.3.2 Control of documents	35

8.4 Control of records	35

8.5 Actions to address risks and opportunities for improvement	36

8.5.1 Identification of risks and opportunities for improvement	36

8.5.2 Acting on risks and opportunities for improvement	37

8.6 Improvement	37

8.6.1 Continual improvement	37

8.6.2 Laboratory patients, users, and personnel feedback	38

8.7 Nonconformities and corrective actions	38

8.8 Evaluations	38

8.8.1 General	38

8.8.2 Quality indicators	39

8.8.3 Internal audits	39

8.9 Management reviews	39

8.9.1 General	39

Human Tissue Authority (HTA)	40

Medicines and Healthcare Products Regulatory Agency (MHRA)	40

## About this document

This document, together with the processes and procedures specified in this manual and in the sub-section manuals, represent the quality management system of the Pathology Laboratory of the Countess of Chester Hospital NHS Foundation Trust.

It has been compiled to meet the requirements of the international standard Medical Laboratories – Requirements for quality and competence (ISO 15189:2022), other appropriate national and international standards and any regulatory requirements. All processes and procedures specified herein are mandatory within the Pathology Laboratory.

The Pathology Laboratory (Clinical Biochemistry/Haematology and Blood Transfusion /Cellular Pathology/Mortuary/Immunology and Phlebotomy) CN9061 is currently accredited by UKAS against ISO standard 15189:2022.

Our accreditation is limited to those activities described on our UKAS schedule of accreditation found here.

https://www.ukas.com/

This Quality Manual fulfils two functions. It describes the Quality Management System for the benefit of the laboratories own management and staff, and it provides information for users and for inspection/accreditation bodies. Throughout the text there are reference to procedures written in fulfilment of these standards.

This Quality Manual can be regarded as the index volume to separate volumes of management, laboratory, clinical and quality procedures.  The sections of the Quality Manual are arranged so that they equate to the requirements of the international standard Medical Laboratories – Requirements for quality and competence (ISO 15189:2022).

Standard abbreviations used in this document:

| BMS | Biomedical Scientist |
| --- | --- |
| BSW | Biomedical Support Worker |
| UKAS | United Kingdom Accreditation Service |
| DA | Divisional Accountant |
| HEI | Higher Educational Institute |
| HTA | Human Tissue Authority |
| MHRA | Medicines and Healthcare Products Regulatory Agency |
| MSDS | Manufacturer’s safety data sheets |
| QMS | Quality management system |
| R&PSL | Risk and Patient Safety Lead |
| SOP | Standard Operating Procedure |

## Quality Policy The Quality Policy of the Directorate of Pathology, Countess of Chester Hospital NHS Foundation Trust

The Directorate of Pathology comprises several departments providing discipline-specific services:

- Microbiology and Serology laboratory services are provided by Chester & Wirral Microbiology Service (collaborative service with Wirral University Hospitals NHS Foundation Trust) and clinical Microbiology services by the Microbiology department.

- Histology, Cytology and Mortuary Facilities are provided by the Cellular Pathology Department.

- Chemical Pathology, Haematology, Anticoagulation and Blood Transfusion are provided by the Blood Sciences Department.

- Immunology and Allergy testing is provided by the Immunology Department.

SAFE, KIND, EFFECTIVE. We take pride in delivering to all our users a quality clinical service that meets the highest standards of professional performance, founded on the Countess of Chester Hospital NHS Foundation Trust Behavioural Standards of Leading People in Working Together with Respect and Fairness and a Positive Attitude to continuously work towards Achieving Excellence.

We will achieve this through a patient-centered approach, and will strive to improve our service by:

- Operating a quality management system to integrate the organisation, procedures, processes and resources.

- Setting and reviewing quality objectives and plans in order to implement this quality policy.

- Ensuring that all personnel are familiar with this quality policy, the quality manual and all relevant procedures to ensure a quality service at every stage of the patient journey.

- Committing to providing a safe environment for the health, safety and welfare of all its staff and extending this to all visitors to the departments. Both staff and visitors will be treated with respect and dignity at all times

- Upholding the Countess of Chester Hospital NHS Foundation Trust Values and Behaviours, professional values, and committing to good professional practice and conduct.

The Directorate of Pathology will comply with all relevant regulations and legislation covering its activities, including environmental legislation. It is committed to continuing compliance with relevant standards set by the United Kingdom Accreditation Service (UKAS), Human Tissue Authority (HTA) and the Medicines and Healthcare products Regulatory Authority (MHRA) and will ensure:

- The recruitment, training, development and retention of highly qualified, motivated and caring staff at all levels.

- The proper procurement and maintenance of equipment and other resources required for the provision of the Service.

- The proper handling of all specimens, to ensure the correct performance of laboratory examinations. Examination and quality assurance procedures used will ensure the highest achievable quality of test results and deliver the service we would expect to receive ourselves.

- The reporting of results of examinations in a timely, confidential, accurate and clinically useful manner

- The assessment of user satisfaction, in addition to internal audit and external quality assessment, in order to identify opportunities for continual quality improvement.

Signed by:

Divisional Director – Diagnostics and Clinical Support: Tina Slater 	Date:23.12.26

## 4 General requirements

## 4.1 Impartiality

Laboratory management is committed to ensuring that there is no involvement in any activities that could diminish confidence in the laboratory’s competence, impartiality, judgment, or operational integrity. All the activities undertaken are free from any undue commercial, financial, or other pressures and influences that could adversely affect the quality of work produced. The Pathology department monitors its activities and relationships to identify any threats to its impartiality using regular audit of this topic and promotes awareness of impartiality to its staff on a regular basis. Any such threat identified will be eliminated or minimised to avoid compromising impartiality of the service.

DOC6279 Conflict of Interest Action Notice

PATHFORM001 Local Induction Checklist for Pathology

## 4.2 Confidentiality

The Pathology department accepts responsibility for the management of patient data obtained or created during the performance of laboratory activities and promotes the importance of patient privacy, confidentiality, and the proper use of patient information within the service.

The Trust Caldicott guardian is the Executive Medical Director. The Trust has an information governance team in place that provides leadership and advice to all staff.

All Pathology staff are required to sign a statement related to confidentiality as part of induction and to partake in regular Trust Information Governance mandatory training. Any visitors to the department are required to sign a declaration on confidentiality on arrival to the department.

When the laboratory is required by law or authorised by contractual arrangements to release confidential information, the patient concerned shall be notified in advance of the information release (unless prohibited by law).

DOC5955 Information for patients

DOC6278 Pathology Visitor Log

PATHFORM001 Local Induction Checklist for Pathology

## 4.3 Requirements regarding patients

Laboratory management will strive to ensure that the patient’s well-being, safety and rights are the primary considerations of the service including enabling and responding to user feedback, providing relevant information about the service, periodic review of repertoire, obtaining informed consent where required and treating all patients and samples with due care and respect. Information for patients is available in the form of a document which is available on both the Trust Internet page and via the internal Intranet Pathology page.

The Pathology department strives to obtain feedback from patients via questionnaires seeking information on user satisfaction, suggestions for improvement of the service and from complaints and the Datix reporting system. Feedback from our users is discussed within the directorate and, where possible, alterations and improvements to our service were put into place.

DOC5955 Information for patients

## 5 Structural and governance requirements

The Trust is managed by a Board of 12 members. The Board meets monthly to consider all aspects of health care organisation, management and the overall strategic direction of the Trust. It holds four meetings per year in public.

The Board is headed up by a Non-Executive Chairman, appointed by the Board of Governors. It includes five Non-Executive Directors and six Executive Directors. The Non-Executive Directors are appointed, again by the Board of Governors, based on their wide experience in the community and the insights they bring from other professional areas.

The Executive Directors are all experienced health professionals. In addition to the Board of Directors meetings there is a Management Board chaired by the Chief Executive comprising Executive Directors, Divisional Directors, Divisional Medical Directors, Clinical Directors and the Chairman of the Medical Staff Committee. It meets monthly to deal with the bulk of the day-to-day business, reporting formally to the Board of Directors.

The structure of the Diagnostics Division and the Pathology Department can be found in a variety of organisational charts.

DOC2531 Diagnostics Division Organisational Chart

PATHINFO034 Blood Sciences Organisational Chart

DOC255 Cellular Pathology Organisation Chart

## 5.1 Legal entity

The Countess of Chester Hospital NHS Foundation Trust is the legal entity responsible for the activities of the laboratory and its staff.

The Countess of Chester Hospital National Health Service Trust (Establishment) Order 1992

https://www.legislation.gov.uk/uksi/1992/2463/contents/made

## 5.2 Laboratory Director

The Laboratory Director role (delegated duties performed by designates in Pathology) provides leadership and functions as a member of the Pathology team, to provide clinical, scientific, professional, consultative, advisory, organisational, administrative and educational direction for the laboratory services. The duties are defined in DOC44 – Laboratory Director Role Duties, which include a table of designates for the delegated duties.

Each Consultant Head of Department is accountable to the Divisional Medical Director. For the reporting structure. They are responsible for leadership, communication and team working within the laboratory. This includes accountabilities for all aspects of clinical governance. They provide professional direction for each department and are available for clinical advice for users. The Consultant Head of department work with the Laboratory Manager to deliver a compliant, high quality and cost-effective service.

Regular scheduled meetings are held between the Divisional Director, Pathology Service Manager, Laboratory Operational Managers and Consultant Head of Departments.

Laboratory Manager (Band 8a/b/c)

Each Laboratory Manager is responsible for the operational management of their department within the Pathology Directorate. The Laboratory Manager works with the Clinical Lead to develop and implement the planning and performance management agenda. The Laboratory Manager provides operational management leadership to the department to ensure effective budget management and monitoring, workforce management and planning and ensuring effective use of resources and equipment. The Laboratory Manager plays a lead role in modernisation of the service in line with local and National strategies.

The position has a lead role in managerial, educational, professional and technical issues within the department/discipline, in conjunction with the Clinical Head of the department. This includes:

- Responsibility for the Technical development of the service in close collaboration with the Clinical Head of the Department.

- Development and promotion of Directorate wide working and standardization of operational policies, procedures and practices within the discipline and within the Pathology Directorate Management team.

- Contributing to the Pathology Directorate Management team to develop and implement the planning and performance management agenda for Pathology.

- Overall responsibility for ensuring that UKAS ISO 15189:2022 Accreditation compliance is maintained in their department.

- To be the departmental Safety Officer to ensure, in liaison with the Directorate safety officer and Directorate risk manager, a safe environment by maintaining adequate levels of safety and security within the laboratory according to Trust and Laboratory policies and procedures.

The laboratory manager’s duties are defined in the job descriptions available.

The Quality Manager

The Quality Manager ensures, on behalf of laboratory management, that the Directorate’s Quality Management System functions correctly.

The Quality Manager has a defined role for:

- Ensuring that a Quality Management System is implemented and maintained.

- Overall control of quality and advising and monitoring all aspects of quality within the Directorate.

- Arranging document control and maintenance.

- Planning and organising audits and reviews.

- Ensuring that details of reviews are recorded.

- Ensuring the completion and discharge in the appropriate timescale of corrective actions resulting from audits.

- Reporting to Laboratory Management on the functioning and effectiveness of the Quality Management System.

- Co-coordinating the awareness of the needs and requirements of the users.

The quality manager’s duties are defined in the document PATHQUALMAN.

The key managerial and technical personnel are supported by staff that will deputise for them in their absence to ensure continuity of the service. These deputy responsibilities are outlined in the table below:

| Key Pathology Staff | Deputy Managerial Responsibilities | Deputy Technical Responsibilities |
| --- | --- | --- |
| Director Blood Sciences | Deputy Director of Blood Sciences | Haematology Clinical Lead |
| Pathology Services Manager Health & Safety Officer | Blood Sciences Operational Manager/ Cellular Pathology Laboratory Manager/ Transfusion Manager | Blood Sciences Band 7 BMS |
| Blood Sciences Operational Manager | Pathology Services Manager/ Transfusion Manager | Blood Sciences Band 7 BMS |
| Transfusion Manager | Pathology Services Manager/ Blood Sciences Operational Manager | Transfusion Band 7 BMS |
| Immunology Service Lead | Pathology Services Manager/Blood Sciences Operational Manager | Immunology BMS staff/ Principal Clinical Biochemist |
| Director of Cellular Pathology | Consultant Histopathologist of the week | Consultant Histopathologist |
| Cellular Pathology Laboratory Manager Health & Safety Officer | Pathology Services Manager | Cellular Pathology Band 7 BMS |
| Quality Manager | Cellular Pathology Laboratory Manager | Quality leads for Cellular Pathology/Blood Sciences Pathology Band 7 BMSs |

The Lead Consultant for Blood Transfusion is Dr Arvind Pillai MRCPath

The Blood Bank is managed by Clare Barnard and Emma Kirkham

The Blood Transfusion Practitioners are Hayley Spiers and Mariya Joseph

The Department Health and Safety Officer is Joseph Banwell (Pathology Services Manager)

Communication between management and staff is conducted in various ways:

- Regular minuted staff meetings

- Email and action notices

- Q Pulse quality management software

- Staff noticeboards

- Annual appraisals and one-to-one meetings

The management of the directorate is facilitated by the programme of regular business meetings which take place within the directorate. These are listed in the following table:

| Directorate Level Meetings |  |  |  |
| --- | --- | --- | --- |
| Title: | Chair: | Frequency: | Topics covered: |
| Management Review | Quality Manager | Annual | Full review of all services |
| Pathology Quality Group | Quality Manager | Bi-monthly | Quality Management review for Pathology |
| Governance/Directorate Group (Consultants, Managers, CFA, R&PSL. HR, IT analyst) | Director of Blood Sciences | Monthly | Wide range of issues affecting Pathology includes governance, risk, finance, quality report, performance management etc. |
| Senior Managers Group | Managers on rotation | Monthly | Divisional performance and Divisional Governance meetings |

In addition, each Pathology discipline holds separate meetings to discuss issues relating to each individual department, as follows.

| Title | Chair | Frequency |
| --- | --- | --- |
| Hospital Transfusion Team Meeting | Consultant Clinical Lead | Monthly |
| Hospital Transfusion Committee Meeting | Consultant Clinical Lead | X3 Yearly |
| Blood Sciences Management Meeting | Pathology Services Manager | Bi-monthly |
| Blood Sciences Operational Meeting | Pathology Services Manager | Monthly |
| Biochemistry COCH Clinical Team Meeting | Consultant Clinical Biochemist | Bi-Monthly |
| Blood Sciences Staff meeting | Blood Sciences Managers | Monthly |
| Haematology Consultant Meeting | Consultant Clinical Lead | Bi-monthly |
| POCT Operational Meeting | Consultant Clinical Biochemist | Monthly |
| Immunology Meeting | Blood Sciences Manager | Bi-monthly |
| Cellular Pathology Senior Staff Meeting | Cellular Pathology Manager | Monthly |
| Cellular Pathology Staff Meetings | Cellular Pathology Manager | Scheduled as required |

DOC44 Laboratory Director Role Duties

DOC2531 Diagnostics Division Organisational Chart

DOC2532 Consultant Head of Department

DOC702 Blood Sciences Band 8a Section Manager job description

CPMANAGER Cellular Pathology Manager Band 8b job description

PATHQUALMAN Pathology Quality Manager job description

## 5.3 Laboratory activities

### 5.3.1 General

Information regarding services available from the Pathology Department is available to users in the form of the Pathology Laboratory Handbook which is available via the Pathology Intranet page.

The needs of service users are assessed through audit, meetings, service questionnaires and feedback from clinician, for example via Multi-Disciplinary Team (MDT) meetings. These are translated into requirements that give focus to objective setting and planning within the QMS.

The needs of the patients are identified through audits of customers’ requirements, satisfaction surveys, review of complaints and clinical incidents. Assessment of user satisfaction and complaints is reported on a regular basis to the governance committee. Consideration of any findings form part of the annual management review.

QMS008 Pathology Laboratory Handbook

PATHOL006 Guidance on setting up SLA's with external agencies/users.

QMS016 Assessment of user satisfaction, complaints and compliments

QMS013 QMS Identification and control of non-conformities

### 5.3.2 Conformance with requirements

The Pathology department strives to ensure that all laboratory activities meet the relevant regulatory requirements, as outlined in the document.

### 5.3.3 Advisory activities

An adequate schedule of appropriately competent clinical staff is available within Pathology to provide an advisory service (within the working hours outlined in the Laboratory Handbook), with contact details available on the Trust Intranet page and in both the Patient Handbook and the Lab Handbook. Adequate information on aspects of the service such as when specific tests should be ordered, what sample type/volume/specific conditions are required for each test and the departmental acceptance criteria is given.

Competence of Clinical and Biomedical scientist staff is regularly assessed, whilst Consultant staff are monitored via regular professional development review which covers a wide variety of competence aspects such as CPD, EQA participation and internal audit.

Advisory information or feedback may be given as part of reports issued, during MDT meetings, via direct communication via phone or email, or via Trust wide communications issued by Pathology.

DOC5955 Information for patients

QMS008 Pathology Laboratory Handbook

DOC681 Specimen acceptance policy

## 5.4 Structure and authority

### 5.4.1 General

Responsibilities, authority and interrelationships are defined in the various organisational charts and job descriptions of key personnel (see section 5.2).

### 5.4.2 Quality Management

The Quality Manager is responsible for ensuring the quality system is implemented and maintained across all departments, and for reporting its functioning and effectiveness to laboratory management. Co-ordinating awareness of the needs and requirements of users is also a key responsibility. The roles and responsibilities are fully defined in the job description. The Pathology Quality Manager meets regularly with the senior management committee and the Pathology Governance/Directorate committee to give feed-back and ensure the proper running of the quality management system.

PATHQUALMAN Pathology Quality Manager job description

## 5.5 Objectives and policies

The quality policy of the laboratory is reviewed annually as part of the Management Review and is issued to all staff for acknowledgement via Q Pulse. A copy is also available on the Trust intranet, within the laboratory handbook and within this Quality manual.

As part of the business planning process, the department sets its quality objectives in consultation with the rest of the directorate and division, and these are laid out in the Pathology Service Objective and Pathology Quality Improvement Plan documents for the corresponding year (see Q Pulse) with the senior management committee being responsible for ensuring that plans are made to meet these objectives. The annual management review determines whether the objectives have been successfully completed and provides an opportunity for revising such objectives and plans and the functioning of the quality management system. Progress on the quality and service improvement plan is monitored at least on a bi-annual basis at the senior managers meetings.

Quality Indicators are employed by Pathology to monitor and evaluate the performance of Pre-examination, examination and post-examination processes.

Continuous improvement is essential for the long-term success of the quality system. The effectiveness of procedures within the quality system is ascertained by means of quality system audit and review, internal quality control and external quality assessment. Procedures are also in place to identify and address improvements to the quality system or technical methods and also to identify potential sources on non-conformities.

QMS015 Quality Improvement

PATH2039 Pathology Quality Indicators (KPI)

## 5.6 Risk Management

It is the intention of the Pathology department to focus attention on and minimise events which should not occur as part of its processes, especially patient related incidents. The Pathology department is dedicated to the proactive prevention, elimination, reduction, and control of risk related to the service it provides and endeavours to allow handling of risks to contribute to achieving and improving the objectives of the laboratory.

Senior Pathology staff (including managers, Pathology Quality manager, senior clinical staff and Divisional manager) have a responsibility to ensure that using risk assessment, risk procedures, risk monitoring and improvement planning, risks to the service and the patients are identified, monitored and either eliminated or reduced to an acceptable level.

Risk assessments are the main tool used by Pathology to evaluate risks highlighted and are mainly stored on the Q Pulse system (and may also be attached to risks on the register). All Pathology risk assessments are reviewed on a regular basis (either annually or every two years) to reassess the risk and to ensure the effectiveness of the control measures are monitored.

The majority of risks highlighted within Pathology are logged on the Pathology risk register (using the Datix system). All risks on the Pathology risk register are reviewed by senior and clinical staff on a regular, monthly basis. Any updates, information or reduction in risk is recorded. Any actions associated with a risk are recorded via the Governance meeting minutes and assigned to an appropriate member of staff.

PATH2044 Risk Management in Pathology

QMS015 Quality Improvements

Pathology Quality Improvement Plan

Pathology Quality Service Objectives

## 6 Resource Requirements

## 6.1 General

The Pathology department endeavours to provide adequate personnel, facilities, equipment, reagents, consumables and support services for the successful functioning of the service.

## 6.2 Personnel

The Human Resources Business Partner team are responsible for the creation, review and monitoring of policies that relate to staff and their working lives. These policies are developed together with the staff side representatives and agreed where appropriate, through the Partnership Forum. The team has a dedicated webpage where all staff can obtain advice and view all current HR policies and procedures.

The Trust provides advice and information on the employment checks that need to be carried out as part of the recruitment to vacant posts in the Trust. These checks cover staff during pre-employment and whilst in-employment. This includes the procedures to be followed in regard to the following checks:

• Verification of Identity Checks

• Right to Work Checks

• Registration and Qualifications Checks

• Employment History and References Checks

• Disclosure and Barring Service (formerly CRB) checks

• Occupational Health Checks.

These standards have been developed by NHS Employers and are designed to safeguard patients, staff and the public. The policy has been agreed in consultation with the Trust’s Executive Team, Senior Management Team, Workforce Committee and Staff Partnership Forum.

### 6.2.1 General

Each post within the laboratory has a job description based on the standard template provided by the Trust. These job descriptions are held by the HR department and copies are stored on Q Pulse for reference.

Each new member of staff attends the standard Trust induction programme as well as having a local induction on their first day in the laboratory.

Each member of the technical and secretarial staff undergoes annual performance review. This process is guided by Trust wide policies and procedures. Records of annual appraisals are held by the laboratory managers.

PATHFORM001 Local Induction Checklist for Pathology

### 6.2.2 Competence requirements

Each department has a dedicated training programme for all grades of staff. These are stored on Q Pulse and reviewed at regular intervals to ensure compliance with local and national guidelines

Each department has competency assessment documentation for all grades of staff. These are stored locally on the S Drive and reviewed at regular intervals to ensure compliance with local and national guidelines. A departmental document on competency assessment outlines the assessment process, with various training and competency records detailing the requirements to perform assigned tasks.

QMS006 QMS Competency Assessment

### 6.2.3 Authorisation

All staff are fully trained, and competency assessed and as such, are authorised to perform the specific laboratory activities assigned to designated roles within the department. Those staff working towards competency and authorisation should be fully supervise by authorised staff.

Records of training, competency assessment and authorisation of all staff should be held in each section and should be reviewed on a regular basis.

### 6.2.4 Continuing education and professional development

The Trust has a policy covering training and development of all staff. Medical and HCPC registered members of staff are expected to maintain their own individual record of CPD to comply with regulatory requirements.

The department endeavours to provide a regular programme of relevant educational meetings for all staff. Laboratory staff are also encouraged to attend other meetings, courses and conferences whether held in-house or offered by external agencies such as professional bodies, manufacturers of equipment or higher educational institutions (HEIs).

Information pertaining to applications, funding and the roles and responsibilities of staff delivering training can be found in the Pathology Training Policy.

CPD and educational events within the department are recorded on the Q Pulse system where applicable and are reviewed for suitability as part of the regular departmental Quality meetings.

PATHPOL005 Pathology Training Policy

### 6.2.5 Personnel records

The laboratory managers are responsible for maintaining appropriate records for each member of staff.

Information on competency assessment and monitoring, training and authorisation is held by each Pathology discipline. A job description for each role is held on Q Pulse and is reviewed every 2 years.

The Trust holds employment records and other HR information on the ESR system. The occupational health department maintains records on immunisation and health screening.

## 6.3 Facilities and environmental conditions

### 6.3.1 General

The Pathology departments are housed in a purpose-built unit at the rear of the general wing.

Blood Sciences has separate areas for Specimen Reception, non-automated testing and Immunology. The Blood Transfusion laboratory is on the ground floor where samples are received via the air tube system or direct from the wards and there is appropriate space available for specimen reception, handling, despatch and disposal. The Transfusion Laboratory utilises two Ortho Vision analysers in addition to using manual techniques.

Blood Bank facilities comply with the current BCSH guidelines and other relevant standards (e.g. BS 4376). Where relevant, they also comply with the requirements of Good Manufacturing Practice as laid out in Eudralex Volume 4 contained in the current version of “Rules and Guidance for Pharmaceutical Manufacturers”, the Stationery Office.

The DAWN service is also housed on the ground floor.

Cellular Pathology has separate areas for specimen dissection, tissue processing/embedding, section cutting/staining, immunohistochemistry/special stains and non-gynaecological cytology preparation. The mortuary is situated close to the Pathology department on the ground floor. There are dedicated waiting and viewing rooms adjacent to the mortuary for relatives of the deceased.

Consultant and SpR offices are on both the ground and first floor. The departmental secretaries are housed in an office on the ground floor.

The main pathology reception is on the first floor within the Blood Sciences laboratory. This provides a reception for samples and receiving visitors to the laboratory. Most patient data input is performed in this reception area or the Cellular Pathology cut-up room.

Haematology and Anticoagulant Clinics are held in the Haematology Oncology Suite, which is on the ground floor adjacent to the laboratory areas. Here patients have a waiting area, and adjoining this, a phlebotomy room and toilet facilities.

The Pathology laboratory’s infrastructure is maintained by the Trust’s estates department. The IMT department are responsible for the maintenance of the communications and IT network.

Adequate space, lighting, temperature control and equipment is provided for all laboratory activities as required. Cleaning and waste disposal is carried out by staff from the Facilities department.

The Pathology directorate uses Connected Automated Monitoring (Checkit) to monitor the temperature of blood fridges, laboratory fridges and freezers, body stores, incubators and ambient stores. Blood fridges located in Central Labour Suite, Main Theatres, Ellesmere Port Hospital and the Hospice of the Good Shepherd are also monitored.

PATH028 Temperature monitoring system

### 6.3.2 Facility controls

Entry to the public is via the main Pathology entrance on the first floor, off the main hospital corridor. This allows access to the pre-reception area only for enquiries and sample drop-off. Access to all laboratory areas is barred by secured doors preventing unauthorised access to any patient samples, patient information, equipment or reagents and consumables. Any visitors to the department are required to sign in the Pathology visitor log which contains a statement concerning patient confidentiality to be read and acknowledged.

Staff gain access to the laboratory areas using security cards. The security system is administered and maintained by the Facilities department, with the Pathology Services Manager and Mortuary Manager having oversight of access to the Mortuary.

Facility controls within the Pathology department are regularly reviewed by way of accommodation and environment audits for each area, and any non-conformances arising from these audits will be raised and actioned via Q Pulse.

DOC6278 Pathology Visitor Log

### 6.3.3 Storage facilities

The laboratory has designated and secure storage areas within the confines of the department designed for the appropriate storage of patient samples, reagents and consumables, equipment, documents, records, hazardous material and biological waste. Some of these areas are temperature monitored as required. There is an external purpose-built storage facility for flammable materials located next to the laboratory in the rear courtyard.

The laboratory also uses an external company, Oasis, in Northwich to store archived paraffin blocks and documentation which must be retained for lengthy periods (such as Transfusion records).

### 6.3.4 Personnel facilities

The Trust provides a restaurant, which is open during normal mealtimes. There are also vending machines for drinks, snacks and confectionery for out of hour’s staff. Facilities available at the main hospital entrance consist of a small shop, coffee shop and small supermarket.

In the Pathology laboratory, off the main laboratory corridor, there is a staff rest room which provides facilities for drinks and storing food. Staff toilets and lockers are found in rooms off the main pathology laboratory corridor.

The pathology seminar room is used for Pathology business and educational meetings. This room may also be used for individual study.

### 6.3.5 Sample collection facilities

The Phlebotomy service is provided in several areas around the hospital and on wards/clinics. Each area has a designated waiting area and collection area and has access to toilet facilities nearby.

## 6.4 Equipment

### 6.4.1 General

The department has a local policy for the procurement and management of equipment and follows the Trust wide policies on the selection, procurement and purchase of equipment.

The Blood Sciences department has a managed service contract with Beckman Coulter UK for Haematology and Clinical Biochemistry, Transfusion have a contract with QuidelOrtho, and there is a Genmed contract for Immunology which allows for regular upgrade and/or replacement of laboratory analysers and equipment. There are also other managed service contracts held within Pathology with main suppliers.

Where equipment is interfaced to the computer system, this has been performed either by or with the agreement of the computer company and the equipment manufacturer/supplier. Full approval for this procedure is obtained from the Trust’s IM&T department.

PATH2021 Selection and Monitoring of Suppliers

QMS020 Use of Q pulse Equipment module

QMS018 Equipment Calibration and Maintenance

CPPOL034 Cellular Pathology Equipment

DOC158 Blood Sciences Equipment Inventory

CPFORM017 Cellular Pathology Equipment List

DOC5581 Blood Sciences Equipment

### 6.4.2 Equipment requirements

Appropriate equipment is available for the correct performance of the laboratory.

Manufacturer operating and maintenance manuals are held in the relevant section of each laboratory area, or as electronic versions on Q Pulse including specific equipment guides, methodologies, kit inserts and analyser reference manuals for information on the calibration of methods and equipment for use in the laboratory.

Where necessary, the manufacturers’ manuals are supplemented by documented in-house methods, with information pertaining to the operation, maintenance, and calibration of such equipment.

All equipment used within the laboratory is registered on the equipment module of the Q Pulse system using the equipment name, serial number, location, manufacturer details and other relevant information.

### 6.4.3 Equipment acceptance procedure

The laboratory undertakes a period of testing on new equipment before it is placed in general use to ensure results are reproducible and acceptable. This testing forms part of the validation planning process and includes confirmation to specified acceptance criteria before the equipment is put into service.

This acceptance procedure is also used for equipment following periods of downtime and following repair.

QMS002 QMS Validation and Calibration

QMS019 Re-validation process for Equipment and Methods

### 6.4.4 Equipment instructions for use

All equipment will be operated by staff who have been fully trained, competency assessed and have been authorised to do so.

Where applicable, equipment has safeguards to ensure proper use and to prevent unintended adjustments i.e. individual staff passwords limiting access for specific roles.

Manufacturers operating and maintenance manuals are held in the relevant section of each laboratory area, or as electronic versions on Q Pulse including specific equipment guides, methodologies, kit inserts and analyser reference manuals for information on the calibration of methods and equipment for use in the laboratory.

Where necessary, the manufacturers’ manuals are supplemented by documented in-house methods, with information pertaining to the operation, maintenance, and calibration of such equipment.

### 6.4.5 Equipment maintenance and repair

Much of the Blood Sciences laboratory equipment is on service contract with the supplier, Beckman Coulter, or in the case of Immunology, Genmed, their agent or company contracted to perform such work. Other equipment e.g. Cellular Pathology equipment, pipettes, centrifuges etc. all have service/maintenance contracts. Service contract details are held by the Laboratory Managers. Equipment not on a service contract may be maintained by hospital engineers.

Records are kept of all maintenance work performed by either a supplier or by laboratory staff is recorded via either the Equipment module on Q Pulse or via specific log sheets.

Any item of equipment which suffers damage, shows sign of malfunction, or is shown by quality control/calibration or otherwise to be defective and unfit for use, will be immediately withdrawn from service and labelled accordingly. Alternative arrangements shall be made until the item has been repaired and recalibrated as appropriate.

All in-house maintenance and calibrations should be carried out following the recommendations of the manufacturer. Where relevant, equipment is subject to appropriate in-house checks between calibrations to ensure proper functioning. Details of this can be found within in-house documented procedures pertaining to the use of individual items of equipment.

CPPOL016 Decontamination of equipment prior to service/maintenance (Cell Path)

CPFORM154 Cellular Pathology - Equipment Error Log

CPFORM398 Equipment Acceptance Log

BSFORM110 Service Logs for Biochemistry Equipment/Analysers

TRANFORM089 Equipment return to service post maintenance/service

PATHFORM008 Equipment Breakdown and Service Log

### 6.4.6 Equipment adverse incident reporting

The manufacturer or service companies must be informed of equipment failures/malfunctions that have contributed to adverse incidents or accidents. These instances are logged on Q Pulse and the Trust Datix incident reporting system (when applicable).

Any manufacturer recommendations or field safety notices (FSN) received by the Pathology department will be highlighted to the relevant staff and recorded on the Q Pulse system for investigation and appropriate action. The FSN are sent directly from the supplier to the Operational Managers as well as via the trust Medical Devices Safety Officer. A regular weekly review of the FSN issued by Gov.uk is carried out by the Quality Manager for any relevant alerts.

### 6.4.7 Equipment records

All equipment used within the laboratory is registered on the equipment module of the Q Pulse system and on individual discipline lists (see documentation listed in 6.4.1).

Records on Q Pulse include (where relevant) manufacturer details, serial number, location, details of acceptance testing, condition upon receipt, maintenance and calibration information, any non-conformances related to the equipment and the current status of the equipment.

## 6.5 Equipment calibration and metrological traceability

Calibration and metrological traceability records for equipment performing quantitative methods are available where applicable.

Records of manufacturers and in-house calibrations, metrological traceability, verification of the required measurement accuracy, correction factors and episodes of non-conformance are recorded (with consideration of risk to the service provided) on the Q Pulse record for each particular pieces of equipment.

QMS002 QMS Validation and Calibration

QMS018 Equipment Calibration and Maintenance

## 6.6 Reagents and consumables

### 6.6.1 General

The Laboratory uses outside services and supplies of adequate quality to sustain confidence in the test results produced.

The Trust Procurement Department and Finance Directorate determine the business status of companies and advise if they are thought to be inappropriate. Where no independent assurance of the quality of support services or supplies is available, necessary checks, calibrations or other actions are carried out as appropriate, to ensure that purchased goods comply with specific requirements.

The Blood Sciences Department has a Managed Service Contract with Beckman Coulter UK Ltd. The Cellular Pathology and Immunology Departments have a Managed Service Contract with GenMed. Transfusion has a contract with QuidelOrtho and NHS Blood and Transplant service (NHSBT) for reagent supplies.

PATH025 Management of Reagents, Calibration and Control Materials

DOC31 Reagent/stock Management

HIST029 Sock Control and Ordering of Laboratory Consumables

IMSOP020 Reagent Management/Stock Control

TR073 Stock Management for Blood Transfusion (Reagents and Consumables).

### 6.6.2 Reagents and consumables – receipt and storage

All reagents and consumables received into the Pathology department are checked for accuracy and suitable condition upon receipt, before being logged for stock control purposes.

All reagents and consumables requiring specific environmental conditions are stored according to these requirements. Fridges, freezers and some ambient temperature monitoring is in place to ensure conditions are maintained for optimal storage of items.

For the Blood transfusion department, general consumables are kept in the laboratory or the main storeroom in Pathology. A stock control system is in place. Staff are instructed to ensure only in-date reagents and kits are used and good stock rotation is maintained.

DOC1483 Receipt of Reagents and Consumables

DOC588 Receipt and Logging of Antibodies and Reagents

CPFORM043 Reagent Record Sheet

CPFORM259 Genta Reagent Delivery Log.

CPFORM150 Special stains reagent log

TR073 Stock management for Blood Transfusion

TRANFORM014 Transfusion stock take list

### 6.6.3 Reagents and consumables – Acceptance testing

Assessment of reagents and consumables is a continuous process. Any new reagents and each new batch or kit are assessed for quality and suitability by relevant staff in the department before they are put into routine use. This assessment is recorded appropriately.

DOC2523 Pre-acceptance testing for reagents and IQC materials – Haematology

DOC2530 Biochemistry pre-acceptance testing

CPFORM351 Special stains reagent validation record

DOC480 Antibody record sheet

BSFORM144 Reagent preparation log

BSFORM097 Reagent preparation log

### 6.6.4 Reagents and consumables – Inventory Management

An electronic stock management system is in use in Haematology and Clinical Biochemistry, known as ‘DxOne Inventory Manager’, which tracks all stock under the managed service contract. This fulfils the requirement for identification of date of receipt, lot numbers, first use and expiry. Stock is scanned in to be received and when placed into use. The system is detailed in the procedure.

The Cellular Pathology Department has a paper-based system of stock management.

CPPOL020 Stock control of reagents and laboratory consumables

DOC31 - Reagent Management

### 6.6.5 Reagents and consumables – Instructions for use

All instructions for the use of reagents and consumables provided by manufacturers are reviewed and stored within the department, to be readily available. This information may often have been incorporated into laboratory standard operating procedures (SOP).

Where a method has been altered from the original manufacturer’s instructions, this method will be fully validated, and this validation adequately recorded.

### 6.6.6 Reagents and consumables – Adverse incident reporting

An incident related to a reagent or consumable will be raised as a non-conformance using the Supplier module on Q Pulse which will prompt adequate investigation and resolution. Any incidence related to a reagent or consumable will be related back to the manufacturer or supplier (or both as applicable) and any appropriate authorities.

Any manufacturer recommendations or field safety notices (FSN) received by the Pathology department will be highlighted to the relevant staff and recorded on the Q Pulse system for investigation and appropriate action. The FSN are sent directly from the supplier to the Operational Managers as well as via the trust Medical Devices Safety Officer.  A regular weekly review of the FSN issued by Gov.uk is carried out by the Quality Manager for any relevant alerts.

### 6.6.7 Reagents and consumables – Records

The majority of the reagents and consumables used within Pathology are logged, either electronically or using a paper-based system, to allow for accurate records of information relating to that reagent/consumable. This includes as a minimum:

- Reagent/consumable name

- Supplier/manufacturer details

- Batch or lot number

- Date of receipt

- Condition of the reagent/consumable upon receipt

- Expiry date

- Date of first and last use

- Pre acceptance (and where applicable ongoing acceptance) for use

- Where reagents are prepared, resuspended or combined in house a record of the individual member of staff performing these tasks is maintained.

Material data sheets/kit inserts and other manufacturer information regarding use of a reagent or consumable will be retained within the department for reference.

## 6.7 Service agreements

### 6.7.1 Agreements with laboratory users

The department currently has service level agreements (SLA) with a variety of other departments, hospitals and institutions. All information related to these agreements are held on Q Pulse or with individual managers if in development/review.

PATHPOL006 Guidance on setting up SLAs with external services users

### 6.7.2 Agreements with POCT operators

Point of Care equipment is monitored via the Trust Medical Devics group with input from clinical lead for POCT.

## 6.8 Externally provided products and services

### 6.8.1 General

Where services, equipment, reagents and consumables are provided externally to the department, they will be reviewed to ensure initial and ongoing suitability by the Pathology department. See sections 6.4, 6.5 and 6.6 for details related to equipment and reagents/consumables.

### 6.8.2 Referral laboratories and consultants

The laboratory has a policy which describes the procedure for selection and evaluation of referral laboratories and external consultants who may provide second opinions, interpretations or advice.

As the referring laboratory, the Countess of Chester Pathology department is responsible for passing on the results/reports from external bodies to the end user.

PATHSOP859 Referral to other laboratories – a general overview

CPFORM308 Cellular Pathology External Testing Referral List

DOC858 List of referral laboratories - Blood Sciences

BS-SOP003 Reporting Send away Results

CPOFF15 Addendum Reports

### 6.8.3 Review and approval of externally provided products and services

A record of all referral laboratories and external consultants used are maintained within the department and suitability of these is regularly reviewed via audit.

7 Process Requirements

## 7.1 General

The Pathology department strive to continuously identify any risk which may affect the service associated with process requirements and to reduce and mitigate these risks. Any opportunities for improvements across the service will be highlighted and managed accordingly.

PATH2024 Risk Management in Pathology

QMS015 Quality Improvement

## 7.2 Pre-examination processes

### 7.2.1 General

Information on all procedures for pre-examination processes are available to staff via the Q Pulse system and are regularly reviewed and updated as required.

### 7.2.2 Laboratory information for patients and users

Appropriate information required for users is available in the form of the Laboratory Handbook which is available to them on the Trust Intranet (and available to lab staff on Q Pulse). Information for patients is available via the Intranet and Trust website pages. Both documents contain relevant details covering all points outlined in clause 7.2.2 of ISO15189:2022.

QMS008 Laboratory Handbook

DOC5955 Information for Patients

### 7.2.3 Requests for providing laboratory examinations

#### 7.2.3.1 General

Information for users on the requirements for submission of a specimen for examination by the laboratory can be found in the laboratory handbook.

#### 7.2.3.2 Oral requests

The majority of the Pathology disciplines discourage the practise of receiving oral requests and require written requests for testing. Blood Transfusion will accept oral requests for products and testing and this is outlined in the Laboratory Handbook.

BSFORM200 Add- on Requests- Blood Sciences

TR072 Pre-analytical processes in Transfusion – Sample acceptance

### 7.2.4 Primary sample collection and handling

#### 7.2.4.1 General

Information on collection and handling of Pathology samples is available via the Laboratory Handbook, which is available to users via the hospital intranet and on the intranet. This contains information on laboratory hours, contact telephone numbers, test repertoire, special collection details etc. Information specifically for patients is also available.

Information on point of care testing can be found on the hospital intranet under POCT – Pathology.

Information on Consent for Post-Mortem Examinations is provided to relatives of the deceased by the Trust’s bereavement service.

QMS008 Laboratory Handbook

ACGUIDE Guidelines for Anticoagulant Therapy and Coagulation Studies

DOC5955 Information for patients

PATHPOL004 Phlebotomy Handbook

#### 7.2.4.2 Information for pre-collection activities

Appropriate information on pre-collection activities is contained within either the Laboratory Handbook or Information for Patients documents which are available via the Trust Intranet or Trust website. This includes relevant details related to the points outlined in clause 7.2.4.2 of ISO15189:2022.

Within the Trust, electronic order entry is used by all wards and the majority of hospital clinics for all Blood Sciences requests and the majority of Cellular Pathology requests (although some requests are still sent using paper request forms).  An electronic GP ordering system Sunquest ICE is used by most GP Practices. Both paper and electronic request forms provide relevant boxes/fields for essential information and unique identification of the patient and their correct completion is encouraged (mandatory in the electronic form).

Requesting systems have been developed and modified through liaison with, and suggestions from the service users.

#### 7.2.4.3 Patient consent

Consent of the patient to perform testing on any sample taken is either inferred when the patient willingly submits to the sample collecting procedure or, for more invasive procedures, as part of the consent to those procedures. A record of consent given is not held by the Pathology department.

#### 7.2.4.4 Instructions for collection activities

Advice on the collection of specimens is given in the relevant handbooks available. This includes information on the types of containers to be used and any necessary additives required, order of draw, recording of the collection date (and where necessary the time) and any appropriate storage conditions required for samples.

Samples for tests not available within the department are sent to referral laboratories, which are, where possible, accredited by UKAS.

Sample/patient details are recorded on the laboratory computer system, and daily logs are printed, which record the dispatch dates of all samples sent away, as well as logging on the LIMS. Return of reports and turnaround times from referral laboratories are monitored by the BMS staff.

DOCSOP859 Referral to other laboratories – a general overview

### 7.2.5 Sample transportation

Appropriate information on sample transportation is contained within either the Laboratory Handbook or Information for Patients documents which are available via the Trust Intranet or Trust website.

All packaging and transport boxes used by the department conform to current regulations.

An air tube system delivers Blood Sciences samples from certain areas of the hospital directly to the Pathology Sample Reception area or Transfusion Laboratory. Samples from other hospital areas, GP Practices, clinics and community nurses are also received at reception.  Specimens for Histology taken in Theatres and Endoscopy are taken directly to the laboratory cut up room by Portering staff.

Main Pathology Sample Reception is located within the Blood Sciences laboratory on the first floor. Transfusion samples are taken directly into the Blood Transfusion Laboratory on the ground floor.

When a specimen is received by the laboratory in an unacceptable container or where sample integrity has been compromised, the laboratory will communicate this issue to the sender and, where relevant, the incident will be recorded internally to reduce risk and prevent recurrence.

Sample transportation is regularly reviewed by the Pathology department using audit.

PATH2012 Reception - Blood Sciences

IMSOP001 Reception of Blood Samples

TR077 Transport of Blood Components out with the Hospital

TR076 Transport of Blood Components within the Hospital

TR018 Blood Stocks: Receipt and Storage of

### 7.2.6 Sample receipt

#### 7.2.6.1 Sample receipt procedure

Standard operating procedures outlining sample receipt within the Pathology department are available to all laboratory staff on Q Pulse, including information on acceptance criteria, details of the sample to be recorded and unique labelling of samples.

HIST001 Cut1 – Receiving Specimens

CYTO22 Specimen reception – non-gynaecological specimens

PATH2012 Reception – Blood Sciences

DOC861 Sample acceptance policy

PATH036 Specimen collection and handling

#### 7.2.6.2 Sample acceptance exceptions

Where a specimen arrives within the Pathology department which does not meet acceptance criteria but is considered to be irreplaceable for any reason, the department may decide to continue to process the specimen. This may be following actions to rectify the reasons for unacceptability (i.e. correcting incorrect patient or sample identification) or where a specimen is considered clinically critical for patient care and not to process the specimen may pose a risk to patient safety. Responsibility for a sample not meeting acceptance criteria is taken by the requesting clinician.

DOC861 Sample Acceptance Policy

HIST001 Cut1 - Receiving specimens (Histo)

TR072 Pre-analytical processes in Transfusion – Sample acceptance

### 7.2.7 Pre-examination handling, preparation and storage

See information given in sections 6.3.1, 6.3.2 and 6.3.3 above relating to facilities provided for secure and appropriate storage of patient samples. All procedures within Pathology are designed to ensure sample integrity and prevent loss of or damage to samples.

Information on acceptable time limits between sample collection and testing, and also on time limits for requesting additional examination on a sample, are outlined for users in the Pathology Laboratory Handbook.

## 7.3 Examination processes

### 7.3.1 General

The laboratory currently does not use any non-standard methods or laboratory designed/developed methods.

### 7.3.2 Verification of examination methods

The laboratory sufficiently verifies methods before implementation into routine use to ensure that the required performance, as specified by the manufacturer, can be achieve and with specifications relevant to the intended use of the method.

QMS002 Validation and calibration

QMSFORM002- Pathology Validation Report Form

DOC2515 Validation and Verification in Cellular Pathology

DOC5943 Verification and Validation of Examination Processes

DOC5942 Blood Sciences Validation and Verification Templates

TRFORM79 Blood Transfusion validation plan

TRFORM80 Blood Transfusion validation report

TRFORM99 Validation testing protocol

### 7.3.3 Validation of examination methods

Where methods are used within Pathology which are laboratory developed, a method used outside of an intended scope or where methods have been modified, validation is performed, including assessment of clinical impact.

### 7.3.4 Evaluation of measurement uncertainty (MU)

Uncertainty of measurement is a very important measure of the quality of a result or testing method and allows the user of the result to assess its reliability. Where a measurement provided by the laboratory potentially has a direct clinical impact the laboratory endeavours to demonstrate that the uncertainty of that measurement has been evaluated. MU is initially determined in validation and verification procedures using the appropriate templates.

The laboratory outlines the determination, evaluation and regular review of MU in the following documents:

QMS009 The measurement of uncertainty in testing

CPPOL033 Uncertainty of Measurement - Cellular Pathology

TR0121 Measurement of Uncertainty in Blood Transfusion

DOC2678 Measurement of Uncertainty Haematology

### 7.3.5 Biological reference intervals and clinical decision limits

Biological reference intervals are set by the laboratory based upon national and international guidelines, manufacturer recommendations for instruments in use (verified by the laboratory before use) and local data based on the testing performed on samples from primary and secondary care in house.

Information regarding biological reference intervals and clinical decision limits relating to interpretation of examination results is communicated to users as part of the report issued.

The department managers and clinical leads perform regular reviews of the Laboratory repertoire, including biological reference intervals and clinical decision values as part of regular departmental meetings.

New tests and methods are introduced on a planned basis following suggestions from staff, requests by users, recommendations from external bodies or the introduction of new instrumentation. Users are informed of any changes to the reference ranges by communications issued by the department.

### 7.3.6 Documentation of examination procedures

Examination procedures are written as standard operating procedures, which include all the necessary information for consistent completion of any laboratory activities.

All documentation is available electronically via Q Pulse and also as paper documents (where applicable) and is subject to document control as outlined in 8.3.2, including reference to any changes made to the document content. Any abbreviated documents used within the laboratory, such as quick reference guides, are linked to the full document.

QMS001 Document control

QMS017 Writing a standard operating procedure

PATHSOP009 Retention, Control and Process of Quality Records

### 7.3.7 Ensuring the validity of examination results

#### 7.3.7.2 Internal quality control (IQC)

All areas of the Pathology have documented procedures for monitoring the ongoing validity of examination results, using appropriate control material fit for intended purposes or other appropriate methods, and performed at a meaningful frequency. There are regular IQC review meetings.

In the event of IQC shifts or failures appropriate investigations and corrective actions will be instigated.

CHEMP020 Internal Quality Control

TR064 Internal Quality Control

IMSOP030 Immunology IQC and EQA SOP

QMS010 QMS Policy for Laboratory Participation in EQA schemes

#### 7.3.7.3 External quality assessment (EQA)

The laboratory participates in all available external quality control schemes appropriate to the repertoire of tests, which allows for monitoring of methods and a comparison to peer laboratories and has documented procedures for all aspects of participation.

EQA schemes are chosen based on the ability to provide appropriate samples for testing with the required target value and therefore provide reassurance in departmental testing, and also accreditation to ISO 17043.

Where a suitable EQA scheme is not available, an alternative suitable method is employed, including interlaboratory comparisons. There are regular EQA review meetings.

CPPOL017 Cellular Pathology External Quality Assurance Schemes

TR066 QC External QC/NEQAS

IMSOP030 Immunology IQC and EQA SOP

DOC153 Blood Sciences EQA

QMS010 QMS Policy for Laboratory Participation in EQA schemes

#### 7.3.7.4 Comparability of examination results

The laboratory ensures and records comparability of methods and equipment using a variety of techniques including validation/verification, IQC data and participation in appropriate EQA schemes.

## 7.4 Post-examination processes

### 7.4.1 Reporting of results

Review of results is carried out by suitably qualified and authorised personnel as defined in QMS011.

Results that have been transcribed into the system are checked before issue by suitably qualified personnel. If results are delayed e.g. analyser downtime, requesting of further/external testing, the laboratory will inform the requestor.

All results for hospital patients can be accessed electronically. The majority of GPs have electronic links by which results for their patients are sent several times each day. Currently Cellular Pathology send some paper reports in addition, but plans are to move to a paperless system for those clinicians for whom it is practicable.

Turnaround times for key tests are monitored through the use of clinical dashboards. These are reviewed monthly by laboratory management as well as the executive team.

The laboratory has a policy for issuing reports by telephone or fax which follows the advice given by the IBMS (DOC955). There are documented procedures for the telephoning of Blood Sciences results which fall within critical intervals (DOC143). Cellular Pathology follows the RCPath guideline (DOC989).

Results downloaded from the Blood Sciences analysers are checked against pre-set validation criteria on EPR+. If results are within the criteria set for a particular test, auto-validation occurs. Results which do not meet the auto-validation criteria are authorised, either by HCPC registered BMS or Clinical staff, using critical values and delta checks. Results may be accessed on Remisol or EPR+.

The laboratory alerts the user to critical values by the use of flags on Blood Sciences results and interpretative comments where necessary.

The reporting of Cellular Pathology samples follows the guidelines issued by the Royal College of Pathologists. Results are transcribed into the EPR+ system and authorised as described in the Cellular Pathology document (CPMED005).

All report formats are defined by the laboratory and contain all the elements as required by the standard and comments are included on the suitability of samples or reasons for rejection of samples, if appropriate.

QMS011 Review and reporting of results

QMS008 Laboratory Handbook

PATH2024 The communication of critical and unexpected pathology results

DOC989 Communication of unexpected results in Cellular Pathology

CPMED005 Consultants Report Entry Screen

CPPOL002 Transmission of Cellular Pathology Results by Email or Telephone

CPPATH066 Case Reporting in Cellular Pathology

BS-SOP003 Reporting Blood Sciences Sendaway Results

DOC955 IBMS Policy on the Communication of Pathology Results

DOC989 Communication of unexpected findings in Cellular Pathology

DOC143 Telephoning Results

TR074 Telephoning Results

### 7.4.2 Post examination handling of samples

The storage, handling and disposal of tissue is carried out within the department using the appropriate guidelines from the Royal College of Pathologists and is outlined in the following documents.

DOC251 The RCPath retention and storage of pathological records and specimens

DOC152 Control of Clinical Material – Pathology

CPPOL0018 Slide and Block Retention

CPPOL014 Disposal of refuse, clinical waste and waste chemicals

CPPOL018 Storage and Retention of Specimens/Slides/Blocks/Request forms (Cellular Pathology)

HIST005 Cut5 - Specimen storage and disposal (Histo)

CYT024 Storage, retention and disposal of specimens (Cyto)

## 7.5 Nonconforming work

The laboratory has a process (outlined in QMS013) which describes the procedures for dealing with non-conformities in the laboratory relating to any laboratory activities and examination results. This process ensures that appropriate immediate and longer-term corrective actions are specified and responsibility for these activities are assigned, including assessment of the extent, impact and risk to patient care involved.

Analysis of trends and non-conformance progression is monitored by the Quality team and any findings are reported as part of the regular Quality meetings.

QMS013 QMS Identification and control of non-conformities

TR065 Product recall

## 7.6 Control of data and information management

### 7.6.1 General

The laboratory currently uses the EPR+ laboratory module which is part of the Trust-wide system. All users are bound by the Trust Data Protection Policy (available on SharePoint).

### 7.6.2 Authorities and responsibilities for information management

The laboratory has a policy which defines the authorities and responsibilities of all personnel who access the EPR+ computer system (QMS012).

### 7.6.3 Information systems management

The Pathology EPR+ Laboratory module incorporates Chemical Pathology, Haematology, Cellular Pathology and Blood Transfusion modules. Day to day maintenance of the hardware and software is managed by the Trust IM&T department.

The IM&T Directorate has overall responsibility for the Trust's IM&T operations. There is also a senior IT applications specialist, and a Pathology Band 7 IT specialist appointed to act as Directorate/Pathology Lead for Trust wide Information Technology, to be responsible for the IT development of the service and direct assessment of new software and hardware for the provision of effective IT solutions for the Trust wide Pathology service and to manage the Trust wide and GP electronic reporting system.

### 7.6.4 Downtime plans

There are specific business continuity arrangements in place for downtime of the laboratory information management system. See section 7.8.

QMS012 QMS Access to laboratory IT systems

PATH023 -Management of Data and Information

TR057 Transfusion downtime procedures

### 7.6.5 Off site management

All systems used within Pathology which are managed or maintained off-site are reviewed prior to use (as with all suppliers) and required to complete appropriate documentation (held by the IT department).

## 7.7 Complaints

The laboratory has a documented process for handling of complaints to the department which describes the roles and responsibilities of laboratory staff in handling complaints and user feedback.

Issues to be classed as complaints and recorded as such by the Pathology department may be directed from a number of sources including any complaints made against Pathology via the Trust PALS department, complaints raised against Pathology via the Trust Datix system (Datix list reviewed daily by senior staff) and any correspondence to the Pathology department (via any method such as email or telephone) where the word complaint is used, or which can be reasonably defined as a complaint (at the judgement of senior staff).

All complaints must be recorded on Q Pulse using the CAPA module which prompts the recording of all relevant details including a prompt to acknowledge the complaint with the complainant and provide information on the outcome of the complaint investigation, if possible

QMS016 – Complaints and user satisfaction

## 7.8 Continuity and emergency preparedness planning

Business continuity planning (BCP) ensures preparedness and readiness to respond to given situations, allowing the department to carry on providing its core service in a changed environment. The laboratory has appropriate BCPs that have been designed based on an assessment of risks to the service and outline a strategy which enables, as much as possible, the continuation of the service whilst emergency situations occur. Actions to prevent the occurrence of an emergency are employed and are outlined in the continuity plans.

The Pathology department policies link into the Trust EPBC Strategy and all business continuity plans refer to those plans of other departments where appropriate (e.g. Estates).

Any testing of the Pathology continuity plans, either real life or in regularly scheduled desk top exercises, are recorded and reviewed to determine any improvements to the BCPs or to the Pathology service.

If the hospital where the department is sited is a potential receiving centre for a major incident, there is a readily accessible document within the department instructing staff on procedure.

DOC186 Business Continuity Policy - Cellular Pathology

DOC407 Business Continuity Policy Blood Sciences

CP/BC/001 Business Continuity Plan - Cellular Pathology

DOC6316 Blood Sciences Business continuity plan

CPFORM391 Business Continuity Plan - Event Record

PATH0229 Major Incident Plan

DOC3027 Management of a Massive Haemorrhage Policy

TR078 Issue of Un-cross matched Blood / Emergency Blood Issue

TR0122 Code Red

8 Management system requirements

## 8.1 General requirements/8.2 Management System Requirements

The laboratory has a well-established quality management system (QMS) that fulfils the requirements of the international standard ISO 15189:2022. Management system documentation to establish, document and maintain objectives and policies for the Pathology department which demonstrate competence, quality and evidence of commitment are outlined below.

The QMS includes:

- This quality manual (QMS007)

- A quality policy (PATH QUAL POLICY)

- Annually set Quality objectives (Quality Improvement Plan)

- Annually set Pathology Service Objectives (Quality Service Objectives)

- Objectives and policies

- Recording and monitoring of non-conforming work, corrective actions, internal and external audits, risks and opportunities for improvement.

- Documents, process records, quality records, inventories of equipment, reagents, MSDS, kit inserts

- Copies of applicable regulations, standards, advice form external agencies

The documents outlined in 8.1.2 are distributed to all relevant staff within Pathology for awareness and acknowledgement on the Q Pulse system.

All staff within Pathology are asked to read and sign a statement relating to the QMS and fulfilment of 8.1.3 as part of induction alerting them of a responsibility to be aware of the relevant policies and objectives of the department, the consequences of non-conformances or incidents and to promote a contribution to the continual improvement of the service by offering suggestions and participating in improvement activities.

PATHFORM001 Local Induction Checklist for Pathology

## 8.3 Control of management system documents

### 8.3.1 General

Document control is an essential part of a quality management system. It is the responsibility of all staff to ensure information supplied by them is document controlled as required within this policy thus avoiding the supply of erroneous or out of date information.

### 8.3.2 Control of documents

The lists of current pathology-wide and departmental policies, procedures and forms can be viewed and accessed via Q-Pulse. The system is available to all laboratory staff throughout the directorate. A printed copy of each SOP may also be available in the relevant laboratory areas.

All documentation held within Pathology is managed according to QMS001 (Document Control).

## 8.4 Control of records

The Pathology document control SOP (QMS001) describes the procedure for identification, collection, indexing, access, storage, maintenance, amendment and safe disposal of all quality and technical records.

Any changes to technical documentation are recorded via the Q Pulse system (with details of amendments made) with all previous versions of document and obsolete documents are available.

Amendments or corrections to reports issued is recorded on the departmental LIMS system, again with all previous versions of reports being available if required. There are documented procedures for issuing amended reports in both Cellular Pathology and Blood Sciences.

All documentation is stored in a secure manner, with documents being protected from unauthorised access in both Q Pulse the LIMS system via varying access levels according to job role.

Retention times for documentation is outlined in QMS001 and is based on recommendations made in Royal College of Pathologist guidelines.

For Blood Transfusion records are also managed and retained in accordance with the Blood Safety and Quality regulations 2005.

Traceability records for blood and blood components from donor to patient (or final fate if not transfused) is made available and accessible for 30 years. Compliance is assessed by the Transfusion Team Leader and Transfusion Nurse Practitioner on a regular basis.

The Transfusion Nurse Practitioners ensure that the following data sets are maintained for the audit trail:

- The identity of the person who prescribed the blood component - GMC number (or name)

- Details of the ‘consent to transfusion’

- The reason for the Transfusion

- The identity of the person who collected the blood (from Blood Bank or Blood Fridge) and the date and time of collection

- The identity of the person(s) who undertook the pre-transfusion checks

- The date and time of the Transfusion

- Any adverse events related to the transfusion.

This data capture is achieved using a computerised system and Blood Transfusion therapy chart.

QMS001 Document control

DOC251 The RCPath retention and storage of pathological records and specimens

CPMED005 Consultant Report Entry

PATH0250 Amending a report

DOC5793 Blood Safety and Quality Regulations 2005

TR096 Traceability

## 8.5 Actions to address risks and opportunities for improvement

### 8.5.1 Identification of risks and opportunities for improvement

Risks for the Pathology department are identified in a variety of ways including the use of risk assessment tools, investigation and trend analysis of incidents and complaints, risks highlighted on the departmental risk register, non-conformances raised as part of internal audit, the introduction of new procedures or equipment and clinical review and discussion as part of regular scheduled departmental meetings.

Identification of risks within the Pathology department allows for the prevention or reduction in adverse and unwanted events which may impact the service delivery and patient care. Identification of opportunities for improvement allow the department to achieve its goals and objectives.

### 8.5.2 Acting on risks and opportunities for improvement

All majority of major risks for the department are recorded on the Pathology risk register (using the Datix system). This system records the risk title, risk owner, risk description, a description of any control measures in place, the risk grading and a record of any updates/information available.

Risk assessments for specific procedures (including pre-examination, exam and post-examination processes) are carried out by Pathology staff and can highlight specific hazards associated with those procedures and any mitigations/control measures available. All risk assessments are stored on the Q Pulse system (and may also be attached to risks on the register).

Departmental objectives are recorded via the Pathology Service Objectives and Pathology Improvement Plan documents for the corresponding year. These documents can be found on Q Pulse and are distributed to all Pathology staff for awareness.

PATH2044 Risk Management in Pathology

QMS015 Quality Improvements

Pathology Quality Improvement Plan

Pathology Quality Service Objectives

## 8.6 Improvement

### 8.6.1 Continual improvement

Continuous improvement is essential for the long-term success of the quality system and the Pathology department strives to maintain a culture of continuous improvement for the benefit of patient care, and this is achieved in variety of ways including:

- internal audit

- external evaluation

- regular review of test repertoire

- introduction of new equipment

- review of non-conformances

- review of complaints and suggestions

- monitoring of internal quality control and external quality assurance

- review of training and competence

- review of departmental key performance indicators and turnaround times

- management meetings and reviews.

Plans for improvements are outlined in annual service objective and improvement plan documents which are reviewed by relevant staff on a regular basis.

QMS015 Quality Improvements

Pathology Quality Improvement Plan

Pathology Quality Service Objectives

QMS003 Change control

### 8.6.2 Laboratory patients, users, and personnel feedback

The laboratory strives to collect, review and act upon feedback from its clinical users, patients and staff, in the form of survey responses, suggestions, and complaints, on a regular basis. All feedback is recorded on Q Pulse as a CAPA to allow ownership of actions and outcomes and includes a requirement for communication of outcomes to the submitter of the feedback.

QMS016 Complaints, Compliments and User feedback

QMS015 Quality Improvements

DOC5481 Feedback poster

DOC127 Staff Suggestion Form

## 8.7 Nonconformities and corrective actions

When non-conformances arise within Pathology from any area i.e. incident, internal audit, the department initiates a structured response using the CAPA module on Q Pulse. Incidents may also be logged as an entry on the Trust Datix system where appropriate and the Transfusion Team Leader & Transfusion Nurse Practitioner will report Transfusion related incidents to SHOT and/or SABRE when appropriate.

The CAPA module prompts investigation and recording of information relating to:

- remedial actions required immediately following the non-conformance including details of escalation

- a review of the extent and impact of the non-conformance including a consideration of patient safety and the level of risk involved

- an analysis of the root cause of the non-conformance

- determination and implementation of a corrective action plan to eliminate (or reduce) the non-conformance and to reduce the likelihood of recurrence

Full records of all non-conformances reported are kept.

Effectiveness of corrective actions employed by the department is reviewed on a regular basis via audit.

QMS013 QMS Identification and control of non-conformities

QMS004 Audit

TR071 Transfusion Incident Reporting

## 8.8 Evaluations

### 8.8.1 General

The Pathology laboratory uses regular planned reviews and audits to demonstrate that all processes meet the needs and requirements of patients and service users.

### 8.8.2 Quality indicators

Quality Indicators are employed by Pathology to monitor and evaluate the performance of pre-examination, examination and post-examination processes and related aspects of laboratory procedure. Development and monitoring of key performance indicators (KPI) is used to measure the performance of the laboratory and its activities with the quality of care for the patient as the main focus.

Each KPI employed by the Pathology department will be planned, have stated objectives, be measured and monitored and will be raised for action as a CAPA via the Q Pulse if targets are not met.

PATH2039 Pathology Quality Indicators (KPI)

QMS015 Quality Improvement

DOC1390 In house KPI development sheet

### 8.8.3 Internal audits

Each discipline within the laboratory has a planned programme of internal audits for each calendar year which are managed via the Q Pulse system and are planned to review as much of the service as possible within the time available, including:

- compliance with external standards

- outcomes of external evaluations and previous internal audits

- a review of pre-examination, examination and post-examination processes

- reviews of non-conformances, incidents, complaints, staff suggestions and user feedback

- a review of effectiveness of corrective actions

- risks to the service

All audits will be performed by staff trained, competent and authorised in auditing or staff under their supervision.

QMS004 Audit

DOC1539 Audit Training

DOC1268 Auditor Training and Competency

DOC1378 Auditor Competency Re-assessment

QMSFORM… Audit worksheets

DOC5477 Audit Training Presentations

## 8.9 Management reviews

### 8.9.1 General

The management review process is detailed in PATH032 and is facilitated via the Annual Management Review (AMR) meeting, which is held on an annual basis, is attended by relevant stakeholders and constitutes a review of the continuing suitability, adequacy and effectiveness of the Pathology service and includes:

- reports on changes to the service

- comments on fulfilment of the laboratory objectives

- review of external evaluations

- review of patient, user and staff feedback and complaints

- review of IQC and EQA

- review of the quality management system

- review of external providers and suppliers

Reports provided as part of the AMR are used to construct the yearly Improvement Plan and Quality Service Objectives

The review documents are available throughout the department via Q-Pulse. An executive summary of the review is sent to UKAS each year as part of assessment visits.

There are also other regularly scheduled management meetings throughout the year, as outlined in section 5.2 above.

Pathology Quality Improvement Plan

Pathology Quality Service Objectives

PATH032 Management Review Procedure

QMSFORM050 Senior staff AMR report template

# Human Tissue Authority (HTA)

The Countess of Chester NHS Trust currently holds HTA license (no 12049).

Jane Tomkinson (Chief Executive) is the Corporate License Holder, Joseph Banwell (Pathology Services Manager) is the Designated Individual for post-mortem activities, Jamie Cunningham and Abigail Armstrong are Persons Designated for the Mortuary and Peter Bamford is the Person Designated for research activities.

The Pathology department was last inspected in July 2023. A copy of the inspection report is available via the HTA website and on the Q Pulse system.

PATH2045 HTA INSPECTION REPORT 2023

# Medicines and Healthcare Products Regulatory Agency (MHRA)

Transfusion submit an annual MHRA compliance report each March and receive confirmation each September that the Blood Bank Compliance report had been assessed and compliance level determined.

TRDOC5975 MHRA Blood Compliance Report 2023 - 2024

Point of Care Testing (POCT)

Diagnostic testing has traditionally been performed in the central laboratory in batches, however smaller technology is also available and allows for some testing to be performed at or near the patient. Point of care testing may be defined as all diagnostic testing performed outside the central laboratory by non-laboratory personnel.

To achieve the best possible results from POCT devices it is essential that all POCT is implemented in partnership with the Pathology Department and follows the same quality procedures to ensure the results produced are reliable and comparable to those produced by the central laboratory.

Note: POCT is not currently part of the UKAS accreditation held by the Pathology Department.

The Pathology POCT Team will advise on:

• testing methods available

• limitations of testing

• training

• support

• quality assurance

• risk

• Governance

• IT Links

Point of Care Testing within the Trust currently supported by the POCT Team includes:

• Blood Glucose

• Blood Gas

• Pregnancy Testing

• Pre-term labour markers (FFN)

• Placental growth factor (PIGF)

• Urinalysis

• Creatinine Testing

• INR’s

• Haemoglobin

• Ketones

• Rotem

• HbA1C

Contact details:

Alexandra Yates    01244 365025

Ann-Marie Delduca    01244 365380